ERASMUS + PROGRAM, KA2 STRATEGIC PARTNERSHIP PROJECT

POWER UP MY HOUSE: Development Of Innovative Learning And Practice Modules To Increase The Usage Of Renewable Energies For Sustainable Buildings

KURTTEPE SEHİT ALI ÖZTAŞ VOCATIONAL AND TECHNICAL ANATOLIAN HIGH SCHOOL

OUTPUT 4. PILOT IMPLEMENTATION OF TRAINING CONTENT REPORT

PREFACE

This report has been prepared as part of the 4th output of the “Power Up My House” (Project No: 2020-1-TR01-KA202-093467) project, which we are the executive of, financed by the European Commission and supported by the Turkish National Agency. Within the scope of the O4 process, first of all, the PV/T Training Module was prepared. With this module, students studying in the field of Renewable Energy Technologies or those who want to have knowledge and skills on this subject were given basic information on PV and PV/T technologies, and systems related to Heat Energy and Electric Energy production were introduced. In addition, in the training module, it is aimed to reinforce the theoretical knowledge with visual and experimental materials.

In the training module, the "YE-1035 Solar Cell and Hot Water (PV/T) Training Set" manufactured by Argemsan company was used as the experimental set. Then, each experiment was handled separately.

The training module was applied to 30 students, and a pre-test before the training and a post-test after the training were applied in order to determine the knowledge and awareness of the students. The results were evaluated and published as an article in a scientific journal. The training materials and experiences created were shared with the project partners.

It is thought that PV/T systems, the use of which is increasing day by day in our country and abroad, can be taught as a 2-hour elective course in the fields of Renewable Energy Technologies and Installation Technology and Air Conditioning in Vocational and Technical Anatolian High Schools with this training module.

"It is supported by the European Commission under the Erasmus+ Programme. However, the European Commission and the Turkish National Agency cannot be held responsible for the views contained herein."

CONTENTS

Preface …………………………………………………...…………………………………………….2

1. Contents …………………………………………………………………………………………..….3

2. PV/T Training Module………………………………………………………………………………..4

3. PV/T Systems Pilot Application – Pre-Test…………………………………….…………………….37

4. PV/T Systems Pilot Application – Post-Test…………………………………………………………39

5. Application Of Training Modules…...…………………………………………………………….….41

6. Labor Market of PVT Systems for Turkey-Article……………………………………….….………..45

7. PVT Training Module for Vocational Secondary Education: A Pilot Practice-Article………….……...59

8. Output 4 .Education Material Panevėžio Kolegija…………………………………………………....83

9. Output 4. Conteüdos De Formaçâo Piloto - Instituto Politecnico De Tomar......……………………...151

ERASMUS+ PROGRAM, KA2 STRATEGIC PARTNERSHIP PROJECT

POWER UP MY HOUSE: Development Of Innovative Learning And Practice Modules To Increase The Usage Of Renewable Energies For Sustainable Buildings

KURTTEPE SEHİT ALI ÖZTAŞ VOCATIONAL AND TECHNICAL ANATOLIAN HIGH SCHOOL

OUTPUT 4. PILOTING OF TRAINING CONTENT

PV/T TRAINING MODULE

TABLE OF CONTENTS

Preface                                                                                                                                             3

1. Introduction                                                                                                                                  6

2. Basic concepts                                                                                                                              7

3. Solar Hazards and Safety                                                                                                             8

4. Theoretical Principles                                                                                                                12

4.1.Solar Energy                                                                                                                        12

4.2. Photovoltaic Solar Technology                                                                                           13

4.3.Photovoltaic Thermal Systems                                                                                            18

4.3.1. Air PV/T Systems                                                                                                            21

4.3.2.Liquid PV/T Systems                                                                                                        22

4.3.3. PV/T Systems with Heat Pipe                                                                                          22

4.3.4.PV/T systems with FDM                                                                                                  23

5. Experiment Set and Features                                                                                                     24

6. PV/T Experiments                                                                                                                     24

Experiment No: 1 Determination of Instant Electrical Capacity of Solar Cell                          25

Experiment No:2 Calculation of Solar Cell Efficiency                                                              26

Experiment No:3 Investigation of the Variation of Solar Cell Power Depending on

the Angle                                                                                                                                     28

Experiment No:4 Finding Instantaneous Thermal Powers in Plane Panels                               31

Experiment No:5 Plane Panel Efficiency at Different Positions                                                32

7. Module Evaluation                                                                                                                     33

8. Resources                                                                                                                                   35

PREFACE

The PV/T Training Module we have prepared has been created within the scope of the “Power Up My House” (Project No: 2020-1-TR01-KA202-093467) project financed by the European Commission and supported by the Turkish National Agency. With the PV/T Training Module, students studying in the field of Renewable Energy Technologies or those who want to have knowledge and skills on this subject are given basic information on PV and PV/T technologies, and systems related to Heat Energy and Electric Energy production are introduced. In the training module, it is aimed to reinforce the theoretical knowledge with visual and experimental materials.

“YE-1035 Solar Cell and Hot Water (PV/T) Training Set” manufactured by Argemsan company was used as the experimental set, and in the experiments, basic information about PV/T panel and energy production and the theoretical equations to be used in the analysis were given; Then, each experiment was handled separately.

It is thought that PV/T systems, the use of which is increasing day by day in our country and abroad, can be taught as a 2-hour elective course in the fields of Renewable Energy Technologies and Installation Technology and Air Conditioning in Vocational and Technical Anatolian High Schools with this training module.

1. INTRODUCTION

The PV/T Training Module is an educational material in which theoretical knowledge will be visually and experimentally reinforced for students studying in the field of Renewable Energy Technologies, or for those who want to have knowledge and skills on this subject. The students are given basic information about PV and PV/T technologies, and systems related to the production of Heat Energy and Electrical Energy are introduced with a hybrid collector from solar energy. With this training module, it is aimed to increase the knowledge and skills of students on PV and PV/T. In addition, with the experiments to be applied, the calculation of efficiency in energy production, etc. It aimed to gain cognitive and psychomotor skills in subjects. In the experiments, first of all, basic information about PV/T panels and energy production and the theoretical equations to be used in the analysis were given; Then each experiment was handled separately.

2. BASIC CONCEPTS

Solar Energy: Solar energy is the radiant energy released by the fusion process (conversion of hydrogen gas into helium) in the core of the sun.

PV (Photo Voltaic) Panel: They are devices that convert solar energy into electrical energy.

PV/T (Photo Voltaic - Thermal) Panel: These are the panels that produce both heat and electricity at the same time on a panel directly from solar energy.

BEPV/T Systems: PV systems integrated into buildings

Solar Cell: It is the (photo-voltaic) element that converts sunlight directly into electric current. The solar cell works like a semiconductor diode and converts the energy carried by sunlight into electrical energy by internal photoelectric reaction.

Thermal Efficiency: Efficiency is defined as the ratio of output to input in a system with its shortest definition. In PV-T panels, it is defined as the division of the total heat and electrical energy obtained from the panel to the solar energy coming to the panel surface.

3. SOLAR HAZARDS AND SAFETY

While solar energy is among the cleanest and least hazardous of energy sources, there are four significant hazards during installation and maintenance: Lifting, Trips & Falls, Electrical, and Ladders.

LIFTING

Solar panels are awkward and heavy. Improperly lifting panels can cause strains, muscle pulls, and serious back injuries.

THINK SAFETY

•	Use mobile carts, forklifts, or other non-manual methods to reduce lifting.

•	Use gloves to protect your hands and improve your grip.

•	Get a secure grip with both hands.

•	Use smooth, even motions.

•	Keep the load as close to the body as possible.

•	Step to one side or the other to turn. Do not twist your body.

TRIPS AND FALLS

Falls have an important place among occupational accidents in the construction industry.

Other risks include:

•	Broken, Fractured, or Shattered Bones

•	Severe Back, Neck, and Head Trauma

•	Internal Injuries

•	Puncture Injuries

Workers who are six feet or more above a lower level need to have some protection:

•	Guards around edges

•	Covers over holes

•	Safety nets

•	Personal fall arrest systems

When using a personal fall arrest system, the harness must be rated for at least 5,000 pounds, and the anchoring system must be rates for at least 5,000 pounds per attached worker.

THINK SAFETY

•	Identify all potential slip, trip, and fall hazards before starting.

•	Keep work areas clear of debris and obstructions, including loose shingles, poorly-placed tools, and electrical cords.

•	Ensure work surfaces are free from ice, oil, water, and other substances.

ELECTRICAL

Solar systems include many components that conduct electricity. Electricity comes from two sources: the utility company and the solar array (i.e. the sun). Even when a building’s main breaker is shut off, the PV system will continue to produce power.

Just as with other electric power generation, PV systems present the risk of shock and electrocution when current takes an unintended path through a human body. Current as low as 75 milliamps (mA) across the heart is lethal. The human body has a resistance of about 600 ohms. Per Ohm’s law, voltage (V) equals current (I) times resistance (R), so V = IR.

To calculate the amount of current that would course through a person’s body if exposed to 120 V, simply divide 120 V by 600 ohms (I = V/R), which totals 0.2 amps or 200 mA. That’s more than 2.5 times the lethal limit of 75 mA, so protecting yourself and your workers against such an event is critical.

Electrical shocks are typically caused by a short circuit resulting from corroded cables and connections, loose wiring, and improper grounding. Key places to look for these conditions in a PV system include the combiner box, PV source and output circuit conductors, and the equipment grounding conductor. The grounding conductor bonds all metallic components together—and eventually to ground—through the grounding electrode conductor and grounding electrode.

Risks include:

•	Thermal burns

•	Muscle, nerve, and tissue damage

•	Falls from a surprise shock

•	Death

Even low-light conditions can create sufficient voltage, shocking a worker and causing a fall.

THINK SAFETY

•	Inspect your equipment to ensure it’s in safe working condition.

•	Work a safe distance from power lines.

•	Cover the solar array with an opaque sheet to “turn off” the sun’s light.

•	Lockout/Tagout and de-energize AC and DC power sources.

•	Always test circuits to ensure they are de-energized before working on them.

•	Use a current clamp to check for hazardous energy before working on PV panels.

•	Take special care around inverters. These can hold a powerful charge even when power is removed.

•	Never disconnect PV connectors or other equipment that’s under load.

•	Wear the appropriate PPE for electrical safety.

LADDERS

Some of the deaths that occur due to falls are accidents caused by falling from the stairs..

Other risks include:

•	Fractures or sprains

•	Puncture injuries

•	Back, neck, and head trauma

•	Cuts and bruises

THINK SAFETY

•	Inspect ladders before use. Mark defective ladders with a label stating “Do Not Use.”

•	Use a fiberglass ladder with non-conductive side rails near power sources. Aluminum and metal ladders are hazardous near power lines or electrical work.

•	Ensure that ladders will extend a minimum of three feet above the last rung that the worker will stand upon.

•	Place the ladder on dry, level ground, away from walkways and doorways, and a safe distance from power lines. Secure ladders to ground or rooftop.

•	Grasp the horizontal ladder rungs (not the vertical rails) and maintain 3 points of contact.

•	Never carry a solar panel or other equipment while climbing a ladder. Use a winch or hoist system to lift solar panels to the roof.

4. THEORETICAL PRINCIPLES

4.1. SOLAR ENERGY

The Sun, our source of life, is the largest star in our galaxy with a diameter of 1.4 million km. The sun is 151.106 million km away from our earth. In it, fusion reactions are constantly taking place, in which Hydrogen gas is transformed into Helium gas. During the transformation of gases, the resulting heat energy is emitted into space. A small part of this energy produced in the sun reaches the earth through radiation. While the amount of energy reaching the Earth's atmosphere is 174 petawatts (PW), approximately 30% of this energy is reflected back to space. Although the amount of solar radiation reaching the earth varies with the layered properties of the atmosphere, an average value of 1100 W/m2 is acceptable. However, this value actually varies between 0 and 1100 W/m2 [1]. When the total potential is evaluated, the solar energy potential is considerably higher than the world's demand, but considering its sustainable effect, the usage rate has been quite limited. However, global warming, the fact that fossil fuels are about to run out, this energy is renewable, and technological developments increase its importance as a clean energy source.

Figure 1. Our source of life, the Sun

Solar energy technologies can be grouped in various ways in terms of energy usage diversity, methods, materials used and technological level. However, considering the general usage characteristics, they can be grouped into two main groups as PV and solar thermal technologies:

PV Solar Technology is the technologies that convert sunlight directly into electrical energy with PV cells made of semiconductor materials.

Thermal Solar Technologies, on the other hand, are the technologies that primarily produce heat energy by collecting the sun's rays on a surface. The heat energy produced can be defined as technologies that can use heat directly with the help of a fluid, or can produce electricity due to this source.

4.2.PHOTOVOLTAIC SOLAR TECHNOLOGY (PV)

Solar cells are the most important element in PV solar technologies. These cells are made up of semiconductor materials and convert sunlight directly onto their surfaces into electrical energy. Although the surface geometries differ, the most obvious ones are square, rectangular and circular. The area of ​​solar cells in panel-like structures is around 100 cm². In addition, their thickness varies between 0.1 and 0.4 mm. Solar cells, briefly PV, depend on a function. This process, which is defined as the PV principle, is that the light falling on the cell creates an electrical voltage at the cell ends over time. Thus, the electrical energy produced in the cell can be defined as an effect of the light coming into the solar cell.

Figure 2. Solar Cell Production Stages [2]

Pure and high crystal quality silicon is needed in the production of PV cells. Since silicon atoms form a solid crystal structure, each silicon atom has four valence electrons in its outer electron layer. For the formation of a stable electron configuration, atoms adjacent to each other in the crystal structure share an electron to form an electron bond. Thus, the silicon atom forms electron bonds with four neighboring atoms and has a stable noble gas structure with eight outer electrons. With the effect of heat or light, this electron bond can be broken. Electrons leaving the electron bond can move freely and leave holes in the crystal structure. This situation is called self-transmission. But self conduction is not sufficient to generate current. In order for the silicon element to produce energy, doping atoms are deliberately placed in the crystal structure, which disrupts the pure structure. These doping elements are atoms with an excess of one electron (eg phosphorus) or an electron defect (eg boron) from the element silicon in the outer electron layer. In this way, the doping atoms cause lattice defects in the crystal structure [3].

- b)

Figure 3. a) Silicon crystal structure, b) lattice disorder in n- and p-doped silicon [3].

In the case where the element phosphorus is used for doping (n-type doping), there is one extra electron for each phosphorus atom placed in the crystal structure. This excess electron has the ability to move freely in the crystal structure and carry electric charges in this way.

In the case where boron element is used for doping (p-type doping), a vacancy (missing connection electron) is formed for each placed boron atom. Electrons belonging to neighboring silicon atoms can fill this gap and in this way lead to the formation of a new vacancy where they came from. This transmission mechanism, which occurs as a result of doping atoms, is called disorder transmission. However, when the n or p type doped materials are examined separately, it is seen that these free charges do not have a specific movement direction. If the n-type and p-doped semiconductor layers are stacked on top of each other, a p-n junction occurs between them. In this case, the excess electrons in the n-type semiconductor in the region where the layers meet cause diffusion into the p-type semiconductor. Thus, a region where free electrons are scarce is formed. This region is called the depletion region or the space charge region. Doping atoms remain positively charged on the n side of the transition region and negatively charged on the p side. In this way, an electric field is formed in the opposite direction of the electron movement and the propagation is prevented from continuing indefinitely.

Figure 4. The formation of the depletion region in the pn transition region as a result of

the spread of electrons [3].

When the p-n semiconductor (PV cell) is exposed to light, the photons of the light are absorbed by the electrons. With this energy supply, electron bonds are broken. The released electrons are attracted to the n region by the electric field. The holes formed in this way move in the opposite direction to the p region. This process is called the photovoltaic effect. The diffusion of charged particles up to the electrical conductor causes a voltage to occur in the photovoltaic cell. In the no-load condition, an open circuit voltage occurs in the photovoltaic cell. If the circuit is closed, current is generated.

Figure 5. PV cell working principle [4].

Crystalline silicon photovoltaic cells consist of two different doped silicon layers. The part facing the sunlight is the layer negatively doped with the phosphorus element, and the part below is the layer positively doped with the boron element. An electric field is formed in the transition zone, which causes the separation of charges (electricity and holes) released by the effect of sunlight. In order to obtain electric current from the photovoltaic cell, metal contacts must be placed on the front and back of the cell. It is possible to apply a contact layer covering the entire area by using aluminum or silver paste on the back surface of the photovoltaic cell. The front of the photovoltaic cell should be able to pass as much light as possible. For this reason, the layers on this side are applied as a fine grid as possible. If a thin layer of silicon nitride or titanium oxide (anti-reflective layer) is applied to the front face of the photovoltaic cell, it may be possible to reduce the reflection of light (without it being absorbed).

Figure 6. Operation of Solar Cell [5]

Although solar panels have different production potentials, their efficiency is between 5% and 20%, depending on the characteristics of the solar cell. In this respect, the energy that can be produced from a panel surface is limited. For this reason, in conditions where power is required, multiple solar cells are connected to each other in series or parallel to form a structure called a module. PV cells connected in series increase the terminal voltage of the solar panel. Parallel connected PV cells increase the current that can be drawn from the panel. In practice, this combined structure is called a solar module or photovoltaic module.

- b)

Figure 7. a) Cells in Series and Cell Voltage b) Parallel Connection of Cells and

Cell Current [3].

Depending on the power requirement, modules are connected to each other in series or parallel to form structures called PV panels. To generate a larger amount of electricity, the panels are connected in series-parallel to form a solar PV array. The following figure shows Cell, Module, Panel and Array structures.

Figure 8. Cell, Module, Panel and Array [6].

An increase in temperature causes an increase in the short circuit current of the PV cells, while decreasing the open circuit voltage. Therefore, temperature negatively affects panel power and panel efficiency in PV systems. Cell efficiency decreases with increasing temperature. This decrease in efficiency is higher in monocrystalline and polycrystalline silicon cells than in thin film cells. Therefore, modules with crystalline silicon cells should be kept cold, and thin-layer amorphous silicon cells should be preferred in hot working conditions. Figure 9 shows the effect of temperature on the Current-Voltage (I-V) curve of PV modules with crystalline silicon cells. Every 1°C increase in temperature reduces the power obtained from PV panels by 0.5%. In amorphous silicon cells, on the other hand, a temperature increase of 1 °C reduces the power by 0.2%. However, the current produced in PV panels increases depending on the sunlight intensity and solar radiation. The voltage remains almost constant, although a significant change in irradiance changes the current significantly.

Figure 9. The effect of temperature on the Current Voltage curve of PV modules with                   Crystalline Silicon Cells [3].

As can be seen, considering the efficiency of PV panels, temperature has an important place. With the heating of the panels, the output power decreases.

4.3.PHOTOVOLTAIC THERMAL SYSTEMS

PV/T systems are the systems obtained as a result of the development of solar energy systems. In these systems, thermal collectors and photovoltaic cells are combined to increase energy efficiency. In this way, it is possible to obtain heat at low temperature and to produce electrical energy more efficiently. In PV/T systems, the heat needed by the thermal system is provided by heating the photovoltaic cells. In this system, the heat transfer fluid removes this heat from the photovoltaic cells during operation. In this way, by cooling the photovoltaic cells, the cell efficiency is increased and thermal energy is obtained [6]. The parts of the PV/T panel are shown in Figure 10 below.

Figure 10. The main elements that make up the PV/T system [7].

High temperature reduces the open circuit voltage in PV systems, causing a decrease in efficiency. By adding a cooler to the PV panel, the temperature of the PV system can be lowered, thereby increasing the overall efficiency. However, it is possible to recover the energy lost as heat in this system. In PV/T systems, water, air or both can be used to cool the PV panel. The recovery of waste heat in PV/T systems causes the overall efficiency of the hybrid system to be higher than the efficiency of the PV system. The overall efficiency in PV/T systems is obtained using the following equation.

ηtotal = ηthermal +ηelectrical [8]

Current research focuses on the integration of PV systems with the building. It is important that PV/T installations are in harmony with the building architectural design. The main target in PV/T systems is to achieve low costs for PV/T systems that produce electricity and thermal energy. Reducing system costs is the basic requirement for the widespread use of PV/T systems.

The main benefits of PV/T systems can be listed as follows:

- The cost in PV/T systems is lower than two separate system installations.

- The total area required for the PV/T system installation is less than the area required for the PV system and the thermal system.

- PV and solar collectors use different part of the solar spectrum.

- Collectors use infrared waves, while solar cells use visible light waves. By using both systems together, solar energy is used more effectively.

- Thanks to PV/T systems, the thermal load of the building decreases due to the increase in insulation and surface shading in summer.

- With PV/T systems, a more aesthetic installation will be possible in terms of appearance compared to the installation of PV and Thermal systems separately on the exterior of the building [8].

The performances of PV/T systems increase with the increase in temperature, but decrease when they start to operate at higher temperatures. For this reason, it is necessary to operate the PV modules at low temperatures in order to have the electrical efficiency of the PV cells at a certain level. Due to this necessity, the working areas of PV/T systems are limited. Therefore, the heat obtained can be used for preheating, water heating, space heating, etc. in buildings.

PV/T systems can be examined in 4 groups.

1. PV/T air collectors

2. PV/T liquid collectors

3. PV/T collectors with heat pipes

4. PV/T collectors with Phase Change Material [8].

PV/T systems are used in building applications, Solar distillation applications, Solar Energy drying applications, Greenhouse applications, Thermoelectric Generators and heat pumps.

When PV/T systems are examined, it is seen that these systems have the following advantages.

• By lowering the operating temperatures of PV cells, they increase the electrical efficiency of

PV cells, which decreases with temperature.

• They increase the electrical and thermal efficiency of the system.

• More heat and electrical energy is obtained from the area where the PV/T system is installed.

This is important as roof surface areas are limited.

• Hybrid PV/T systems create a more aesthetic appearance as they provide architectural integrity

on the roof.

4.3.1. Air PV/T systems

Air PV/T systems are systems that operate at efficiencies between 20% and 40% [8]. The sum of the PV module efficiency and the system thermal efficiency represents the overall efficiency in PV/T systems. Therefore, it may be possible to achieve high efficiencies by performing different designs. In air PV/T systems, the air flow rate plays an important role in reducing the temperature of the PV cells, thus increasing the system efficiency by increasing the electrical efficiency. Air is used as the heat transfer fluid in air PV/T systems. The structures of these systems are simple and their operating costs are low. In addition, they have a common usage area because they can be integrated into buildings and so on.

Figure 11. PV/T air system section [9-10].

Efficiency in PV/T systems is examined in two ways as electrical and thermal efficiency. With the increase in temperature, the electrical efficiency of PV cells decreases. Thermal efficiency is as important as electrical efficiency in PV/T systems. These systems are mostly the systems installed as building integrated PV systems (BEPVT). In BEPVT applications, the cooling of the PV panels is carried out with the air circulated in the air gap between the panels and the building material. In this way, the heated air can be used to heat the building. BEPVT systems have a more aesthetic appearance by adapting better to the outer surface of the building compared to other solar energy systems in their installations.

Because of these advantages, BEPVT systems are one of the fastest growing areas of the photovoltaic industry. In BEPVT systems, the air fluid velocity is generally low, but the wind speed also plays an important role. The velocity of the air circulated in the system and the duct design affect module efficiencies. Electrical efficiency in BEPVT systems is approximately 10% better than systems without cooling [11].

4.3.2. Liquid PV/T systems

Apart from Air PV/T systems, the most popular systems are Liquid PV/T systems. Because liquid PV/T systems are higher efficiency systems than air systems. Water is widely used to cool PV/T systems due to its low price, easy accessibility and cooling properties. PV cells can be cooled more evenly when water is used as the heat transfer fluid. Due to the high thermal conductivity of liquids, these systems have an important place compared to air systems.

Figure 12. Cross section of the PV/T water system [12].

In liquid PV/T systems, the type of fluid used affects the amount of heat transfer. The fluid used in these systems is usually water. The fact that water is easily accessible, has good heat transfer properties and is cheap increases the usability of this fluid.

4.3.3. Heat Pipe PV/T systems

PV/T collector systems using water as the heat transfer fluid are not recommended in places where the climatic conditions are cold. If the water freezes at a low temperature and increases in volume, it can cause damage to the system. The heat pipe is a system with high thermal conductivity that allows heat to be transported quickly without reducing the temperature. Freezing can be prevented with the right fluid. A heat pipe PV/T system can be created by combining the heat pipe and the solar collector. Figure 13 shows the general structure of a heat pipe PV/T system.

Figure 13. PV/T system section with heat pipe [13].

4.3.4. PV/T systems with FDM

In these systems, when the phase change material receives heat and reaches its melting point, it heats up a little. FDM transitions from solid phase to liquid phase using the latent heat of fusion. When there is no heating, the liquid FDM transmits the stored energy and returns to its previous phase. The time and temperature required for melting vary greatly depending on the latent heat of fusion and the thermal conductivity of the FDM [11].

5. EXPERIMENT SET AND IT’S FEATURES

## Figure 14. PVT Experiment Set [14]

EXPERIMENT SET TECHNICAL SPECIFICATIONS

| Order No: | MATERIAL NAME | FEATURE |
| --- | --- | --- |
| 1 | Solar cell | 160 W, |
| 2 | Inverter | ATABA 20W I/P 24V dc O/P230V AC |
| 3 | Battery | PYG 12 |
| 4 | Lamp | Power 15W, 220VAC |

6. PV/T EXPERIMENTS

EXPERIMENT NO: 1

EXPERIMENT NAME: Determination of Instantaneous Electrical Capacity of Solar Cell [14].

OBJECTIVE OF THE EXPERIMENT: Calculating the current and voltage values of solar cells at certain angles.

TOOLS AND DEVICES REQUIRED

- Protractor and jack connecting cable

EXPERIMENTAL PROCEDURE:

1) Adjust the angle of the solar cells to the solar axis (60°).

2) Follow the link in the diagram.

3) Write the measured values in the table.

REQUIRED IN THE REPORT: Experiment number, name and purpose of the experiment, transferring the results of current-voltage values at certain angles on graphics and tables

ACCOUNTS:

Power input: P=U x I ( kW)

| MEASUREMENTS | 1 | 2 | 3 |
| --- | --- | --- | --- |
| Volt, (U) |  |  |  |
| Amper, (Ic ) |  |  |  |
| Power (P) kW |  |  |  |

EXPERIMENT NO: 2

EXPERIMENT NAME: Calculation of Solar Cell Efficiency [14].

OBJECTIVE OF THE EXPERIMENT: To examine how the efficiency values of solar cells are calculated.

TOOLS AND DEVICES REQUIRED

- Luxmeter

EXPERIMENTAL PROCEDURE:

1) Adjust the angle of the solar cells so that it is perpendicular to the solar axis (45°).

2) Write the measured current-voltage values in the table.

3) Record the value taken from the luxmeter at this angle in the table.

4) Calculate the yield.

REQUIRED IN THE REPORT: Experiment number, name and purpose of the experiment, comparison of electrical output values at certain angles.

| MEASUREMENT | 1 | 2 | 3 |
| --- | --- | --- | --- |
| Volt, (U) |  |  |  |
| Ampere, (Ic ) |  |  |  |
| Luxmetre( lüx ) |  |  |  |
| Yield (% ) |  |  |  |

CALCULATIONS:

1 lux = 0.00146 W

Panel size = 1.18 m2

Yield:  = U IcR[%]

EXPERIMENT NO: 3

EXPERIMENT NAME: Investigation of the Variation of Solar Cell Power Depending on the Angle [14].

OBJECTIVE OF THE EXPERIMENT: To examine the current and voltage values of solar cells at certain angles.

TOOLS AND DEVICES REQUIRED

- Jack connection cable

EXPERIMENTAL PROCEDURE:

1) Adjust the angle of the solar cells to be perpendicular to the solar axis (0°).

2) Follow the link in the diagram.

3) Write the measured values in the table.

4) Do the same operations at 30°, 45°, 60° angles and record them in the table.

REQUIRED IN THE REPORT: Experiment number, name and purpose of the experiment, comparison of electrical output values at certain angles.

| Measure angles | 0 ° | 30 ° | 45 ° | 60 ° |
| --- | --- | --- | --- | --- |
| Volt, (U) |  |  |  |  |
| Ampere, (Ic ) |  |  |  |  |
| Power (U.Ic) |  |  |  |  |

EXPERIMENT NO: 4

EXPERIMENT NAME: Finding Instantaneous Thermal Powers in Plane Panels [14].

OBJECTIVE OF THE EXPERIMENT: To comprehend how instantaneous thermal powers in plane panels are found.

TOOLS AND DEVICES REQUIRED

EXPERIMENTAL PROCEDURE:

1) Set the fuse to the on position.

2) Turn on the plane panel and boiler valves.

3) Turn on the main switch.

4) Wait for the water temperature in the panel to reach 30 °C.

5) Start the pump.

6) Record the values 10 minutes after the pump starts.

7) Repeat the above procedure after 20 and 30 minutes have passed.

8) Calculate the thermal gain values for the plane panel.

| Ölçüm zamanı | [min] | 10 | 20 | 30 |
| --- | --- | --- | --- | --- |
| Plane panel water inlet temperature T1 | [° C] |  |  |  |
| Plane panel water outlet temperature T2 | [° C] |  |  |  |
| Boiler water inlet temperature T3 | [° C] |  |  |  |
| Boiler water outlet temperature T4 | [° C] |  |  |  |
| Boiler water temperature Tboiler | [° C] |  |  |  |
| Waterflow msu | [L/h] |  |  |  |

CALCULATIONS:

Thermal capacity:

Q= msu×cpsu ×t3 -t4= 2003600 × 4,187×42-40= 0,465kW

Cpsu=4,187 kJ/kgK

EXPERIMENT NO: 5

EXPERIMENT NAME: Plane Panel Efficiency at Different Positions [14].

EXPERIMENT OBJECTIVE: Calculation of plane panel efficiency.

TOOLS AND DEVICES REQUIRED

EXPERIMENTAL PROCEDURE:

1. Turn the fuse on.

2. Fix the plane panel at an angle of 60° to the solar axis.

3. Open the plane panel and boiler valves.

4. Turn on the main switch.

5. Wait for the water temperature in the panel to reach 40 °C.

6. Start the pump.

7. Record the values ​​when the system equilibrates.

8. Repeat the operations by adjusting the angle of the plane panel to 45° to the solar axis.

9. Repeat the operations by adjusting the angle of the plane panel to 30° to the solar axis.

| Measuring Angles[] | 60 | 45 | 30 |
| --- | --- | --- | --- |
| Plane panel water inlet temperature, t1 [° C] |  |  |  |
| Plane panel breakout temperature, t2 [°C] |  |  |  |
| Boiler coil inlet temperature, t3 [° C] |  |  |  |
| Boiler coil outlet temperature, t4 [° C] |  |  |  |
| Boiler cold water inlet temperature, t5 [° C] |  |  |  |
| Boiler hot water outlet temperature, t6 [0C] |  |  |  |
| Boiler water temperature Tboyler [° C] |  |  |  |
| Plane panel water outlet temperature, Tpanel [° C] |  |  |  |
| Water flow, msu [L/h] |  |  |  |
| Luxmeter (lux) |  |  |  |

1 lux=0.00146 W

Total plane panel surface area: 1.18m2

Radiation power incident on the plane panel unit surface: qr=QAdp [W/m2]

Thermal capacity: Q= msu×cpsu ×t3 -t4

Cpsu=4,187 kJ/kgK

Plane panel efficiency:

7. MODULE EVALUATION

In the parentheses left blank at the beginning of the sentences below, write D if the information given in the sentences is true, and Y if it is false.

1) ( ... ) Cell voltages increase when solar cells are connected in series.

2) ( ... ) When solar cells are connected in parallel, the cell current decreases.

3) ( ... ) Each solar cell provides approximately 0.5 volts of energy.

4) ( ... ) As the solar radiation (radiation) increases, the PV module voltage decreases.

5) ( ... ) As the temperature increases, the PV module voltage increases.

6) ( ... ) As the temperature increases, the PV module current increases.

7) ( ... ) Efficiency is the ratio of the received power to the given power.

8) ( ... ) In order to obtain maximum voltage from the solar cell, the sun's rays must come to

the solar cell at a right angle.

Tick ​​the correct option for the following statements.

9) Evaluate the space requirement required for the installation of PV/T systems, according to

the separate PV system and Solar system installations.

a) The need for space is greater b) The need for space is less c) The need for space is the same

10) Evaluate PV/T system installations in terms of aesthetics according to separate PV system

and Solar system installations.

a) Aesthetically better b) Aesthetically worse c) Aesthetically the same

11) Evaluate the efficiency of PV/T system installations according to the efficiency of PV

system and Solar system installations separately.

a) Their yields are higher b) Their yields are lower c) Their yields are the same

12) Evaluate PV/T system installation costs according to the costs of PV system and Solar

system installations separately.

a) Cost is higher b) Cost is lower c) Cost is the same

Write the answers to the following questions.

13) What are the PV/T system types? Write

14) What are the advantages of PV/T systems? Write

15) What are the disadvantages of PV/T systems? Write

ANSWER KEY

| 1 | D |
| --- | --- |
| 2 | Y |
| 3 | D |
| 4 | Y |
| 5 | Y |
| 6 | D |
| 7 | D |
| 8 | D |
| 9 | B |
| 10 | A |
| 11 | A |
| 12 | B |
| 13 | - PV/T liquid collectors - PV/T air collectors - PV/T collectors with heat pipes - PV/T collectors with Phase Change Material |
| 14 | - By lowering the operating temperatures of PV cells, they increase the electrical efficiency of PV cells, which decreases with temperature. - They increase the electrical and thermal efficiency of the system. - More heat and electrical energy is obtained from the area where the PV/T system is installed. This is important as roof surface areas are limited. - Hybrid PV/T systems create a more aesthetic appearance as they provide architectural integrity on the roof. |
| 15 | - Initial setup costs are high. - The temperature obtained may not be sufficient for the user. - PVT system setup is more complex than PV system setup. |

8. RESOURCES

[1] Karamanav, M., 2007. “Solar Energy and Solar Cells”, P:1-2

[2] http://www.solar-academy.com/menu_detay.asp?id=494

[3] Hartmann, U., Haselhuhn, R., “Photovoltaic Systems”, P:3-28, DGS.

[4] https://www.physics-and-radio-electronics.com/electronic-devices-and-circuits/semiconductor-diodes/zero-bias-pn-junction.html

[5] http://www.konyagunesenerji.com/bilgi-gunes-pili-nedir.asp

[6] “Assembly of Panels on Coffee Table”, P: 8, Ankara, 2013.

http://www.megep.meb.gov.tr/mte_program_modul/moduller_pdf/Sehpa%20%C3%9Czerine%20Panels%20Montaj%C4%B1.pdf

[7] Bandaru, S.H.; Becerra, V.; Khanna, S.; Radulovic, J.; Hutchinson, D.; Khusainov, R. A Review of Photovoltaic Thermal (PVT) Technology for Residential Applications: Performance Indicators, Progress, and Opportunities. Energies 2021, 14, 3853. https://doi.org/10.3390/en14133853

[8] M Oksuz, F. Kose. “Hybrid Photovoltaic Thermal PVT-water and PVT-air Solar Collectors

Analysis”, National Environmental Sciences Research Journal, Issue 2(3): 95-102, 2019.

[9] “Reduzierter Flächenbedarf und höhere Energieerträge - Eine kleine Marktübersicht zu PVT-Hybridkollektoren” (03.09.2014).

https://www.ikz.de/detail/news/detail/reduzierter-flaechenbedarf-und-hoehere-energieertraege-eine-kleine-marktuebersicht-zu-pvt-hybridkollek/, (Access Date: 29.11.2021).

[10] M. Zhenjun, R. Haoshan, L. Wenye and W. Shugang “Solar-Assisted HVAC Systems with Integrated Phase Change”, December 20th 2017.

https://www.intechopen.com/chapters/57859, (Access Date: 29.11.2021).

[11] G.Yildiz, A.E. Gürel, “PV/T Systems: Types, Advantages and Applications”, TTMD Magazine, July-August 2019:30-38, 2019.

[12]http://www.seitzingerenergien.ch/?Solar___%28Volther_Hybridkollektoren_von_Solimpeks%29 , (Access Date: 29.11.2021).

[13] T.M.O. Diallo, M. Yu, J. Zhou, X. Zhao, S. Shittu, G. Li, J. Ji , D. Hardy “Energy performance analysis of a novel solar PVT loop heat pipe employing a microchannel pipe evaporator and a heat PCM triple heat exchanger” 13 November 2018,

https://www.sciencedirect.com/science/article/abs/pii/S0360544218321893?via%3Dihub, (Accessed 29.11.2021).

[14] “YE-1035 Solar Cell and Hot Water (PVT) Training Set Experiment Sheets”, Argemsan, 2021.

PV/T SYSTEMS PILOT APPLICATION – PRE-TEST

This survey aims to understand the level of knowledge of learners taking the training module on PV/T developed as part of the Power up My House project funded by the European Commission under the Erasmus Plus Strategic Partnership program. The information collected in this survey will be used to develop a user-friendly product and will not be shared with third parties.

| DATE: | COUNTRY: |
| --- | --- |
| LEARNER NAME SURNAME: |  |
| SCHOOL: |  |
| CLASS: |  |
| SUBJECT STUDY: |  |

The following questions were prepared to understand needs and preferences and to measure learners' knowledge of PV/T systems. Please answer the questions according to your level of interest (1= Not at all; 5 = Absolutely).

|  | 1 | 2 | 3 | 4 | 5 | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| How would you describe your level of knowledge regarding the use of ICT technologies? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to PV systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge regarding solar systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to PV/T systems? |  |  |  |  |  |  |

| Please tick the most appropriate answer for you |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| You evaluate the space and work required in the installation of PV/T systems according to the individual PV system installations |  |  |  |  |  |
|  | Field view more |  | The field add-on is more |  | Field list |
| Evaluate PV/T system installations in terms of aesthetics according to separate PV system and Solar system installations. |  |  |  |  |  |
|  | Aesthetic conditions are better |  | Aesthetics is worse |  | In the aesthetic country |
| You evaluate the efficiency of PV/T system installations according to the efficiency of PV system and Solar system installations separately. |  |  |  |  |  |
|  | Better yields |  | Same |  | Worse yields |
| Evaluate PV/T system installation costs according to the costs of PV system and Solar system installations separately |  |  |  |  |  |
|  | The cost is higher |  | Same |  | The cost is lower |
| What are the PV/T system types? |  |  |  |  |  |
| What are the advantages of PV/T systems? |  |  |  |  |  |
| What are the disadvantages of PV/T systems? |  |  |  |  |  |

PV/T SYSTEMS PILOT APPLICATION – POST-TEST

This survey aims to understand the level of development of knowledge about PV/T systems of the participants of the pilot phase carried out in the framework of the Power up My House project funded by the European Commission under the Erasmus Plus Strategic Partnership program. The information collected in this survey will be used for the development of a user-friendly product and will not be shared with third parties.

| DATE: | COUNTRY: |
| --- | --- |
| LEARNER NAME SURNAME: |  |
| SCHOOL: |  |
| CLASS: |  |
| SUBJECT STUDY: |  |

The following questions were prepared to understand needs and preferences and to measure learners' knowledge of PV/T systems. Please answer the questions according to your level of interest (1= Not at all; 5 = Absolutely).

PART I

|  | 1 | 2 | 3 | 4 | 5 | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| How would you describe your level of knowledge regarding PV systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to solar systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to PV/T systems? |  |  |  |  |  |  |
| Were you satisfied with the preparatory work for this pilot phase (communication, information flow, etc.)? |  |  |  |  |  |  |
| Do you think that the content of the training module met your expectations and needs? |  |  |  |  |  |  |
| Do you think that the working materials used during the training were varied enough and of good quality? |  |  |  |  |  |  |
| Were you satisfied with the working atmosphere during the training? |  |  |  |  |  |  |
| Do you think that the training was successful overall? |  |  |  |  |  |  |
| Do you think that you were sufficiently informed about the goals and outcomes of the Power Up My House project during the training? |  |  |  |  |  |  |
| Did the training help improve your job skills? |  |  |  |  |  |  |
| Did you have the opportunity to observe/learn new techniques and methods? |  |  |  |  |  |  |
| Were you satisfied with the duration of the training? |  |  |  |  |  |  |
| Do you believe this training will increase your employability? |  |  |  |  |  |  |

PART II

| Please tick the most appropriate answer for you |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| You evaluate the space and work required in the installation of PV/T systems according to the individual PV system installations |  |  |  |  |  |
|  | Field view more |  | The field add-on is more |  | Field list |
| Evaluate PV/T system installations in terms of aesthetics according to separate PV system and Solar system installations. |  |  |  |  |  |
|  | Aesthetic conditions are better |  | Aesthetics is worse |  | In the aesthetic country |
| You evaluate the efficiency of PV/T system installations according to the efficiency of PV system and Solar system installations separately. |  |  |  |  |  |
|  | Better yields |  | Same |  | Worse yields |
| Evaluate PV/T system installation costs according to the costs of PV system and Solar system installations separately |  |  |  |  |  |
|  | The cost is higher |  | Same |  | The cost is lower |
| What are the PV/T system types? |  |  |  |  |  |
| What are the advantages of PV/T systems? |  |  |  |  |  |
| What are the disadvantages of PV/T systems? |  |  |  |  |  |

If there is anything else you want to express in regard to the training (things you really liked, things you did not like at all, things you missed, things that could be improved another time etc.), please use the space below:

APPLICATION OF TRAINING MODULES

PVT Training module was applied to two groups of 15 students from Adana Kurttepe Şehit Ali Öztaş Vocational and Technical Anatolian High School, Renewable Energy Technologies Field, 10th and 11th grade students. The pre-test before the training and the post-test after the training were applied to both groups. In this way, it was tried to determine the awareness and knowledge of the students about PVT systems before and after the training with the pre-test and post-test.

After the training module was applied, the correct answer rate of the students to the question of the space required for PV/T system installation changed from 40% to 90%, the correct answer rate to the question of aesthetic evaluation of PV/T system installations from 40% to 100%, PV The correct answer rate for the question of evaluation of /T system efficiency increased from 46.66% to 100%, and the rate of correct answers to the question of evaluation of PV/T system installation cost increased from 16.66% to 56.66%.

Figure 1. The answers to the related questions in the pre-test and post-test

What are the PV/T system types? While 96.66% of the students could not answer the question in the pre-test, 3.33% of them gave 2 correct answers. In the post-test performed after the training, 76.66% of the students gave at least one correct answer.

What are the advantages of PV/T systems? While 46.66% of the students could not answer the question in the pre-test, 13.3% could give 1 or 2 correct answers. In the post-test, 90% of the students gave at least one correct answer.

What are the disadvantages of PV/T systems? While 100% of the students could not answer the question in the pre-test, 26.66% of the students gave one or two correct answers in the post-test.

Figure 2. Answers to the question of “PVT System types” in the pre-test and post-test

Figure 3. The answers given in the pre-test and post-test to the question “Advantages of PV/T Systems”

Figure 4. The answers given in the pre-test and post-test to the question of “disadvantages of PV/T Systems”

As a result of the implementation of the training module, it was observed that the students' knowledge, knowledge and skills on PV, PV/T Systems and Solar Energy Technologies increased. Likewise, feedback was received that the training was successful, that the training period was satisfied, and that this training would increase employability.

10. FINDINGS

When the vocational and technical education curriculum at the high school level in our country is examined, it is seen that the subjects of PVT systems are not included in the curriculum. At high school level, there are only two branches in the field of renewable energy technologies, namely solar energy systems and wind energy systems. Scientific and technological changes bring a dynamic quality to vocational education. Vocational education should have transformational skills in order to respond to emerging needs. In this sense, it is meaningful to add PVT systems subjects to the vocational and technical education curriculum.

It is thought that PV/T systems, the use of which is increasing day by day in our country and abroad, can be taught as a 2-hour elective course in the fields of Renewable Energy Technologies and Installation Technology and Air Conditioning in Vocational and Technical Anatolian High Schools with this training module.

THANKS

This work was funded by the European Commission and supported by the Turkish National Agency (Project No: 2020-1-TR01-KA202-093467). The authors thank the Turkish National Agency Vocational Education Coordinator.

The Labor Market for PVT Systems for Turkey

Ercan ZENGİN1*, Hasan YILDIZHAN2

1Kurttepe Şehit Ali Öztaş Vocational and Technical Anatolian High School, Adana, Turkey, Zenginercan@gmail.com

2Adana Alparslan Türkeş Science and Technology University, Turkey, ORCID: 0000-0003-0272-980X, hyildizhan@atu.edu.tr

*Responsible Author

ABSTRACT

When the vocational and technical education curriculum at the high school level in our country is examined, the subjects of PVT systems are not included in the curriculum. At high school level, there are only two branches in the field of renewable energy technologies, namely solar energy systems and wind energy systems. With the increase in investments in the sector, the number of companies operating in the field of renewable energy technologies is also increasing. Companies operating in the renewable energy sector and students studying in this field constitute the labor market in the sector. In our country, many companies operate in the production and installation of PV systems. In PVT systems, although there are companies that manufacture and install panels, this system has not yet become widespread. In this study, the information of the companies that make installation and production in the field of PVT and the main companies that produce PV panels in Turkey are included. With this study, the effects of PVT systems on the labor market in Turkey have been comprehensively evaluated. In the installation of PVT systems, the studies of students studying in this field will be appropriate. With the spread of this technology, new job opportunities will emerge for the labor market.

Keywords: Solar energy, PVT system, Vocational training, Labor force

1.INTRODUCTION

In today's world, where the effects of global warming are clearly seen, the interest in renewable energy sources has increased due to the increase in the costs of fossil fuels used in energy consumption and the damage these fuels cause to the environment. Solar energy is the type of energy that has the greatest potential among renewable energy sources. This type of energy is widely used in many areas such as heating, hot water supply and ventilation. In addition, Photovoltaic Systems (PV), whose technologies are developing day by day, are widely used in electricity production from solar energy. The efficiency of PV cells has reached 47.1% under laboratory conditions [1]. Commercial PV panel efficiencies are around 15-22.7%. While about 23% of the solar radiation falling on the panel area in a PV panel can be converted into electrical energy, the rest of the energy is emitted to the atmosphere as heat [2]. Photovoltaic Thermal (PV/T) systems have been developed to take advantage of this heat. In PV/T systems, while solar energy is converted into electrical energy with PV cells, the resulting heat is also converted into useful energy. In this way, efficiency increases are achieved by cooling the surfaces of the PV cells.

2. SOLAR ENERGY

The radiant energy that emerges with the fusion event occurring in the core of the sun is called solar energy. While the intensity of this energy is approximately 1370 W/m2 outside the atmosphere, the amount reaching the earth varies between 0-1100 W/m2 values ​​due to the atmosphere of the world [3]. Research on the use of solar energy has accelerated after the 1970s, and while solar energy systems have made technological progress, the cost of these systems has gradually decreased. Today, solar energy systems are a clean energy source that does not harm the environment and whose use is increasing day by day. Solar energy is the source of life on earth and is a direct or indirect source of alternative energy sources other than nuclear energy. The solar energy potential maps of the World and Turkey are shown in Figure.1 below.

Figure 1. World solar energy potential atlas- Turkey solar energy potential atlas [3].

Due to its geographical location, Turkey's solar energy potential is high. According to the data of Turkey Solar Energy Potential Atlas (GEPA), the average annual total sunshine duration is 2741.07 hours and the average annual total radiation value is calculated as 1527.46 kWh/m2 [3].

As of September 2021, the share of solar energy in Turkey's installed power is 7534,3 MW. The share of this power in the total electricity production is 7.6%. The change in Turkey's solar energy installed power over the years and the percentage share of this power in the total electricity generation are shown in Figure 2 with graphics [3].

Figure 2. Turkey's installed capacity based on solar energy and its percentage in total production [3].

According to the data of the Turkish Statistical Institute (TUIK), there are 9.1 million buildings in Turkey and approximately 87% of these buildings are residences. More than 100,000 new buildings are built in Turkey every year. It is estimated that around 2,000 to 4,000 MW of PV systems can be installed on the roofs and facades of the buildings to be built in 10 years [3].

Solar energy is utilized in different ways, either directly or indirectly. In solar energy, 4 different usage areas can be mentioned as natural, thermal, direct electricity generation and other [4]. Photosynthesis and the formation of fossil fuels are examples of the natural use of solar energy. This form of energy is classified at different temperatures and evaluated in thermal applications. Drying of agricultural products and obtaining domestic water can be given as examples of low temperature applications. Vacuum solar collectors are examples of medium temperature applications, and concentrated solar energy systems (CSP) are examples of high temperature applications. Direct electricity generation with solar energy is carried out with PV panels.

PV/T systems are the systems obtained as a result of the development of solar energy systems, and in these systems, thermal collectors and photovoltaic cells are combined to increase energy efficiency. In this way, it is possible to obtain heat at low temperature and to produce electrical energy more efficiently. In PV/T systems, the heat needed by the thermal system is provided by heating the photovoltaic cells. In this system, the heat transfer fluid removes this heat from the photovoltaic cells during operation. In this way, by cooling the photovoltaic cells, the efficiency of the cell is increased and thermal energy is obtained [5]. The parts of the PV/T panel are shown in Figure 3 below.

Figure 3. The main elements that make up the PV/T system [6].

3.2.PHOTOVOLTAIC SOLAR TECHNOLOGY (PV)

High temperature reduces the open circuit voltage in PV systems, causing a decrease in efficiency. By adding a cooler to the PV panel, the temperature of the PV system can be lowered, thereby increasing the overall efficiency. However, it is possible to recover the energy lost as heat in this system. In PV/T systems, water, air or both can be used to cool the PV panel. The recovery of waste heat in PV/T systems causes the overall efficiency of the hybrid system to be higher than the efficiency of the PV system. The overall efficiency in PV/T systems is obtained using the following equation. [7]

ηtotal = ηthermal +ηelectrical

Current research focuses on the integration of PV systems with the building. It is important that PV/T installations are in harmony with the building architectural design. The main target in PV/T systems is to achieve low costs for PV/T systems that produce electricity and thermal energy. Reducing system costs is the basic requirement for the widespread use of PV/T systems.

The main benefits of PV/T systems can be listed as follows: [7]:

- The cost in PV/T systems is lower than two separate system installations.

- The total area required for the PV/T system installation is less than the area required for the PV system and the thermal system.

- PV and solar collectors use different part of the solar spectrum. Collectors use infrared waves, while solar cells use visible light waves. By using both systems together, solar energy is used more effectively.

- Thanks to PV/T systems, the thermal load of the building decreases due to the increase in insulation and surface shading in summer.

- With PV/T systems, a more aesthetic installation will be possible in terms of appearance compared to the installation of PV and Thermal systems separately on the exterior of the building

The performances of PV/T systems increase with the increase in temperature, but decrease when they start to operate at higher temperatures. For this reason, it is necessary to operate the PV modules at low temperatures in order to have the electrical efficiency of the PV cells at a certain level. Due to this necessity, the working areas of PV/T systems are limited. Therefore, the heat obtained can be used for preheating, water heating, space heating, etc. in buildings.

PV/T systems can be examined in 4 groups.[7].

1. PV/T air collectors

2. PV/T liquid collectors

3. PV/T collectors with heat pipes

4. PV/T collectors with Phase Change Material

PV/T systems are used in building applications, Solar distillation applications, Solar Energy drying applications, Greenhouse applications, Thermoelectric Generators and heat pumps.

When PV/T systems are examined, it is seen that these systems have the following advantages.

• By lowering the operating temperatures of PV cells, they increase the electrical efficiency of

PV cells, which decreases with temperature.

• They increase the electrical and thermal efficiency of the system.

• More heat and electrical energy is obtained from the area where the PV/T system is installed.

This is important as roof surface areas are limited.

• Hybrid PV/T systems create a more aesthetic appearance as they provide architectural integrity

on the roof.

3.1. Air PV/T systems

Air PV/T systems are systems that operate at efficiencies between 20% and 40% [8]. The sum of the PV module efficiency and the system thermal efficiency represents the overall efficiency in PV/T systems. Therefore, it may be possible to achieve high efficiencies by performing different designs. In air PV/T systems, the air flow rate plays an important role in reducing the temperature of the PV cells, thus increasing the system efficiency by increasing the electrical efficiency. Air is used as the heat transfer fluid in air PV/T systems. The structures of these systems are simple and their operating costs are low. In addition, they have a common usage area because they can be integrated into buildings and so on.

Figure 4. PV/T air system section [9-10].

Efficiency in PV/T systems is examined in two ways as electrical and thermal efficiency. With the increase in temperature, the electrical efficiency of PV cells decreases. Thermal efficiency is as important as electrical efficiency in PV/T systems. These systems are mostly the systems installed as building integrated PV systems (BEPVT). In BEPVT applications, the cooling of the PV panels is carried out with the air circulated in the air gap between the panels and the building material. In this way, the heated air can be used to heat the building. BEPVT systems have a more aesthetic appearance by adapting better to the outer surface of the building compared to other solar energy systems in their installations.

Because of these advantages, BEPVT systems are one of the fastest growing areas of the photovoltaic industry. In BEPVT systems, the air fluid velocity is generally low, but the wind speed also plays an important role. The velocity of the air circulated in the system and the duct design affect module efficiencies. Electrical efficiency in BEPVT systems is approximately 10% better than systems without cooling. [8]

3.3.2. Liquid PV/T systems

Apart from Air PV/T systems, the most popular systems are Liquid PV/T systems. Because liquid PV/T systems are higher efficiency systems than air systems. Water is widely used to cool PV/T systems due to its low price, easy accessibility and cooling properties. PV cells can be cooled more evenly when water is used as the heat transfer fluid. Due to the high thermal conductivity of liquids, these systems have an important place compared to air systems. [8].

Figure 5. Cross section of the PV/T water system [11].

In liquid PV/T systems, the type of fluid used affects the amount of heat transfer. The fluid used in these systems is usually water. The fact that water is easily accessible, has good heat transfer properties and is cheap increases the usability of this fluid.

3.3. Heat Pipe PV/T systems

PV/T collector systems using water as the heat transfer fluid are not recommended in places where the climatic conditions are cold. If the water freezes at a low temperature and increases in volume, it can cause damage to the system. The heat pipe is a system with high thermal conductivity that allows heat to be transported quickly without reducing the temperature. Freezing can be prevented with the right fluid. A heat pipe PV/T system can be created by combining the heat pipe and the solar collector. [8]. Figure 6 shows the general structure of a heat pipe PV/T system.

Figure 6. PV/T system section with heat pipe [12].

3.3.4. PV/T systems with FDM

In these systems, when the phase change material receives heat and reaches its melting point, it heats up a little. FDM transitions from solid phase to liquid phase using the latent heat of fusion. When there is no heating, the liquid FDM transmits the stored energy and returns to its previous phase. The time and temperature required for melting vary greatly depending on the latent heat of fusion and the thermal conductivity of the FDM [8].

4. VOCATIONAL EDUCATION

When the vocational and technical education curriculum at the high school level in our country is examined, it is seen that the subjects of PVT systems are not included in the curriculum. There are 2 branches in the field of renewable energy technologies, namely Solar Energy Systems and Wind Energy Systems. With the increase in investments in the sector, the number of companies operating in the field of renewable energy technologies is also increasing. Companies operating in the renewable energy sector and students studying in this field constitute the labor market in the sector. A total of 59 vocational high schools in 34 cities of our country have a renewable energy technologies field, and the number of students graduating from this field is increasing day by day[13]. In the installation of PVT systems, the studies of students studying in this field will be appropriate. With the spread of this technology, new job opportunities will emerge for the labor market.  It will be  convenient for students studying in this field to work on the installation of PVT systems. With the spread of this technology, new job opportunities will appear for the labor market.

5. LABOR FORCE

The installed power in the renewable energy sector in our country has increased rapidly since 2014 thanks to the policies implemented and the installed power in solar energy has reached 7534 MW from 40 MW. As of September 2021, the share of renewable energy in Turkey's total installed power has increased to 53.15% [14]. In parallel with the increase in installed power, the renewable energy sector, which interacts with many sectors from equipment manufacturing to electricity production, is among the rising sectors of Turkey in terms of employment. Hot water supply from solar energy is widely used in our country, especially in the Aegean and Mediterranean regions. Turkey is among the leading countries in new capacity increase in the solar thermal market in the world[15].

In Turkey, 30,900 people are working in the field of Solar Energy, out of a total employment of 88,000 people in the renewable energy sector in 2020 [16]. According to the report titled “Renewable Energy Production Costs” published by the International Renewable Energy Agency (IRENA), it was stated that there was a cost reduction of 82% in photovoltaic solar energy and 47% in concentrated solar energy in the 2010-2019 period[17]. Considering the decreasing trend of the installation costs of these technologies and our country policies, it can be thought that employment in the solar energy sector will increase. Below are the companies that install and produce in the field of PVT and the main companies that produce PV panels in Turkey.

Solimpeks

The company develops solutions in electricity generation from thermal and solar energy, and provides product sales and installation services.( https://www.solimpeks.com.tr/)

Solarwall

The company offers solutions for heating purposes in many sectors, and also produces solutions in many sectors in PVT and similar new technologies.( https://www.solarwall.com.tr/)

Alfa Energy and Engineering Systems

Based in Izmir, the company has provided services throughout Turkey in meeting the needs of 1380 Villas, Mansions and Hotels with Heating & Cooling & Domestic hot water using Heat pump system, Water treatment, Water pressurization, and water extraction with submersible pumps. Solar energy system (Hot water and Electricity production), Garden irrigation. ( http://www.bodrummuhendislik.com/default.asp)

| Major Companies Producing PV Panels in Turkey |  |  |
| --- | --- | --- |
|  | Company | Web Sitesi |
| 1 | Kalyon PV | https://kalyonpv.com/ |
| 2 | Parla Solar - | http://www.parlasolar.com/ |
| 3 | Desiba Enerji | http://www.desibaenerji.com/ |
| 4 | Tera Solar | http://www.tera-solar.com/ |
| 5 | CW Enerji | https://www.cw-enerji.com/tr/index.html |
| 6 | Solar Türk | https://www.solarturk.com.tr/index.php |
| 7 | Gazioğlu Solar Enerji | http://www.gazioglusolar.com.tr/ |
| 8 | Ödül Solar Enerji | https://odulsolar.com/ |
| 9 | Gest Energy | http://www.gest-energy.com/ |
| 10 | Plura Watt | https://www.plurawatt.com/ |
| 11 | Marsun | https://www.marsunsolar.com/# |
| 12 | GTC Solar | http://gtctrade.com/ |
| 13 | BFİ Solar | https://www.bfi.com.tr/ |
| 14 | Elin Enerji | https://www.elin.com.tr/tr |
| 15 | 2H Enerji ve Yatırım A.Ş | http://www.daxlerenergy.com/ |
| 16 | HT Solar | http://htsolar.com.tr/ |
| 17 | Mirsolar Enerji A.Ş | https://www.mirsolar.com.tr/ |
| 18 | Seha Solar | https://www.seha.com.tr/gunes-paneli/ |
| 19 | Smart Güneş Teknolojileri | https://www.smartsolar.com.tr/ |

Picture 8: Major Firms Producing PV Panels in Turkey and Their Production Capacities [18].

| Company | PV panel production capacity (MW/year) | Cell production capacity (MW/year) |
| --- | --- | --- |
| Alfa Solar | 300 | - |
| Ankara Solar | 200 | - |
| CW Energy | 1.000 | - |
| Elin Energy | 450 | - |
| Gazioğlu Solar | 140 | - |
| Gest Energy | 150 | - |
| GTC | 135 | 100 |
| 2H Energy | 250 | - |
| HT Solar | 800 | 400 |
| Mirsolar | 200 | - |
| Ödül Energy | 235 | - |
| Parlo Solar | 150 | 130 |
| Seha Solar | 100 | - |
| Schmid-Pekintaş | 250 | - |
| Smart Solar | 1.000 | - |
| Solarturk | 250 | - |
| Total Capacity | 5.610 | 630 |

Picture 9: Major Companies Producing PV Panels in Turkey and Their Production Capacities [18].

6. CONCLUSION AND RECOMMENDATIONS

Today, where the effects of global warming are clearly felt, the use of fossil resources in the use of energy resources is in the direction of decreasing and the use of renewable energy resources is increasing. Apart from the environmental effects, the decrease in fossil resources, the increase in the prices of fossil resources, and the decrease in the installation costs of renewable energy technologies are also effective in the formation of this situation. Energy can be produced with different system designs from solar energy, which is the biggest potential among renewable energy sources. PV/T systems are one of the important alternatives in this sense. In these systems, both electricity and heat energy are produced.

Turkey has a great potential in terms of solar energy. This potential is used to a great extent in the production of hot water. However, electricity production has not yet reached the desired levels. Although there is an increase with incentives and investments in recent years, the installed power of solar energy is not at the desired level. PV systems and applications where these systems are combined with different applications and used as hybrids should be expanded. Considering the fact that thermal solar collectors are widely used for hot water needs in our country, it should not be overlooked that there is a large population that can use PV/T systems.

In the Çukurova region, thermal systems are widely used in order to obtain hot water from solar energy. With this system, the hot water need of a house is easily provided. These systems, which do not have any costs other than the initial installation cost, have a great contribution to the family economy. In addition, it is a fact that these systems create visual pollution. PV/T systems have not become widespread in our country yet, and the fact that these systems integrate PV and thermal structures reduces the area they cover on the building surface. PV/T systems also create a visually more harmonious structure with the building. It is inevitable for buildings to have a more aesthetic structure with PV/T systems.

PV/T systems are especially suitable for domestic use, as they both increase the efficiency of PV systems and meet the need for hot water. With the policies and incentives of the relevant Ministry and local administrations on PV/T systems, PV/T systems will become widespread. With the decrease in system costs, the use of these systems will increase.

As a result of the design of the buildings taking into account PV/T systems, benefits such as reduction in building material costs, reduction in building operating costs and labor costs, and reduction of required space for PV/T system installation will be provided. In addition, these systems will add prestige to the building by contributing to the environmentally friendly green building design, providing carbon-free energy production, reducing the amount of greenhouse gases. However, it should be noted that the priority in PV/T systems is electricity generation. It should be noted that the electrical efficiency will decrease if the thermal efficiency is increased.

When the vocational and technical education curriculum at the high school level in our country is examined, it is seen that PV/T systems subjects are not included in the curriculum. However, companies operating in the field of Renewable Energy Technologies and students studying in this field constitute the labor market in this field. In our country, there are 59 vocational high schools in 34 provinces in the field of renewable energy technologies [13]. And the number of students graduating from this field is increasing day by day.

With the increase in the installation of PV/T systems, which is a new technology, a new market will emerge and this market will provide new job opportunities for Renewable Energy employees. Thus, the number of personnel needed in the field of Renewable Energy technologies will increase. Such a formation will contribute to the country's economy by enabling the growth of SMEs and the reduction of unemployment.

THANKS

This work was funded by the European Commission and supported by the Turkish National Agency (Project No: 2020-1-TR01-KA202-093467). The authors thank the Turkish National Agency Vocational Education Coordinator.

RESOURCES

[1] “Best Research-Cell Efficiency Chart” (2021). https://www.nrel.gov/pv/cell-efficiency.html (Access Date: 29.11.2021).

[2] K. Çilli, (30.05.2020). “The World's Most Efficient Solar Cell” http://www.keremcilli.com/dunyanin-en-verimli-gunes-hucresi/ (Access Date: 29.11.2021).

[3] General Directorate of “Solar” Energy Affairs (2021). https://enerji.gov.tr/eigm-yenilenen-enerji-kaynaklar-gunes (Access Date: 29.11.2021).

[4] B. Yıldırım, (22 August 2013). “Solar Energy and Its Uses” https://www.yenienerji.com/gunes-enerjisi-ve-usim-alanlari, (Access Date: 29.11.2021).

[5] F. A. Sachit, M. A. M. Rosli, N. Tamaldin, S. Misha and A. L.Abdullah, "Nanofluids Used in Photovoltaic Thermal (PV/T) Systems: a Review," International Journal of Engineering & Technology, vol. 7, no. 3, p. 599-611, 2018.

[6] S. H. Bandaru, V. Becerra, S. Khanna, J. Radulovic, D. Hutchinson and R. Khusainov, “A Review of Photovoltaic Thermal (PVT) Technology for Residential Applications: Performance Indicators, Progress, and Opportunities”, Energies 2021, 14, 3853, 2021.

[7] M Oksuz, F. Kose. “Hybrid Photovoltaic Thermal PVT-water and PVT-air Solar Collectors

Analysis”, National Environmental Sciences Research Journal, Issue 2(3): 95-102, 2019.

[8] G.Yildiz, A.E. Gürel, “PV/T Systems: Types, Advantages and Applications”, TTMD Magazine, July-August 2019:30-38, 2019.

[9] “Reduzierter Flächenbedarf und höhere Energieerträge - Eine kleine Marktübersicht zu PVT-Hybridkollektoren” (03.09.2014).

https://www.ikz.de/detail/news/detail/reduzierter-flaechenbedarf-und-hoehere-energieertraege-eine-kleine-marktuebersicht-zu-pvt-hybridkollek/, (Access Date: 29.11.2021).

[10] M. Zhenjun, R. Haoshan, L. Wenye and W. Shugang “Solar-Assisted HVAC Systems with Integrated Phase Change”, December 20th 2017.

https://www.intechopen.com/chapters/57859, (Access Date: 29.11.2021).

[11]http://www.seitzingerenergien.ch/?Solar___%28Volther_Hybridkollektoren_von_Solimpeks%29 , (Access Date: 29.11.2021).

[12] T.M.O. Diallo, M. Yu, J. Zhou, X. Zhao, S. Shittu, G. Li, J. Ji , D. Hardy “Energy performance analysis of a novel solar PVT loop heat pipe employing a microchannel pipe evaporator and a heat PCM triple heat exchanger” 13 November 2018,

https://www.sciencedirect.com/science/article/abs/pii/S0360544218321893?via%3Dihub, (Accessed 29.11.2021).

[13] General Directorate of Vocational and Technical Education, School/Area/Branch Search http://mtegm.meb.gov.tr/kurumlar, (Access Date: 29.11.2021).

[14] Power Plant Installed Power Reports, TEİAŞ, (2021).

https://www.teias.gov.tr/tr-TR/kurulu-guc-raporlari, (Access Date: 29.11.2021).

[15] Solar Heat Worldwide, The Solar Heating and Cooling Program International Energy Agency, (2020).

https://www.iea-shc.org/solar-heat-worldwide-2020, (Access Date: 29.11.2021).

[16] Renewable Energy and Jobs - Annual Review 2021, IRENA, International Renewable Energy Agency (2021).

https://www.irena.org//media/files/IRENA/Agency/Publication/2020/Sep/IRENA_RE_Jobs_2020.pdf, (Access Date: 29.11.2021).

[17] M. Afşar, B. Özarslan-Doğan, “Relationship of Renewable Energy Investments and Employment: An Analysis on E-7 Countries”, Sosyoekonomi, Vol. 29(50), 547-564, 2021.

[18] PV Panel Production Market Research in Turkey, Stantec (2020).

https://www.solarbaba.com/wp-content/uploads/makale-003-yerli-uretim.pdf,

PVT Training Module for Vocational Secondary Education: A Pilot Application

Ercan ZENGİN1*, Mehmet Emin DİNÇKURT2*, Hasan YILDIZHAN3

Mário Gomes4, Paulo Coelho5, Remigijus Kaliasas6, Jovita Kaziukonytė7,

1Kurttepe Şehit Ali Öztaş Mesleki ve Teknik Anadolu Lisesi, Adana, Türkiye, zenginercan@gmail.com

2Kurttepe Şehit Ali Öztaş Mesleki ve Teknik Anadolu Lisesi, Adana, Türkiye,emindinckurt@gmail.com

3Adana Alparslan Türkeş Bilim ve Teknoloji Üniversitesi, Türkiye, ORCID: 0000-0003-0272-980X, hyildizhan@atu.edu.tr

4Polytechnic Institute of Tomar, Portugal, mgomes@ipt.pt

5Polytechnic Institute of Tomar, Portugal, pcoelho@ipt.pt

6Panevėžio kolegija, Lithuania, jovita.kaziukonyte@panko.lt

7Panevėžio kolegija, Lithuania, remigijus.kaliasas@panko.lt

*Responsible Author

ABSTRACT

The PV/T Training Module we have prepared has been created within the scope of the “Power Up My House” (Project No: 2020-1-TR01-KA202-093467) project financed by the European Commission and supported by the Turkish National Agency. The PV/T Training Module is an educational material that will reinforce the theoretical knowledge visually and experimentally for students studying in the field of Renewable Energy Technologies, or for those who want to have knowledge and skills on this subject. The students are given basic information about PV and PV/T technologies, and systems related to the production of Heat Energy and Electrical Energy are introduced with a hybrid collector from solar energy. Increasing the knowledge and skills of students on PV and PV/T with this training module; Calculation of efficiency in energy production with experiments to be applied, etc. It aimed to gain cognitive and psychomotor skills in subjects. “YE-1035 Solar Cell and Hot Water (PV/T) Training Set” manufactured by Argemsan company was used as the experimental set, and in the experiments, basic information about PV/T panel and energy production and the theoretical equations to be used in the analysis were given; Then, each experiment was handled separately. The knowledge levels and awareness of the participants were determined by applying the pre-test before the PVT training module was applied, and the post-test when the training was completed. It is thought that PV/T systems, the use of which is increasing day by day in our country and abroad, can be taught as a 2-hour elective course in the fields of Renewable Energy Technologies and Installation Technology and Air Conditioning in Vocational and Technical Anatolian High Schools with this training module.

Keywords: Solar energy, PVT system, PVT training module, Renewable energy technologies

1.INTRODUCTION

In today's world, where the effects of global warming are clearly seen, the interest in renewable energy sources has increased due to the increase in the costs of fossil fuels used in energy consumption and the damage these fuels cause to the environment.

The radiant energy that emerges with the fusion event occurring in the core of the sun is called solar energy. While the intensity of this energy is approximately 1370 W/m2 outside the atmosphere, the amount reaching the earth varies between 0-1100 W/m2 values due to the atmosphere of the world [3]. Research on the use of solar energy has accelerated after the 1970s, and while solar energy systems have made technological progress, the cost of these systems has gradually decreased. Today, solar energy systems are a clean energy source that does not harm the environment and whose use is increasing day by day. Solar energy is the source of life on earth and is a direct or indirect source of alternative energy sources other than nuclear energy. The solar energy potential maps of the World and Turkey are shown in Figure.1 below.

Figure 1. World solar energy potential atlas- Turkey solar energy potential atlas [3].

Solar energy is the type of energy that has the greatest potential among renewable energy sources. This type of energy is widely used in many areas such as heating, hot water supply and ventilation. In addition, Photovoltaic Systems (PV), whose technologies are developing day by day, are widely used in electricity production from solar energy. The efficiency of PV cells has reached 47.1% under laboratory conditions [2]. Commercial PV panel efficiencies are around 15-22.7%. While about 23% of the solar radiation falling on the panel area in a PV panel can be converted into electrical energy, the rest of the energy is emitted to the atmosphere as heat [3]. Photovoltaic Thermal (PV/T) systems have been developed to take advantage of this heat. In PV/T systems, while solar energy is converted into electrical energy with PV cells, the resulting heat is also converted into useful energy. In this way, efficiency increases are achieved by cooling the surfaces of the PV cells.

High temperature reduces the open circuit voltage in PV systems, causing a decrease in efficiency. By adding a cooler to the PV panel, the temperature of the PV system can be lowered, thereby increasing the overall efficiency. However, it is possible to recover the energy lost as heat in this system. In PV/T systems, water, air or both can be used to cool the PV panel. The recovery of waste heat in PV/T systems causes the overall efficiency of the hybrid system to be higher than the efficiency of the PV system. The overall efficiency in PV/T systems is obtained using the following equation. [4]

ηtotal = ηthermal +ηelectrical

Current research focuses on the integration of PV systems with the building. It is important that PV/T installations are in harmony with the building architectural design. The main target in PV/T systems is to achieve low costs for PV/T systems that produce electricity and thermal energy. Reducing system costs is the basic requirement for the widespread use of PV/T systems.

The main benefits of PV/T systems can be listed as follows [4]:

- The cost in PV/T systems is lower than two separate system installations.

- The total area required for the PV/T system installation is less than the area required for the PV system and the thermal system.

- PV and solar collectors use different part of the solar spectrum. Collectors use infrared waves, while solar cells use visible light waves. By using both systems together, solar energy is used more effectively.

- Thanks to PV/T systems, the thermal load of the building decreases due to the increase in insulation and surface shading in summer.

- With PV/T systems, a more aesthetic installation will be possible in terms of appearance compared to the installation of PV and Thermal systems separately on the exterior of the building

The performances of PV/T systems increase with the increase in temperature, but decrease when they start to operate at higher temperatures. For this reason, it is necessary to operate the PV modules at low temperatures in order to have the electrical efficiency of the PV cells at a certain level. Due to this necessity, the working areas of PV/T systems are limited. Therefore, the heat obtained can be used for preheating, water heating, space heating, etc. in buildings.

PV/T systems can be examined in 4 groups.[4].

1. PV/T air collectors

2. PV/T liquid collectors

3. PV/T collectors with heat pipes

4. PV/T collectors with Phase Change Material

PV/T systems are used in building applications, solar distillation applications, solar energy drying applications, greenhouse applications, thermoelectric generators and heat pumps.

When PV/T systems are examined, it is seen that these systems have the following advantages.

• By lowering the operating temperatures of PV cells, they increase the electrical

efficiency of

PV cells, which decreases with temperature.

• They increase the electrical and thermal efficiency of the system.

• More heat and electrical energy is obtained from the area where the PV/T system is

installed.

This is important as roof surface areas are limited.

• Hybrid PV/T systems create a more aesthetic appearance as they provide

architectural integrity

on the roof.

2. VOCATIONAL EDUCATION

This process, in which the features needed and must have in the fields of production and service are acquired by the employees is called Vocational and Technical Education.

Depending on scientific and technological developments, while the interest in some professions decreases, new professions emerge. The ability of the workforce to adapt to rapidly changing technology is important for vocational and technical education. Advances in science and technology are improving and changing professions. The constant change in the work to be done requires vocational education to have a dynamic quality. Vocational education systems have to constantly monitor the changes in production and technology and analyze their reflections on education. Depending on the developments in science and technology, vocational education systems should be constantly updated [6].

When the vocational and technical education curriculum at the high school level in our country is examined, there are 47 fields (departments) in the Vocational and Technical Anatolian High School programs, while there are 35 fields (departments) in the Vocational Education Center programs. A total of 1,848.236 students, 1,381,441 in Vocational and Technical Anatolian High Schools, 250,932 in Vocational Education Centers, 72,558 in Vocational Open Education High Schools, and 143,305 in Private Vocational and Technical Anatolian High Schools, receive education in vocational and technical programs throughout Turkey.

The first 10 provinces according to the number of students in the field of renewable energy technologies, 1-İstanbul 774, 2-Ankara 654, 3-Mersin 491, 4-Gaziantep 442, 5-Şanlıurfa 393, 6-Kocaeli 381, 7-İzmir 366, 8-Adana 299 , 9-Konya 227, 10-Balıkesir 210 students.

Figure 2. Number of Students in Renewable Energy Technologies by Province

The first 10 provinces according to the number of employees in the field of renewable energy technologies; 1-Istanbul 27,665, 2-Ankara 17,349, 3-Izmir 7,362, 4-Bursa 6,994, 5-Kocaeli 6,438, 6-Sakarya 4,424, 7-Antalya 3,177, 8-Tekirdağ 2,739, 9 Kayseri 2,507, 10-Manisa 2,086 people [7].

Figure 3. Number of Employees in Renewable Energy Technologies by Province

There are 2 branches in the field of renewable energy technologies, namely Solar Energy Systems and Wind Energy Systems. It is seen that PV/T systems subjects are not included in the training programs. With the increase in investments in the sector, the number of companies operating in the field of Renewable Energy Technologies is also increasing. Companies operating in the renewable energy sector and students studying in this field constitute the labor market in the sector. In our country, there are 59 vocational high schools in 34 provinces in the field of renewable energy technologies and the number of students graduating from this field is increasing day by day [8].

According to TEİAŞ installed power reports data, the number of Solar Energy installed power plants in Turkey for May 2022 is 8725 and the installed power is 8335.9 MW. Considering the increase in the use of alternative energy sources for energy production in our country, the increase in solar energy investments means new job opportunities for Renewable Energy Technologies students.

In PV/T systems, while solar energy is converted into electrical energy with PV cells, the resulting heat is also converted into useful energy. In this way, efficiency increases are achieved by cooling the surfaces of the PV cells. Since PV/T systems consist of PV and Thermal systems in an integrated manner, it will be appropriate for students studying in the field of Renewable Energy Technologies to work in the installation of PV/T systems. With the spread of this technology, new job opportunities will emerge for the Renewable Energy labor market. PV/T Systems Training Module has been prepared for students studying in the field of Renewable Energy Technologies.

It is thought that PV/T systems, the use of which is increasing day by day in our country and abroad, can be taught as a 2-hour elective course in the fields of Renewable Energy Technologies and Installation Technology and Air Conditioning in Vocational and Technical Anatolian High Schools with this training module.

3. MATERIAL AND METHOD

When the vocational and technical education curriculum at the high school level in our country is examined, it is seen that the subjects of PVT systems are not included in the curriculum. At high school level, there are only two branches in the field of renewable energy technologies, namely solar energy systems and wind energy systems.

With the increase in investments in the sector, the number of companies operating in the field of renewable energy technologies is also increasing. Companies operating in this sector and students studying in this field constitute the labor market in the sector. In the installation of PVT systems, the studies of students studying in this field will be appropriate.

The PV/T Training Module we have prepared has been created within the scope of the “Power Up My House” (Project No: 2020-1-TR01-KA202-093467) project financed by the European Commission and supported by the Turkish National Agency. The PV/T Training Module is an educational material in which theoretical knowledge will be visually and experimentally reinforced for students studying in the field of Renewable Energy Technologies, or for those who want to have knowledge and skills on this subject. The students are given basic information about PV and PV/T technologies, and systems related to the production of Heat Energy and Electrical Energy are introduced with a hybrid collector from solar energy. Increasing the knowledge and skills of students on PV and PV/T with this training module; Calculation of efficiency in energy production with experiments to be applied, etc. It aimed to gain cognitive and psychomotor skills in subjects.

“YE-1035 Solar Cell and Hot Water (PV/T) Training Set” manufactured by Argemsan company was used as the experimental set, and in the experiments, basic information about PV/T panel and energy production and the theoretical equations to be used in the analysis were given; Then, each experiment was handled separately. Argemsan Education Technologies Industry and Trade Inc. was established in Balıkesir in 2014 and serves in the education sector. It produces and sells training sets to universities and vocational high schools in the fields of heat transfer, fluid mechanics, thermodynamics, renewable energy, air conditioning, heating systems, cooling systems, control systems, energy efficiency, plumbing and electricity [9].

Figure 4. PVT Experiment Set [9]

Experiment Set Technical Specifications

| S.no | MATERIAL NAME | FEATURE |
| --- | --- | --- |
| 1 | Solar cell | 160 W, |
| 2 | Inverter | ATABA 20W I/P 24V dc O/P230V AC |
| 3 | Battery | PYG 12 |
| 4 | Lamps | Power 15W, 220VAC |

PVT training module prepared by Adana Kurttepe Şehit Ali Öztaş Vocational and Technical Anatolian High School has been adapted by Lithuanian and Portuguese partners according to their own languages ​​and conditions. In addition, PVT training was applied to at least 30 students and the results were evaluated.

In the training module, firstly, theoretical information about Solar Energy, Photovoltaic Solar Technology and Photovoltaic Thermal Systems was given, then the experiment set was introduced and explanations were made about the experiments that could be done in this experiment set. Finally, in the module evaluation part, module evaluation was carried out in order to determine the knowledge level of the training participants about PV and PVT systems.

The training module was initially created to be done face-to-face, and then moved to the online platform in order to conduct training and evaluations remotely due to the pandemic process. In this way, each project partner had the opportunity to carry out the education and evaluation process according to the conditions of their own country.

The web version of the training module consists of Theoretical information, Experiment set features and presentation, PVT Experiments, Online evaluation module, PVT Experiments videos and Bibliography.

Figure 5. Web Based PVT Training Module

PVT Training module was applied to two groups of 15 students from Adana Kurttepe Şehit Ali Öztaş Vocational and Technical Anatolian High School, Renewable Energy Technologies Field, 10th and 11th grade students. The pre-test before the training and the post-test after the training were applied to both groups. In this way, it was tried to determine the awareness and knowledge of the students about PVT systems before and after the training with the pre-test and post-test.

On 28-29 April 2022, PVT training was carried out face-to-face theoretical and practical part by Panevėžys University of Applied Sciences (PANKO-Panevezio Kolegija) in Lithuania. Pre-test and post-test were administered to the students before and after the training, and 32 engineering students from different study programs such as Civil, Electrical and Automatic Equipment and Computer engineering participated in the training.

With the PVT training held in Portugal, Polytechnic Institute of Tomar between 27 May and 15 June, 46 students from Electrical, Mechatronics and Mechanical engineering departments were trained, and pre-test and post-test were applied to the students before and after the education.

PV/T SYSTEMS PILOT APPLICATION – PRE-TEST

This survey aims to understand the level of knowledge of learners taking the training module on PV/T developed as part of the Power up My House project funded by the European Commission under the Erasmus Plus Strategic Partnership program. The information collected in this survey will be used to develop a user-friendly product and will not be shared with third parties.

| DATE: |  |
| --- | --- |
| LEARNER NAME SURNAME: |  |
| SCHOOL: |  |
| CLASS: |  |
| SUBJECT STUDY: |  |

The following questions were prepared to understand needs and preferences and to measure learners' knowledge of PV/T systems. Please answer the questions according to your level of interest (1= Not at all; 5 = Absolutely).

|  | 1 | 2 | 3 | 4 | 5 | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| How would you describe your level of knowledge regarding the use of ICT technologies? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to PV systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge regarding solar systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to PV/T systems? |  |  |  |  |  |  |

| Please tick the most appropriate answer for you |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| You evaluate the space and work required in the installation of PV/T systems according to the individual PV system installations |  |  |  |  |  |
|  | Field view more |  | The field add-on is more |  | Field list |
| Evaluate PV/T system installations in terms of aesthetics according to separate PV system and Solar system installations. |  |  |  |  |  |
|  | Aesthetic conditions are better |  | Aesthetics is worse |  | In the aesthetic country |
| You evaluate the efficiency of PV/T system installations according to the efficiency of PV system and Solar system installations separately. |  |  |  |  |  |
|  | Better yields |  | Same |  | Worse yields |
| Evaluate PV/T system installation costs according to the costs of PV system and Solar system installations separately |  |  |  |  |  |
|  | The cost is higher |  | Same |  | The cost is lower |
| What are the PV/T system types? |  |  |  |  |  |
| What are the advantages of PV/T systems? |  |  |  |  |  |
| What are the disadvantages of PV/T systems? |  |  |  |  |  |

PV/T SYSTEMS PILOT APPLICATION – POST-TEST

This survey aims to understand the level of development of knowledge about PV/T systems of the participants of the pilot phase carried out in the framework of the Power up My House project funded by the European Commission under the Erasmus Plus Strategic Partnership program. The information collected in this survey will be used for the development of a user-friendly product and will not be shared with third parties.

| DATE: | COUNTRY: |
| --- | --- |
| LEARNER NAME SURNAME: |  |
| SCHOOL: |  |
| CLASS: |  |
| SUBJECT STUDY: |  |

The following questions were prepared to understand needs and preferences and to measure learners' knowledge of PV/T systems. Please answer the questions according to your level of interest (1= Not at all; 5 = Absolutely).

PART I

|  | 1 | 2 | 3 | 4 | 5 | N/A |
| --- | --- | --- | --- | --- | --- | --- |
| How would you describe your level of knowledge regarding PV systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to solar systems? |  |  |  |  |  |  |
| How would you describe your level of knowledge in relation to PV/T systems? |  |  |  |  |  |  |
| Were you satisfied with the preparatory work for this pilot phase (communication, information flow, etc.)? |  |  |  |  |  |  |
| Do you think that the content of the training module met your expectations and needs? |  |  |  |  |  |  |
| Do you think that the working materials used during the training were varied enough and of good quality? |  |  |  |  |  |  |
| Were you satisfied with the working atmosphere during the training? |  |  |  |  |  |  |
| Do you think that the training was successful overall? |  |  |  |  |  |  |
| Do you think that you were sufficiently informed about the goals and outcomes of the Power Up My House project during the training? |  |  |  |  |  |  |
| Did the training help improve your job skills? |  |  |  |  |  |  |
| Did you have the opportunity to observe/learn new techniques and methods? |  |  |  |  |  |  |
| Were you satisfied with the duration of the training? |  |  |  |  |  |  |
| Do you believe this training will increase your employability? |  |  |  |  |  |  |

PART II

| Please tick the most appropriate answer for you |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| You evaluate the space and work required in the installation of PV/T systems according to the individual PV system installations |  |  |  |  |  |
|  | Field view more |  | The field add-on is more |  | Field list |
| Evaluate PV/T system installations in terms of aesthetics according to separate PV system and Solar system installations. |  |  |  |  |  |
|  | Aesthetic conditions are better |  | Aesthetics is worse |  | In the aesthetic country |
| You evaluate the efficiency of PV/T system installations according to the efficiency of PV system and Solar system installations separately. |  |  |  |  |  |
|  | Better yields |  | Same |  | Worse yields |
| Evaluate PV/T system installation costs according to the costs of PV system and Solar system installations separately |  |  |  |  |  |
|  | The cost is higher |  | Same |  | The cost is lower |
| What are the PV/T system types? |  |  |  |  |  |
| What are the advantages of PV/T systems? |  |  |  |  |  |
| What are the disadvantages of PV/T systems? |  |  |  |  |  |

If there is anything else you want to express in regard to the training (things you really liked, things you did not like at all, things you missed, things that could be improved another time etc.), please use the space below:

4. CONCLUSIONS AND DISCUSSION

PVT Training module was applied to two groups of 15 students from Adana Kurttepe Şehit Ali Öztaş Vocational and Technical Anatolian High School, Renewable Energy Technologies Field, 10th and 11th grade students. The pre-test before the training and the post-test after the training were applied to both groups. In this way, it was tried to determine the awareness and knowledge of the students about PVT systems before and after the training with the pre-test and post-test.

After the training module was applied, the correct answer rate of the students to the question of the space required for PV/T system installation changed from 40% to 90%, the correct answer rate to the question of aesthetic evaluation of PV/T system installations from 40% to 100%, PV The correct answer rate for the question of evaluation of /T system efficiency increased from 46.66% to 100%, and the rate of correct answers to the question of evaluation of PV/T system installation cost increased from 16.66% to 56.66%.

Figure 6. The answers to the related questions in the pre-test and post-test

While 96.66% of the students could not answer the question of what are the PV/T system types in the pre-test, 3.33% of them gave 2 correct answers. In the post-test performed

after the training, 76.66% of the students gave at least one correct answer.

While 46.66% of the students could not answer the question of what are the advantages of PV/T systems in the pre-test, 13.3% could give 1 or 2 correct answers. In the post-test, 90% of the students gave at least one correct answer.

While 100% of the students could not answer the question of what are the disadvantages of PV/T systems in the pre-test, 26.66% of the students gave one or two correct answers in the post test.

Figure 7. Answers to the question of “PVT System types” in the pre-test and post-test

Figure 8. The answers given in the pre-test and post-test to the question “Advantages of PV/T

Systems”

Figure 9. The answers given in the pre-test and post-test to the question of “disadvantages of

PV/T Systems”

When the PVT Education module is implemented at Panevėžys University of Applied Sciences, Lithuania (PANKO-Panevezio Kolegija); The correct answer rates given by the students to the question of the space required for PV/T system installation ranged from 68.75% to 78.12%, and the correct answer rate to the question of aesthetic evaluation of PV/T system installations from 59.37% to 68.75%, the rate of correct answers to the question of evaluating the PV/T system efficiency from 68.75% to 78.12%, the rate of correct answers to the question of evaluating the cost of PV/T system installation from 12.55% to 18.75%' e has risen.

Figure 10. The answers to the related questions in the pre-test and post-test

While 43.75% of the students could not answer the question of what are the PV/T system types in the pre-test, 56.25% could give 1 correct answer. In the post-test, 96.87% of the students gave at least one correct answer.

Figure 11. Answers to the question of PVT System types in the pre-test and post-test

While 65.62% of the students gave wrong answers to the question of what are the advantages of PV/T systems in the pre-test, 34.37% of them gave 1 or 2 correct answers. In the post-test, 100% of the students gave at least one correct answer.

Figure 12. The answers given in the pre-test and post-test to the question

“Advantages of PV/T Systems”

While 34.37% of the students answered the question of what are the disadvantages of PV/T systems as PVT system installation cost or installation difficulty in the pre-test, 65.62% of the students answered the installation cost in the post-training test.

Figure 13. The answers given in the pre-test and post-test to the question

“Disadvantages of PV/T Systems”

When the PVT Training module was implemented in Portugal, Polytechnic Institute of Tomar, the correct answer rate of the students to the question of space required for PV/T system installation ranged from 24% to 77%, and the correct answer rate to the question of aesthetic evaluation of PV/T system installations % From 28 to 93%, the correct answer rate for the question of PV/T system efficiency evaluation increased from 50% to 66%, and the correct answer rate for the question of PV/T system installation cost evaluation increased from 39% to 82%.

Figure 14. The answers to the related questions in the pre-test and post-test

While 57% of the students could not answer the question of what are the PV/T system types in the pre-test, 39% could give at least 1 correct answer. In the post-test, 91% of the students gave at least one correct answer.

What are the PV/T system types? (Development question: 1 = Reveals lack of knowledge / Doesn't know; 2 = Reveals some knowledge; 3 = Reveals knowledge)

Figure 15. The answers given in the pre-test and post-test to the question of PVT

System types

While 46% of the students could not answer the question of what are the advantages of PV/T systems in the pre-test, 43% could give 1 or 2 correct answers. In the post-test, 91% of the students gave at least one correct answer.

What are the advantages of PV/T systems? (Development question: 1 = Reveals lack of knowledge / Doesn't know; 2 = Reveals some knowledge; 3 = Reveals knowledge)

Figure 16. The answers given in the pre-test and post-test to the question

“Advantages of PV/T Systems”

While 50% of the students could not answer the question of what are the disadvantages of PV/T systems in the pre-test, 39% could give 1 or 2 correct answers, and in the post-test, 84% of the students could answer.

What are the disadvantages of PV/T systems? (Development question: 1 = Reveals lack of knowledge / Doesn't know; 2 = Reveals some knowledge; 3 = Reveals knowledge)

Figure 17. The answers given in the pre-test and post-test to the question of disadvantages of PV/T Systems

As a result of the implementation of the training module, it was observed that the students' knowledge and skills on PV, PV/T Systems and Solar Energy Technologies increased. Likewise, feedback was received that the training was successful, that the training period was satisfied, and that this training would increase employability.

5. FINDINGS

The PV/T Training Module was created within the scope of the “Power Up My House” (Project No: 2020-1-TR01-KA202-093467) project financed by the European Commission and supported by the Turkish National Agency. The PV/T Education Module was applied to a certain number of students in partner institutions in Turkey, Lithuania and Portugal, and the results were evaluated.

After the training module is applied, when the correct answer rates given by the students to the question of the area required for the PV/T system installation are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase is 50% in Kurttepe MTAL; It was 10% in PANKO and 53% in IPT.

When the correct answer rates given to the question of aesthetic evaluation of PV/T system installations are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase is 60% in Kurttepe MTAL; It was approximately 9% in PANKO and 65% in IPT.

When the correct answer rates given to the question of the evaluation of PV/T system efficiency are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase was 53% in Kurttepe MTAL; It was approximately 10% in PANKO and 16% in IPT.

When the correct answer rates given to the question of the evaluation of the PV/T system installation cost are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase is 40% in Kurttepe MTAL; It was approximately 6% in PANKO and 43% in IPT.

When the correct answer rates given to the question of PV/T system types are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase is 76% in Kurttepe MTAL; It was approximately 53% in PANKO and 34% in IPT.

When the correct answer rates given to the question of what are the advantages of PV/T systems are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase is 43% in Kurttepe MTAL; It was approximately 34% in PANKO and 45% in IPT.

When the correct answer rates given to the question of what are the disadvantages of PV/T systems are examined; In all three countries, the rate of correct answers after training increased compared to pre-training. This increase was 26% in Kurttepe MTAL; It was approximately 31% in PANKO and 34% in IPT.

As a result of the implementation of the training module, it has been observed that the students' knowledge and skills on PV, PV/T Systems and Solar Energy Technologies increased. Likewise, feedback was received that the training was successful, that the training period was satisfied, and that this training would increase employability.

When the vocational and technical education curriculum at the high school level in our country is examined, it is seen that the subjects of PVT systems are not included in the curriculum. At high school level, there are only two branches in the field of renewable energy technologies, namely solar energy systems and wind energy systems. Scientific and technological changes bring a dynamic quality to vocational education. Vocational education should have transformational skills in order to respond to emerging needs. In this sense, it is meaningful to add PVT systems subjects to the vocational and technical education curriculum.

It is thought that PV/T systems, the use of which is increasing day by day in our country and abroad, can be taught as a 2-hour elective course in the fields of Renewable Energy Technologies and Installation Technology and Air Conditioning in Vocational and Technical Anatolian High Schools with this training module.

THANKS

This work was funded by the European Commission and supported by the Turkish National Agency. (Project No: 2020-1-TR01-KA202-093467 "Development Of Innovative Learning And Practice Modules To Increase The Usage Of Renewable Energies For Sustainable Buildings'') The authors thank the Turkish National Agency Vocational Education Coordinator.

RESOURCES

[1] General Directorate of “Solar” Energy Affairs (2021). https://enerji.gov.tr/eigm-yenilenen-enerji-kaynaklar-gunes (Access Date: 29.11.2021).

[2] “Best Research-Cell Efficiency Chart” (2021). https://www.nrel.gov/pv/cell-efficiency.html (Access Date: 29.11.2021).

[3] K. Çilli, (30.05.2020). “The World's Most Efficient Solar Cell” http://www.keremcilli.com/dunyanin-en-verimli-gunes-hucresi/ (Access Date: 29.11.2021).

[4] M Oksuz, F. Kose. “Hybrid Photovoltaic Thermal PVT-water and PVT-air Solar Collectors Analysis”, National Environmental Sciences Research Journal, Issue 2(3): 95-102, 2019.

[5] G.Yildiz, A.E. Gürel, “PV/T Systems: Types, Advantages and Applications”, TTMD Magazine, July-August 2019:30-38, 2019.

[6] (TİSK, 2004).

[7] https://meslekiegitimharitasi.meb.gov.tr/alanbilgi.php?alanid=46 (Access Date: 15.06.2022).

[8] General Directorate of Vocational and Technical Education, School/Area/Branch Search http://mtegm.meb.gov.tr/kurumlar, (Access Date: 29.11.2021).

[9] http://argemsan.com/ (Access Date: 07.06.2022).

Project number 2020-1-TR01-KA202-093467

POWER UP MY HOUSE

OUTPUT 5. EDUCATION MATERIAL

2022

Contents

INTRODUCTION	3

1.	SOLAR ENERGY	4

2.	SOLAR PHOTOVOLTAIC TECHNOLOGY (PV)	6

2.1.	The working principle of a solar cell	6

2.1.1. Generation of charge carriers due to the absorption of photons in the materials that form a junction	6

2.1.3. Collection of the photo-generated charge carriers at the terminals of the junction	8

2.2. PV module operation	9

2.2.1.	PV Module Safety Rules	12

2.2.2.	PV characteristics	15

2.2.3.	Photovoltaic arrays	21

2.3.	Solar PV system	31

2.3.1.	Charge controlled PV system	31

2.3.2.	An inverter	35

2.3.3.	Batteries	39

3.	PHOTOVOLTAIC–THERMAL TECHNOLOGY (PV/T)	47

3.1. PVT collector classification	49

3.2. Performance of PVT Collectors	51

3.2.1. Air PV/T systems	52

3.2.2. Liquid PV/T systems	53

3.2.3. Heat Pipe PV/T systems	53

3.2.4. PV/T systems with PCM	54

3.2.5. Heat Pump Integrated with a PV/T Collector	55

4.	EXPERIMENT	57

4.1. Research of photovoltaic cells	57

4.2. Principal operation of the stand 950-STCL1 (Solar thermal collector)	59

References	61

# INTRODUCTION

The PV/T training module we developed was developed as part of the Power Up My House project (project no.: 2020-1-TR01-KA202-093467), funded by the European Commission. This module is a teaching material in which theoretical knowledge will be visually and experimentally enhanced for students studying in the field of renewable energy technologies or for those who wish to have knowledge and skills in the subject. The training module aims to reinforce theoretical knowledge with visual and experimental material. The “Solar Element (PV) and Hot Water (ST) Training Kit” manufactured by Amatrol was used as the experimental kit, and the experiments provided basic information on PV and ST energy production and applicable theoretical equations. It is considered that PV / T systems can be taught as an optional course in the fields of renewable energy technologies and installation technologies.

# SOLAR ENERGY

The Sun is the energy source for almost all the processes happening on the surface of our planet: wind is a result of temperature difference in the atmosphere induced by solar irradiation; waves are generated by the wind; clouds and rain are initially formed by the evaporation of water due to sunlight. As the Sun is the only real energy source we have, we need to move to an era in which we start to utilize the energy provided by the sun directly for satisfying our energy needs.

The sun is the most powerful source of renewable energy on Earth. Although the relative intensity of solar radiation on its surface reaches 6,318*107 W/m2, due to the scattering of rays propagating at a spherical angle in space, the relative intensity of radiation reaching the Earth's atmospheric surface decreases tens of thousands of times and make up to only 1362 W/m2 (Figure 1). The density of solar energy reaching the surface of the Earth's atmosphere (1362 W/m2) is called the solar constant. However, even at this intensity, the total amount of solar energy reaching the Earth is thousands of times greater than the current energy consumption of all mankind.

Fig. 1. Solar energy flow

The theoretical annual global solar energy potential is estimated at 900,000,000 TWh and is about 60 times the theoretical annual global wind energy potential, about 2,200 times the theoretical annual geothermal energy potential, about 4,500 times the biomass and about 36,000 times the for the theoretical annual global potential of hydropower. Despite this size, the potential for solar energy to generate electricity and heat is still the least used. This is not a coincidence: the solar energy itself is scattered, poorly concentrated, and its parameters vary widely depending on the time of day and the time of year.

Lithuania's geographical latitude is less favorable for the use of solar energy than in countries closer to the equator, such as Malta or Cyprus. The maximum sunlight is at the equator. As you move away from the equator, the radiation decreases. The countries at the bottom receive the most solar energy and the top receive the least (Figure 2).

Fig. 2. Solar energy for the European continent [1]

In Lithuania, the annual amount of solar energy falling on a horizontal surface of 1 m2 is slightly higher than 1000 kWh/m2 (leading in Europe in the south of Germany - 1260 kWh/m2, in the north 970 kWh/m2, in Spain about 1500 kWh/m2. Thus, climatic conditions for solar energy in Lithuania it is slightly worse than in Germany, but better or similar than in Belgium, Denmark or Great Britain.

Monthly values and the average in a year, for a specific place are shown in Figure 3.

Fig. 3. Monthly insolation values in a year [2]

Solar energy is used as a renewable energy source to generate electricity and heat.

A solar cell, or photovoltaic cell (PV), is an electrical device that converts the energy of light directly into electricity by the photovoltaic effect, which is a physical and chemical phenomenon.

Solar thermal energy (ST) is a form of energy and a technology for harnessing solar energy to generate thermal energy for use in industry, and in the residential and commercial sectors.

Photovoltaic–thermal (PV/T) is the combination of PV technology and solar thermal technology, which converts the incident radiation into electricity and heat simultaneously.

# SOLAR PHOTOVOLTAIC TECHNOLOGY (PV)

## The working principle of a solar cell

The working principle of solar cells is based on the photovoltaic effect, i.e. the generation of a potential difference at the junction of two different materials in response to electromagnetic radiation. The photovoltaic effect is closely related to the photoelectric effect, where electrons are emitted from a material that has absorbed light with a frequency above a material-dependent threshold frequency. In 1905, Albert Einstein understood that this effect can be explained by assuming that the light consists of well defined energy quanta, called photons. The energy of such a photon is given by

E=h,	(1)

where h is Planck’s constant and ν is the frequency of the light. For his explanation of the photoelectric effect Einstein received the Nobel Prize in Physics in 1921.

The photovoltaic effect can be divided into three basic processes [3]:

### 2.1.1. Generation of charge carriers due to the absorption of photons in the materials that form a junction

Absorption of a photon in a material means that its energy is used to excite an electron from an initial energy level Ei to a higher energy level Ef, as shown in Figure 4 (a). Photons can only be absorbed if electron energy levels Ei and Ef are present so that their difference equals the photon energy, hν = Ef − Ei. In an ideal semiconductor electron can populate energy levels below the so-called valence band edge, EV, and above the so-called conduction band edge, EC. Between those two bands no allowed energy states exist which could be populated by electrons. Hence, this energy difference is called the bandgap, EG = EC − EV. If a photon with an energy smaller than EG reaches an ideal semiconductor, it will not be absorbed but will traverse the material without interaction.

Fig. 4: (a) Illustrating the absorption of a photon in a semiconductor with bandgap EG. The photon with energy Eph= hν excites an electron from Ei to Ef. At Ei a hole is created. (b) If Eph > EG, a part of the energy is thermalized [3].

In a real semiconductor, the valence and conduction bands are not flat, but vary depending on the so-called k-vector that describes the momentum of an electron in the semiconductor. This means that the energy of an electron is dependent on its momentum because of the periodic structure of the semiconductor crystal. If the maximum of the valence band and the minimum of the conduction band occur at the same k-vector, an electron can be excited from the valence to the conduction band without a change in the momentum. Such a semiconductor is called a direct bandgap material. If the electron cannot be excited without changing its momentum, we refer to it as an indirect bandgap material. The electron can only change its momentum by momentum exchange with the crystal, i.e. by receiving momentum from or giving momentum to vibrations of the crystal lattice. The absorption coefficient in a direct bandgap material is much higher than in an indirect bandgap material, thus the absorbing semiconductor, often just called the absorber, can be much thinner.

If an electron is excited from Ei to Ef, a void is created at Ei. This void behaves like a particle with a positive elementary charge and is called a hole. The absorption of a photon therefore leads to the creation of an electron-hole pair, as illustrated in Figure 5(1). The radiative energy of the photon is converted to the chemical energy of the electron-hole pair. The maximal conversion efficiency from radiative energy to chemical energy is limited by thermodynamics. This thermodynamic limit lies between 67% for non- concentrated sunlight and 86% for fully concentrated sunlight.

2.1.2. Subsequent separation of the photo-generated charge carriers in the junction

Usually, the electron-hole pair will recombine, i.e. the electron will fall back to the initial energy level Ei, as illustrated in Fig. 5 (2). The energy will then be released either as photon (radiative recombination) or transferred to other electrons or holes or lattice vibrations (non-radiative recombination). If one wants to use the energy stored in the electron-hole pair for performing work in an external circuit, semipermeable membranes must be present on both sides of the absorber, such that electrons can only flow out through one membrane and holes can only flow out through the other membrane, as illustrated in Figure 5 (3). In most solar cells, these membranes are formed by n- and p- type materials.

A solar cell has to be designed such that the electrons and holes can reach the membranes before they recombine, i.e. the time it requires the charge carriers to reach the membranes must be shorter than their lifetime. This requirement limits the thickness of the absorber.

Fig. 5: A very simple solar cell model. (1) Absorption of a photon leads to the generation of an electron-hole pair. (2) Usually, the electrons and holes will recombine. (3) With semipermeable membranes the electrons and the holes can be separated. (4) The separated electrons can be used to drive an electric circuit. (5) After the electrons have passed through the circuit, they will recombine with holes [3].

### 2.1.3. Collection of the photo-generated charge carriers at the terminals of the junction

Finally, the charge carriers are extracted from the solar cells with electrical contacts so that they can perform work in an external circuit (Fig. 5 (4)). The chemical energy of the electronhole pairs is finally converted to electric energy. After the electrons have passed through the circuit, they will recombine with holes at a metal-absorber interface, as illustrated in Figure 5 (5).

Loss mechanisms

The two most important loss mechanisms in single bandgap solar cells are the inability to convert photons with energies below the bandgap to electricity and thermalization of photon energies exceeding the bandgap, as illustrated in Figure 4 (b). These two mechanisms alone amount to the loss of about half the incident solar energy in the conversion process. Thus, the maximal energy conversion efficiency of a single- junction solar cell is considerably below the thermodynamic limit. This single bandgap limit was first calculated by Shockley and Queisser in 1961 [3].

## 2.2. PV module operation

PV cell technologies are plentiful and are becoming more widely available each year, but monocrystalline and multicrystalline silicon modules are the most widely used (Figure 6).

Fig. 6. Best research cell efficiencies [4]

A photovoltaic (PV) cell is a semiconductor-based component that produces electrical power by absorbing light energy and converting it into electrical energy. The average power produced by a PV cell is relatively at 3 watts, so it requires a combination of several cells to produce significant power.

Multicrystalline modules are made of polycrystalline silicon, this is one that crystallized from many single crystals. The cells are usually light blue in color, have a square or rectangular shape, and the edges of the crystals are often visible. This type of cell has a high efficiency, but lower than the single-modules, and a high rate of loss of power at ambient temperatures, but lower than the mono-modules. Multicrystalline modules are also 8-15% cheaper than monocrystalline modules. (Figure 7a). The elements of the monocrystalline solar module are made of large silicon single crystals. It is usually black. This type of module has the highest efficiency and the highest rate of power reduction with increasing ambient temperature. For this reason, efforts should be made to keep modules with crystalline silicon cells cold, or to collect modules from other technologies (Figure 7b).

| a) | b) |
| --- | --- |

Fig. 7. Solar module

A photovoltaic module consists of a group of PV cells mounted on a single panel and connected together to produce combined power (Figure 8a). The typical PV module for a residential system is rectangular in shape and is between 25 and 50 mm thick. PV module power ratings range from less than 50 watts to around 200 watts. Nominal module voltages are 6, 12, 24, or 48 V.

A PV module includes a metal frame, a panel of PV cells, a glass or plastic protective sheet, and an electrical junction box. The metal frame provides support for the module’s components and also a means to mount the module to a flat surface or a mounting rack. The protective sheet of glass or plastic covers the PV cells and protects them against adverse weather, but allows sunlight to pass through to them (Figure 8b). The junction box is a weather-tight enclosure located on the back of the module. It is where the electrical connections from the cells converge, and where the output connection terminals are located (Figure 8c).

| a) | b) | c) |
| --- | --- | --- |

Fig. 8. PV module components [5]

PV cells are mounted on a panel in symmetric rows and columns. The number of PV cells on a panel varies, but modules with 36 or 72 cells are common. The cells are wired together, typically with each column of cells connected in series to increase the voltage and the columns of series-connected cells connected in parallel to increase the current (Figure 9a).

Both physical and electrical cell arrangement determines a PV module's maximum output. For example, a 36-cell module may have four columns of nine series-connected cells. If each cell outputs 0.6 volt and 2.0 amps, the combination would generate 5.4 volts (9x0.6=5.4) and 8 amps (4x2.0=8) set up in parallel, for a maximum output at 43.2 watts (5.4Vx8A=43.2 watts) (Figure 9b).

| a) | b) |
| --- | --- |

Fig. 9. Cell arrangement determines maximum output [5]

The junction box houses the connection terminals for the module. The series and parallel combination of the cells are connected to these terminals. Typically, there is a positive (+) connection terminal and a negative (-) connection terminal so that the output of the PV module can be connected to other devices. Also, commonly located in the junction box are bypass diodes. The bypass diodes are often wired in parallel with the series strings of PV cells and allow current to flow around or bypass a string of PV cells that may be shaded or damaged. An extra connection terminal allows the bypass diodes to be connected as needed (Figure 10)

Fig. 10. Module connections

PV modules are usually mounted and tilled to obtain maximum exposure to sunlight for as long as possible each day. The modules convert the available solar radiation into electrical power, which wires carry from each module to the rest of the system. When there is no light, the modules do not produce power. Combined PV module output voltage and current characteristics are similar to that of individual cells. Like PV cells, connecting PV modules in series increases the potential system voltage while connecting them in parallel increases the potential system current.

Fig. 11. Typical PV module efficiency [5]

Not all of the solar radiation is converted to electrical potential by a PV cell. Some radiation is reflected, some is converted to heat, and some passes completely through the cell. The efficiency of a typical commercial grade PV module is slightly less than the efficiencies of the individual cells within the module, often due to efficiency loss at the electrical connections. Typical PV module efficiency ranges between 15 and 20 %. Some modules have higher efficiencies, but the improvement often sacrifices durability and lifespan (Figure 11).

### PV Module Safety Rules

Take the following precautions when connecting and disconnecting PV modules to avoid a possible shock.

- Cover PV modules before connecting or disconnecting.

- Use the array disconnect switch to isolate the PV modules from the rest of the circuit.

- Check the PV module connection terminals with a meter to verify that np valtage is present.

- Never work on electrical components alone.

- Use the appropriate tools and measurement devices for the conditions.

PV systems expose workers to electrical shock hazards, burn hazards from the sun and battery chemicals, eye injury due to flying debris and sun exposure, and head or foot injury due to falling objects. These hazards require workers to use the proper personal protection equipment (PPE). The following precautions should be taken to avoid injuries (Figure 12).

- Wear gloves to protect against electrical shock, cuts, burns from hot surfaces and chemical burns.

- Wear UV-rated safety glasses to protect against flying debris and ultraviolet light.

- Wear sunscreen to protect against sunburns.

- Wear a hardhat in a construction environment to protect from falling object.

- Wear safety shoes to protect the feet from injury.

Fig. 12. Personal protection equipment

Some PV system use batteries that contain corrosive acids, which can cause serious chemical burns. The following precautions should be taken to avoid possible chemical burns.

- Wear a neoprene coated apron when handling battery acid to protect against liquid acid splashes.

- Wear a splash shield to protect the face and eye from acid burns.

Some PV installations are made in elevated locations. Take the following precautions to avoid injury due to improper ladder use.

- Ladders should be level and properly secured to prevent unwanted movement.

- Ladders should have at least 1 meter extending above the landing surface.

- Use a ladder with rails made from nonconductive material.

- Avoid using a wet ladder.

- Never walk underneath a ladder.

Fig. 13. Height safety

PV modules are often installed in locations such as roofs that present safety hazards due to dangerous heights. The following precautions should be taken to avoid injury due to a fall.

- Wear a climbing harness and makes sure it is properly secured.

- Make note and avoid any possible trip hazards in the work area.

- Do not attempt PV installation in windy conditions. Modules are subject to wind gusts and can push a ladder over.

- Do not perform electrical work in wet conditions water decreases the resistance between the body and ground.

The type of conductors used is often determined by the environment. PV modules are often located in high temperature locations, making it necessary to use conductors that have sufficient temperature ratings, 90C, for example. Special single-conductor cable labeled as PV wire has become a popular code-approved selection over the past few years.

Once the PV module is connected to the PV system, cover can be removed from the face of the module. The output of the module connections to the system by turning on the disconnect switch or circuit breaker. The PV module continues to supply power to the system as long as sunlight is available and the module is not shaded or disconnected from system.

Pick the right words and put them in the missing places in the sentence. adverse; conductors; diode; electrons; hazard. asymmetric; maximum; minimum; moderate; N-type. bypass; negative; output; P-type; parallel. cells; perpendicular; photovoltaic cell; positive; protons. clear; radiation; residential; safe; symmetric. commercial; voltage; watts; wire; components. - A(n) (component) is a semiconductor-based component that produces electrical power by absorbing light energy and converting it into electrical energy. - PV cells are mounted on a panel in (symmetric) rows and columns. - PV modules are usually mounted and tilted so they have (maximum) exposure to sunlight for as long as possible each day. - (Adverse) . weather conditions present safety hazards when working on PV systems. - The .(output) . of the module connects to the systems by turning on the disconnect switch or circuit breaker.

### PV characteristics

The current-voltage (I-V) characteristic is the electrical output profile of a PV module and is represented by of a plot of current versus voltage. This plot produces a curve, called an I-V curve, that identifies all possible current-voltage points for a specified solar radiation level and temperature as the load varies. Each point along the curve represents an operating point for a different load. The end points of an I-V curve represent the maximum current and maximum voltage the PV module can produce for specified conditions (Figure 14a).

| a) | b) |
| --- | --- |

Fig. 14. I-V curve

The specific point on the I-V curve at which the product of the voltage and current is at the maximum is called the maximum power point (P-sub-MP). This point is located at the knee of the I-V curve. The voltage at this point is labeled the maximum power voltage (V-sub-MP) and the current is labeled the maximum power current (I-sub-MP). The power values, P-sub-MP, V-sub-MP, and I-sub-MP, are used along with open-circuit voltage (V-sub-OC) and the short-circuit current (I-sub-OC) to rate module performance. These performance ratings are then used to select PV modules for an application (Figure 14b).

The I-V performance curve of a common PV module receiving an irradiance E (typical 1000 W/m2)  is depicted in the following figure (Figure 15).

Fig. 15. Solar module I-V characteristic curve [6]

Several characteristic points or values can be distinguished on this curve [6]:

Short-circuit current, Isc: The current that is obtained from the cell when the voltage at its terminals is 0 V (V=0).

Open circuit voltage, Voc: The voltage for which the current drawn from the cell is zero (I=0). If the device is kept in an open circuit, it will self-polarize with a certain voltage that is the largest it can withstand in the generation region, or voltage to open circuit Voc. It is the maximum voltage achieved by a solar cell in silicon cells.

Peak Power, PP: Because the power is supplied as a DC, the power delivered to the load will be P=IV. There will be an operating point (IM, VM) with a voltage value between 0 and Voc for which the delivered power is the maximum amount possible.

Fill Factor, FF: An indicator of the shape of the characteristic curve and is defined as the peak power (PP) divided by the open circuit voltage (Voc) and the short circuit current (Isc).

FF=IM VMIscVoc.	(2)

The sharper the characteristic curve of the cell is, the higher the FF will be

PP=FF∙IscVoc.	(3)

Energy conversion efficiency,: The ratio between the maximum power delivered (PP) and the input radiant power to the PV module, calculated as the product of panel area times the reference irradiance (AE).

el=IscVocA*E .	(4)

PV module efficiency is the ratio of electrical power output to the solar power input. Efficiency describes how effectively a PV module converts solar power into electrical power. A high efficiency results in more solar power being converted into electrical power. A low efficiency means less solar power is converted to electrical power.

The actual efficiency of a PV module can be determined using the PV Module Efficiency Formula.

el=PMPE*A ,

where el – efficiency (%), PMP – maximum power (W), A – area (m2), E – solar irradiance (W/m2).

The electrical power output of a module is included in the specifications for the module. The power supplied to a PV module is a product of the irradiance and the surface area. Therefore, the maximum output power, the surface area of the PV module, and the solar irradiance must be known to calculate efficiency.

el=PMPE*A=1351100*1.5*0.668=12.2% ,

In the example shown, a 1.5 m x 0.668 m PV module with a maximum power output of 135 W has an efficiency of 12.2% when calculated with a solar irradiance of 1100 W/m2.

A high efficiency is an advantage because it allows a PV module to produce more power using less surface area than modules made of cells with a lower efficiency.

The advantages of using less surface area include:

- Lower cost for raw materials

- Reduced area required to mount the module

- Reduced cost for mounting structures

- Higher output per unit area

PV module efficiency is commonly included in the manufacturer's specification data. This value is used by designers to calculate the power output for any given solar irradiance. It can be found using the PV Module Output Power Formula.

POUT=*E*A=0.145*1200*1.28=222.72W,

where POUT – output power at given solar irradiance (W)

For example, the output power of a PV module with a surface area of 1.28 m2 (1580 mm x 808mm) and an efficiency of 14.5% would be calculated for a solar irradiance of 1200 W/m2 to be 222.72 W, as shown.

Examine the specifications for PV module. What is the efficiency of PV module?

PV module manufacturers often superimpose a power curve over the I-V curve to show how power varies with load. The power curve starts and ends at zero watts. The voltage at I-sub-SC is zero volts, so no power is produced at that operating point. Likewise, the current at V-sub-OC is zero amps, so no power is produced at that operating point. The power curve increases to a single maximum between V-sub-OC and I-sub-SC. The highest point of the curve corresponds to the maximum power point (P-sub-MP). This is operating point at which the PV module is most efficient. Therefore, PV systems are often designed to keep PV modules operating at the maximum power point as much as possible (Figure 16).

Fig. 16. Most efficient power point

A PV module produces the maximum output voltage, the open-circuit voltage (V-sub-OC), when operating in sunlight without a load connected to the terminals. To measure the open-circuit voltage of a module, first disconnect it from the load and expose it to the solar radiation level specified for the I-V curve. Then, measure the open-circuit voltage across the open-circuit voltage across the terminals of the module with a multimeter. Using the open-circuit voltage measurement and the manufacturer’s I-V curve for the specified solar irradiance, it is possible to reliably determine if the PV module is operating at the specified V-sub-OC. An open-circuit voltage measurement below the V-sub-OC rating for the actual solar energy level indicates a malfunction or damage to the module (Figure 17).

Fig. 17. Open-circuit voltage

A PV module produces maximum current or short-circuit current (I-sub-SC) when operating in sunlight with the terminals short-circuited (zero resistance). PV modules differ from other electrical power sources in that they can be short-circuited without causing damage. Since short-circuiting a PV module does not cause damage, it is possible to measure I-sub-SC and compare the reading to an I-V curve to determine if a module is operating within specifications. A short-circuit current measurement that is significantly below the specification level may indicate the module has been damaged (Figure 17). The short-circuit current of a PV module can be measured using either a multimeter or a clamp-on ammeter. With both methods, the load and module are disconnected. The module is exposed to a steady level of solar radiation, the positive and negative terminals are shorted, and the measurement is made (Figure 18).

Fig. 18. Multimeters

To use a multimeter, it is placed in the current measuring mode and is connected in series with the PV module terminals. The multimeter reads the current flow through the test probes. This type of measurement is very accurate, but most probe-type meters are limited in the maximum current they can safely measure. Exceeding that limit results in a blown fuse in the multimeter. To use the clamp-on ammeter to measure short-circuit current, the meter’s clamp is placed around the wire that is used to short the PV module’s terminals. This type of measurement is less accurate than using the multimeter because the clamp-on ammeter is less sensitive to small currents. However, it is much safer in high-current conditions.

Measuring the output of a PV module for a specific load and a given level of solar radiation requires measuring the current passing through the load and the voltage applied to the load. This is done to determine if the module is operating within specifications. Using the measuring voltage and current, the operating point is located on the I-V curve that matches the level of solar radiation. Since most manufacturers provide several I-V curves for a module, it is important to choose the correct curve (Figure 19).

Fig. 19. I-V curve for different solar radiation level

For example, if the solar radiation level for measurements is 800 W/m2, the I-V curve for that level is selected and the operating point matching the measured values is located. An operating point that does not fall on the I-V curve indicates that there may be a problem with the module, or the wrong curve was selected.

Pick the right words and put them in the missing places in the sentence. above; conductors; I-V; probe-type; terminal. amps; current; load; protons; below. bypass; diode; multimeter; residential; V-sub-MP. cells; electrical; open-circuit; short-circuit; voltage. clamp-on meter; hazard; P-sub-MP; solar; watts. components; I-sub-MP; power; specifications; wire. - Plotting current versus voltage will give you a(n) …(I-V)… curve. - The highest point of a power curve corresponds to the ….(P-sub-MP)….. - The …(power)…. curve increases to a single maximum between V-sub-OC and I-sub-SC. - A PV module produces the maximum output voltage when no …(load)... is attached to the terminals. - Exceeding the maximum current limit can result in a blown fuse in the ….(multimeter). - A(n) ...(open-circuit).. . voltage measurement bellow the V-sub-OC rating for the actual solar energy level indicates a malfunction or damage to the module. - It is much safer to use a(n) …(clamp-on meter) in high current conditions. - A short-circuit measurement that is significantly …(below)… the specification level may indicate damage to the module.

### Photovoltaic arrays

PV modules are connected as an array to increase the PV system's output voltage and current. The I-V curve of a group of PV modules connected into an array a similar to the graph of a single module, with each connected module extending the PV system's output voltage or current. PV modules are connected in an array using one of two connection types: series connection and parallel connection.

PV modules are connected in series to increase the output voltage. Series-connected modules are called strings. PV modules are connected in series by connecting the positive lead from one module to the negative lead of the next. The unconnected outputs from the modules on the end of the string are the positive and negative string outputs. The output voltage of a string of similar modules is equal to the sum of the voltages available from each module, just like batteries connected in series (Figure 20).

Fig. 20. Series and parallel connection

The I-V curve of a string of PV modules appears similar to that of a single module (Figure 21a). Each module in the string increases the voltage, Voc produced by the string. However, the string's output current, Isc, is the same as that for a single module. The amount of current flowing in series-connected modules is limited to the amount of current that can flow through a single module. A disadvantage of connecting modules in series is that a reduced output power condition in one module reduces the output power of the whole series string. For example, if one module in a string is shaded, the module’s output voltage is reduced and the total current passing through the series string is limited to the amount that can flow through the shaded module.

| a) | b) |
| --- | --- |

Fig. 21. Series and parallel I-V curves

PV modules are connected in parallel to increase the output current. The available output current, Isc, is equal to the sum of the individual module currents, just like batteries connected in parallel. Because the currents in parallel - connected modules are additive, the I-V curve of a group of PV modules connected in 	parallel extends the current, Isc, produced by the array. However, the output voltage, Voc, is the same as that for a single module (Figure 21b). A characteristic of parallel wiring is that losses in a single module do not affect the other modules. When portal shading occurs on one of the parallel modules, the other modules continue to produce power at their full capacity. However, the total current provided by the parallel modules is reduced. Most arrays, contain a combination of series and parallel-connected modules to produce the voltage and current levers necessary for a PV system. An array’s I-V curve resembles that of the individual modules used in the array, except the array’s curve is extended horizontally and vertically. Each series connection extends the voltage on the horizontal axis of the I-V curve, while each parallel connection extends the current on the vertical axis.

The maximum power voltage and maximum power current of the PV modules used in the array are listed in the manufacturer's specification for the modules. These values should be recorded to use in the voltage, current, and power calculations. Some specification sheets may list maximum power voltage as peak power voltage and maximum power current as peak power current.

Table 1

VMP - maximum / peak power voltage

IMP - maximum / peak power current

Modules are connected in series to increase the voltage available from the system. The maximum power voltage of several modules connected in series is calculated using the formula shown.

VMPString=NS* VMP,

where VMP - maximum power voltage of a module (V), NS - number of modules in the string, VMPString - maximum power voltage of a string (V).

For example, if five PV modules with a maximum power voltage of 18 V are connected in series, the maximum power voltage of the string is: VMPString=NS* VMP=5*18=90V

The maximum power current for the series string is equal to the maximum power current of a single module in the string.

IMPString = IMP,

where IMP - maximum power current of a module (A), IMPstring - maximum power current of a string (A). For example, if five PV modules with a maximum power current of 3 A are connected in series, the maximum power current of the string is: IMPString = IMP=3A.

Therefore, for a string of three modules (table 1, red mark) in series in an array:

VMPString=NS* VMP=3*17.4=52.2V

IMPString = IMP=3.1A

Strings of modules are connected in parallel to increase the current available from the system. The maximum power current of several series strings connected in parallel is calculated using the formula shown.

IMPArray=NP* IMPSting= NP* IMP,

where IMP - maximum power current of a module (A), NP - number of strings connected in parallel, IMPString - maximum power current of a string (A), IMPArray - maximum power current of a array (A).

For example, an array consists of four sets of PV module strings connected in parallel, the maximum power voltage of a string is 90 V, and the maximum power current is 3 A.

The maximum power voltage for the array is equal to the maximum power voltage of a single string.

VMPArray= VMPString,

where VMPString - maximum power voltage of a string (V), VMPArray - maximum power voltage of the array (V)

Therefore, continuing the example with modules (table 1, red mark) connected in series in strings of three, an array of five strings connected in parallel has the following maximum power voltage and maximum power current:

VMPString=NS* VMP=3*17.4=52.2V,

IMPString = IMP=3.1A,

VMPArray= VMPString=52.2V,

IMPArray=NP* IMPSting=5*3.1=15.5A.

The maximum power output of the array is calculated using the values for the maximum power voltage and maximum power current of the array that have previously been calculated. The maximum array power is calculated using the following formula:

PMPArray= VMPArray* IMPArray,

where: PMPArray, VMPArray, IMPArray – maximum power (W), voltage (V) and current (A) of the array accordingly.

Calculate the maximum power voltage, current ant power of PV arrays. VMP=17.9V IMP=3.5A

Modules in series are connected by attaching a lead from the positive output terminal of one module’s junction box to the negative terminal in another. A series string therefore has two outputs; a positive lead attached to the module on one end of the string and a negative lead attached to the module on the other. This type of connection is called daisy-chaining (Figure 22a).

| a) | b) |
| --- | --- |

Fig.22. Modules wired in series and parallel

The negative lead from each series string connects to a single negative bus in the combiner box. The output of each bus is a larger diameter wire that supplies current to the remainder of the PV system. This also allows any string to be disconnected from the array without affecting the other strings (Figure22b).

Strings of PV modules are connected in parallel using a junction box called a combiner box. The positive lead from each series string connects to an individual circuit protection device, either a fuse or circuit breaker, in the combiner box. The fuse or circuit breaker outputs are then combined in a single positive bus (Figure 23).

Fig. 23. Combiner box

Combiner boxes are small rectangular junction boxes made of sheet metal or fiberglass. They are usually located near the array, either on the roof or just below where the wiring exits from the array, to reduce wiring and provide easy access to the array's connections (Figure 24a).

| a) | b) |
| --- | --- |

Fig. 24. Combiner box construction

A combiner box may also include a lightning arrestor to protect the system and a disconnect switch to disconnect the entire array from the rest of the system. If a disconnect switch is not provided in the combiner box, one is usually mounted close to the combiner box. Another option is a dead front panel that doesn't expose any electrical connections when it is opened (Figure 24b). Multiple combiner boxes may be necessary if an array contains more series strings than can be connected by one combiner box. Intermediate combiner boxes also be used to combine the outputs from the arrays’ strings, depending on the layout of the PV system.

Combiner boxes are available from several manufacturers, specified by the number of poles in the box. Each pole can connect one series string of PV modules. A smaller combiner box may only combine two to four strings. Larger combiner boxes can combine 16 or more series strings of PV modules. Most combiner boxes are rated for a maximum operating voltage of at least 600V.

The same current flows through each PV module in a series string during normal operation. A partially shaded module or one with damaged cells cannot supply the same current as the others in the string. The shaded module tries to pass more current than its short circuit current, which has been lowered due to the shading. This causes the module to act as a load, absorbing rather than generating power (Figure 25).

Fig. 25. Shaded modules

A bypass diode is a diode placed in parallel with a PV module in a series string to minimize the effect that partial module shading or cell damage has on the rest of the PV array. It allows current to flow around a shaded or damaged module. The disadvantage is that the string operates at a lower voltage when one or more modules are bypassed (Figure 26). A bypass diode switches between two conditions: reverse-biased and forward-biased. A diode is reverse-biased when there is a negative voltage at the anode relative to the cathode. Like an open switch, no current flows through a reverse-biased diode. Bypass diodes are reverse-biased when all modules are operating properly because of the polarity because of the voltage generated by the module. Therefore, the bypass diode has no effect on the output of the array (Figure 26).

Fig. 26. Bypass diode

A diode is forward-biased when there is a positive voltage at the diode’s anode relative to cathode. A forward-biased diode is similar to a closed switch. Shaded module acts like a resistor, dropping voltage instead of generating voltage. This causes the voltage across the module to swap polarities and causes the bypass diode to become forward-biased (Figure 27).

Fig. 27. Bypass diode biasing

When is diode is forward-biased, current from the other modules flows through the bypass diode instead of through the higher resistance PV module. The voltage drop across the shaded module is limited to the forward-bias voltage of the diode, which is approximately 0.7 V, depending on the type of diode. This reduces the output voltage of the string.

Pick the right words and put them in the missing places in the sentence. amp; cathode; I-V curve; polarity; series. anode; circuit breaker; leads; poles; shading. array; closed; lightning arrestor; resistor; single-acting. battery; combiner box; module; rods; strings. bypass diode; current; opened; ropes; voltage. capacity; fuse; parallel; selector; volts. - Placing a(n) …(bypass diode).. in parallel with a PV module in a series string allows current to flow around a shaded or damaged module. - PV modules are connected in ...(parallel).. to increase the output current. - Strings of PV modules are connected in parallel using a junction box called a(n) ..(combiner box) . - The positive lead from each series string connects to either a circuit breaker or ..(fuse) . - A forward-biased diode is similar to a(n) ..(closed).. switch. - Commercial combiner boxes are specified by the number of ..(poles).. that may be combined in the box.

High ambient temperatures around a PV module cause a 10-20% reduction in output voltage. Reduced voltage results in an overall decrease in output power and efficiency. A graph (Figure 28a) of current versus voltage shows that a PV module operates more efficiently at lower temperatures. Therefore, PV modules and arrays should be installed in environments that keep them as cool as possible. PV installation sites that provide a good solar resource, such as in a desert, are often subjected to high ambient temperatures, from 50°C to 75°C. When installing PV modules in locations with high ambient temperatures, the modules must be installed in a manner that provides good air flow around the module to reduce the effects of the high temperatures.

The reduction of the PV module performance with increasing temperature, is given by (5) formula which represents the traditional linear expression for the PV electrical efficiency.

el=0,el(1-(Tc-Tref)),	(5)

where Tc is PV cell temperature, Tref is reference temperature and β is the coefficient of temperature. The value of β is 0.0045 °C-1. η0,el and β are normally given by the PV manufacturer.

| a) | b) |
| --- | --- |

Fig. 28. Relationship between ambient temperature, solar irradiance, output current and power

Wind can also affect the electrical output of a PV module. Wind speed, along with ambient temperature, affect the PV cell temperature, which is the internal temperature at the p-n junction of the cell. Higher wind speeds reduce the cell temperature, increasing the PV module's efficiency. PV modules should be mounted so that air can circulate freely around them, keeping the modules cool and increasing efficiency.

Solar irradiance, solar radiation per unit area, is the single most important environmental factor that affects the output of a PV module. The magnitude of solar irradiance at the surface of the Earth changes at different times throughout the day. During the night, solar irradiance is zero. As the sun rises, solar irradiance increases, reaching a peak around noon. Solar irradiance begins to decrease in the afternoon and continues to decrease until sunset. Therefore, the output of a PV module is the greatest during the middle of the day when the solar irradiance is near its peak. While changes in solar irradiance have little effect on the output voltage of a PV module, output current is significantly affected. In fact, the output current, and therefore output power, increase proportionally to an increase in solar irradiation. Therefore, a PV module produces the most power when solar irradiance is at its highest level.

The relationship between solar irradiance, output current, and output power is used in the following formulas to determine short circuit current, maximum power current, and maximum power for a PV module.

The short-circuit current for a PV module at a given solar irradiance is calculated using the Short-Circuit Current Formula.

ISC2=E2E1*ISC1=5001000*5=2.5A

where E1 – solar irradiance 1 (W/m2), ISC1 – short circuit current at solar irradiance 1 (A), E2 – solar irradiance 2 (W/m2), ISC2 – short circuit current at solar irradiance 2 (A)

For example, a PV module has a rated short-circuit current of 5 amps at a solar irradiance of 1000W/m2. The short circuit current at a solar irradiance of 500 W/m2 is calculated to be 2.5 amps, as shown.

The maximum power current for a PV module at a given solar irradiance is calculated using the Maximum Power Current Formula.

IMP2=E2E1*IMP1=8001200*8=5.3A

where E1 – solar irradiance 1 (W/m2), IMP1 – maximum power current at solar irradiance 1 (A), E2 – solar irradiance 2 (W/m2), IMP2 – maximum power current at solar irradiance 2 (A)

For example, a PV module has a rated maximum power current of 8 amps at a solar irradiance of 1200 W/m2. The maximum power current at a solar irradiance of 800 W/m2 is calculated to be 5.3 A, as shown.

The maximum power for a PV module at a given solar irradiance is calculated using the Maximum Power Formula.

PMP2=E2E1*PMP1=6501000*150=97.5W

where E1 – solar irradiance 1 (W/m2), PMP1 – maximum power at solar irradiance 1 (W), E2 – solar irradiance 2 (W/m2), PMP2 – maximum power at solar irradiance 2 (W)

For example, a PV module has a rated maximum power of 150 watts at a solar irradiance of 1000W/m2. The maximum power at a solar irradiance of 650 W/m2 is calculated to be 97.5W, as shown.

Calculate short-circuit current for a PV module at a solar irradiance of 700 W/m2, the maximum power current for a PV module at a solar irradiance of 550 W/m2, the maximum power for a PV module at a solar irradiance of 800 W/m2 based on the manufacturer's data.

## Solar PV system

### Charge controlled PV system

A charge-controlled PV system is typically a standalone system that operates DC loads (Figure 29). It is the most common type of DC PV system and is often used in remote locations where utility generated power is either unavailable or too costly due to the price of extending power lines. These systems power DC appliances such as TVs, stereos and fluorescent lights in homes or in recreational vehicles or boats. Charge-controlled PV systems are also used extensively in applications that do not require a lot of power, such as solar traffic lights and information displays, and in more remote locations for solar lighting and pump systems.

Fig. 29. Charge – controlled PV system

A charge controlled solar PV system may include several components:

- PV array - the PV array supplies power to the DC loads and any batteries connected to the system.

- Combiner box - the combiner box combines the power from the array’s series strings and passes it to the charge controller.

- Charge controller - a charge controller controls the amount of charge supplied to the batteries to protect them from overcharging or completely discharged.

- DC load center - the DC load center contains fuses or breakers to control the distribution of power to the loads.

- DC loads - the DC loads of the charge-controlled system may include DC appliances solar lighting, pumps, or other DC loads.

- Batteries - the batteries store the power produced by the PV array and supply the power to DC loads when the PV array is not producing power, for example at nighttime.

A complete charge-controlled PV system requires a number of additional components to deliver the power from the PV array to the loads.

- Electrical equipment - the electrical equipment includes the electrical wiring, conduit, fuses, breakers, disconnect switches, junction boxes, meters and other components needed to operate the system.

- Mounting hardware - the mounting hardware is the racks and hardwire required to mount the PV panels and other components of the system.

| a) | b) |
| --- | --- |

Fig. 30. Charge controller

The status of a PV system may be displayed on the charge controller's LCD screen during operation. For example, the Morningstar SunSaver MPPT status can be displayed on the remote meter when the charge controller is operating. The Status screen displays the following information (Figure 30a):

- The input voltage and current from the PV array (IN).

- The output voltage and current used to charge the batteries (OUT).

- The amount of current used by the load.

- The accumulated kilowatt hours of energy produced by the system.

The Morningstar SunSaver MPPT charge controller operates (Figure 30b) in one of several modes. The mode of operation changes during the day based on the PV array output and battery system state of charge. The SunSaver MPPT charge controller’s mode is conveyed by a series of LED indicators (Figure 31).

- Night Mode - the charge controller enters the night mode when the PV array voltage is less than the battery voltage or the available charge current is below the minimum required to charge the battery bank. The controller disconnects the battery from the system and waits for the PV array to begin providing more voltage and current. In this mode, the charge controller flickers an LED status light briefly every five seconds.

- MPPT Bulk Mode - The charge controller enters the MPPT Bulk mode after the maximum power point has been determined and the PV array load has been adjusted to operate at that point. The charge controller charges the batteries in a bulk charging mode until the battery voltage reaches the absorb or float voltage setpoints. In bulk-charge mode, the SunSaver charge controller displays a steady green status light that flickers off briefly every five seconds.

| Night Mode | MPPT Bulk Mode | Absorb Mode |
| --- | --- | --- |
| Float Mode | Battery Full Mode | Equalize Charge |

Fig. 31. Charge controller modes

- Absorb Mode - the charge controller enters the Absorb mode after the battery voltage has reached the absorb voltage setpoint. The charge controller keeps the battery voltage at the absorb voltage setpoint. The setpoint is modified by battery temperature compensation if the charge controller supports that function. In the absorb mode, the SunSaver charge controller flashes a green status light once per second.

- Float Mode - the charge controller enters Float mode after the battery voltage level reaches the float setpoint. This occurs after an absorption charge stage or after the voltage level of a full battery falls back below the float setpoint. The charge controller attempts to keep the batteries at the float voltage setpoint during this Stage. If it cannot, the system returns to bulk charge mode. In the float mode, the SunSaver charge controller flashes a status light slowly, once every two seconds.

- Battery Full Mode - the SunSaver charge controller displays a solid green status light when the battery is nearly full. It then waits for the battery voltage to fall below the float voltage setpoint before continuing with the float stage.

- Equalize Charge - an equalize charge purposely overcharges a battery. This process helps maintain the battery's efficiency. The charge controller will enter the equalize charge mode periodically or when it identifies that the battery was discharged too low the previous night. Equalization is only used for flooded batteries. When in the equalization mode, the SunSaver charge controller flickers a green status light quickly, about two flashes per second.

Pick the right words and put them in the missing places in the sentence. MPPT bulk mode; charge acceptance; DC; MPPT; power. DC-DC converter; charge controller; DC load center; absorb mode; Pv array. active charging stage; charge-controlled; AC; multistage; adjusts. regulation setpoints; charging; do; night mode; standalone. charging functions; battery bank; float charging; overcharge; temperature. battery manufacturer’s; configured; higher; overcharging; wakeup mode. - A charge-controlled PV system is typically a(n) ..( standalone).. system that operates DC loads. - A charge controlled PV system is the most common type of ..(DC).. PV system. - Charge-controlled PV systems are also used extensively in applications that do not require a lot of ..(power).., such as solar traffic lights and information displays, and in more remote locations for solar lighting and pump systems. - The charge controller enters the ..(night mode).. when the PV array voltage is less than the battery voltage or the available charge current is below the minimum required to charge the battery bank. - The charge controller enters the ..(MPPT bulk mode).. after the maximum power point has been determined and the PV array load has been adjusted to operate at that point.

### An inverter

An inverter is an electronic device that converts DC power into AC power for standard AC loads. Inverters are used with green power technologies such as solar PV systems and wind turbines. An inverter can produce one of several output waveforms, depending upon its design. The output waveform type is important because it affects overall inverter efficiency and it may prevent the inverter from being connected to the electrical grid.

Three common voltage output waveforms produced by inverters used in PV systems include (Figure32):

- Square Wave Output.

- Modified Square Wave Output.

- Pulse-Width Modulated (PWM) Output

Fig. 32. Waveforms types produced by inverters

The square wave output is the simplest and lowest cost output for a PV inverter. The square wave voltage output has a fixed amplitude and duration for each half-cycle. The current waveform produced by the square wave output does not approximate a sine wave. Therefore, inverters with this type of output cannot be connected to the electrical grid (Figure 33a).

| a) | b) |
| --- | --- |

Fig.33. Square wave output

This approach was used initially for PV inverters but was quickly abandoned with the development of outputs that more closely resemble the sine wave. Square wave outputs are the least efficient of the three and can damage loads due to overheating. Square wave producing inverters can be used in a stand-alone system to power resistive loads, but should not be used in systems with inductive loads such as motors (Figure 33b).

The modified square wave output, also called a modified sine wave or quasi sine wave output, costs more to create than the square wave. However, it produces a current waveform that more closely resembles a pure sine wave, which results in less adverse effects on the loads.

The modified square wave voltage output is created by adjusting the amplitude and duration of the pulses for each cycle. If the duration is increased, the amplitude is reduced to maintain the desired current waveform (Figure 34a). If the duration is decreased, the amplitude is increased to maintain the desired current waveform.

| a) | b) |
| --- | --- |

Fig. 34. Modified square wave output

PV inverters that provide a modified square wave output are more efficient than ones that provide a square wave output. They are a popular choice for Stand-alone PV systems and can be connected to the electrical grid using the proper power conditioning equipment. Some modified square wave inverters combine multiple square wave stages in parallel to create a multi-stepped modified square wave. This multi-stepped waveform produces a current waveform that is even closer to a true sine wave than a single-stage modified square wave inverter can produce (Figure 34b). The multi-stepped approach results in better efficiency but increases the initial cost of the inverter. Inverters with this type of output are used for both standalone and grid-tie applications.

The pulse-width modulated, or PWM, voltage output is the most complex and costly of the waveforms to produce because of the required technology. However, the pulsed voltage output results in a current waveform that is closest to a pure sine wave. For this reason, PV inverters with PWM output are referred to as sine wave inverters (Figure 35). The PWM output is created by producing several pulses during a cycle. During each half cycle, the pulses follow a pattern of narrow to wide to narrow. This pattern creates a sine-wave current waveform. Inverters that create a PWM output can also adjust the frequency of the output, which means they can be used with 50 Hz or 60 Hz electrical grids.

Fig. 35. Pulse-width modulated (PWM) output

PV inverters that provide a PWM output have the highest efficiency. PWM is the overwhelming choice for grid-connected PV inverters because they can be connected directly to the utility grid without extra power conditioning.

Often, PV inverters are categorized according to the system in which they are installed. Some PV systems do not connect to the electrical grid while others do. Therefore, there are inverters designed for both systems.

Fig.36. PV inverter types

Three basic types of PV inverters are (Figure 36):

- Stand-Alone Inverters

Inverters used in stand-alone PV systems are referred to as stand-alone inverters. Stand-alone inverters are not designed to connect to the electrical grid. Instead, they are designed to provide AC power to loads at a specific location.

- Interactive Inverters

Inverters designed to connect to the electrical grid are called interactive inverters. An interactive PV inverter, also called a grid-connected or grid-tied inverter, converts DC power directly from the PV modules into AC that can be used by AC loads at the site or supplied to the utility grid. Interactive inverters provide a PWM Output, which produces a pure sine wave current waveform that matches the grid. This feature eliminates the need for extra power conditioning equipment.

- Bimodal Inverters

Bimodal inverters are interactive inverters that can operate in two different modes. In the stand-alone mode, the inverter operates like a standalone inverter and is not connected to the electrical grid. The inverter receives DC power from the battery bank and supplies AC power to loads connected to the inverter. In the interactive mode, the inverter connects to the electrical grid. The inverter supplies AC power to loads connected to it and supplies power to the grid when conditions warrant. Bimodal inverters supply a PWM output just like standard interactive inverters, which allows them to connect to the grid.

A stand-alone inverter converts the DC power from batteries, which use PV modules to keep them charged, to the required AC power for the loads. The inverter uses solid-state devices such as silicon-controlled rectifiers (SCRs) or transistors to create the AC output.

A stand-alone PV system operates independently of the electrical grid. A Stand-alone system uses a battery bank to provide DC power directly to a standalone inverter. The PV modules do not supply power to the inverter. The sole purpose of the PV modules in a standalone system is to charge the battery as long as there is sufficient light.

Fig. 37. Stand-alone system

If there is insufficient light for the PV modules to charge the batteries, the stand-alone inverter shuts down after the batteries have discharged to the minimum allowable level unless there is a secondary source, such as a generator or wind turbine, to charge the batteries. The output of the Stand-alone inverter is connected to AC loads through distribution panel. There are no connections to the electrical grid. Stand-alone systems are popular in remote locations where access to the electrical grid is limited or non-existent (Figure 37).

### Batteries

PV systems produce energy and store surplus energy in batteries for use when there is insufficient sunlight. Without a battery, a PV system could only provide electrical power when there is sunlight. Batteries release electrical energy when there is an electrical path, or circuit, linking its outputs. Terminals provide the physical outputs of a battery. Most batteries connect to the circuit by insulated conductors fastened to screw or bolt terminals.

A battery stores electrical energy in the form of chemical bonds. The battery releases energy during a chemical reaction between electrolytes and metal electrodes inside compartments called cells. Each cell contains electrolyte and is divided into two sections by a membrane. One section contains a positive electrode while the other section contains a negative electrode. The chemical reaction between the electrodes and the electrolyte produces a voltage between the electrodes (Figure38a).

| a) | b) |
| --- | --- |

Fig. 38. Battery basics

Most batteries consist of a combination of cells connected in series, so the potential of the cells add together. For example, a 6-volt battery may have three 2-volt cells connected in series, while a 12-volt battery would have six 2- volt cells. Typical nominal voltage ratings for a solar battery are six, eight, or twelve volts (Figure 38b).

Terminals on the battery are marked positive or negative to indicate the polarity. Polarity determines the direction of current flow. The negative terminal is connected to an electrode that reacts with the electrolyte to produce a surplus of electrons. The positive terminal is connected to an electrode that reacts with electrolyte to produce a shortage of electrons. If an electrical path exists between the terminals, currents flows between them (Figure 38a).

When connected to a load, batteries release energy through a process of converting chemical energy into electrical energy reducing the amount of charge stored in the battery. This process is called battery discharging. There are several factors to consider concerning battery discharging:

- Solar Battery Cycles

In a typical PV system, solar batteries charge by absorbing surplus solar energy during the day and discharge by releasing energy at night. This process is called a cycle. The cycle allows for a supply of energy when there is insufficient sunlight. Solar batteries are drained and recharged daily. Deep cycle batteries are designed to operate in this punishing manner. Lead-acid batteries are a popular choice for solar batteries.

- Voltage Drop During Discharge Excessive Discharge

Table 2

| Nominal voltage | Percent of charge remaining in battery | Note |
| --- | --- | --- |
| 13.0-12.6 V | 100% | Fully charged |
| 12.3-12.1 V | 75% | Auto battery limit |
| 11.6-11.3 V | 50% |  |
| 10.9-10.6 V | 25% | Deep cycle battery limit |
| Below 10.6 V | Near 0% | Potentially damaged |

A fully charged six-cell solar battery produces between 12.6 and 13 volts. However, as the battery discharges, the output voltage slowly declines. The decline in voltage changes in a predictable way as the charge is released, so the amount of charge in a battery can be determined by measuring the voltage. The level of charge and output voltage of unloaded six-cell solar batteries are related, as shown in the table 2.

- Excessive discharge

All batteries have a discharge limit, and exceeding the limit is destructive. Electrodes are material on a grid, farmed to make a plate. The electrodes dissolve in the discharge process. If the electrodes are stripped too deeply, recharging results in deformed electrodes. Additional losses result from material that is not recoverable.

- Safe Discharge Limit

Battery voltage changes with the remaining charge in a battery. From a full charge down to 25% charge, the voltage decreases steadily from 13 to 10.6 volts. However, below 25%, the battery voltage tends to fall rapidly, making the remaining charge difficult to determine. Operation below 20% charge is usually destructive, even for deep discharge batteries. A voltage less than 10 volts indicates a battery is damaged from being overly discharged.

A battery without a path between terminals maintains a constant voltage called open-circuit voltage. It is a product of the electrodes reacting to the electrolyte. The negative electrode loses positively charged ions, resulting in an accumulated negative charge. The positive electrode absorbs positively charged ions to gain charge. The electrodes react until the voltage opposing the chemical reaction reaches equilibrium. This balance of charge and force is called steady-state.

When battery terminals are connected by an electrical path, the battery releases energy. When a load is connected to a battery, the chemical reaction between the electrodes and the electrolyte continues until all the reactive material is consumed or until the circuit is opened. If the electrical connection is broken, the reaction stops and the battery returns to steady-state condition.

Some batteries, such as solar batteries, can be charged, or recharged, by forcing the chemicals that reacted during discharge into their original condition by applying power to the battery in the opposite polarity.

| a) | b) |
| --- | --- |

Fig. 39. Lead acid solar battery

Most solar batteries are the lead-acid type with three to six cells. Each cell contains two types of metal, lead and lead dioxide, separated by the barrier. The metal is formed into slabs called plates. Both plates are submerged in slightly diluted sulfuric acid, which serves as the electrolyte (Figure 39a).

The lead becomes negatively charged when it reacts with the sulfuric acid and electrons are released. The lead dioxide becomes positively charged when it reacts with the sulfuric acid, and electrons are absorbed. This creates an electrical potential (voltage) across the plates (Figure 39b).

Solar batteries are available with a variety of materials. However, most solar batteries are the wet-cell type, meaning one of the key elements in the battery is a liquid acid. Each wet cell has two compartments, called half-cells, which are divided by a porous membrane. In this type of battery, each half-cell has one or more plates immersed in the acid. The plates are usually made of some type of reactive metal, which is formed onto a frame called the grid. The reactive metal dissolves, but the grid does not. The acid is an electrolyte solution, which allows the transfer of charged particles called ions through the membrane divider.

Terminals on the opposing sides of the half cells provide the entry and exit points for electrons to flow through a circuit. Batteries with multiple cells have terminals located at opposing ends of the series. These are the positive (+) and negative (-) connection terminals. Inside a multiple cell battery, cells connect to each other by intercellular connectors. Each negative electrode is connected by a conductor through the cell wall to the positive electrode of the adjacent cell. Terminals attach to the positive and negative electrodes of the end cells.

Adequate precautions should be taken when handling or servicing batteries because they present several serious dangers. A battery can deliver a lethal level of current. The following precautions should be taken to avoid shock when working with solar batteries:

- Never work on electrical components alone. Someone should be present to remove power and provide assistance in the event of an accident.

- Use the appropriate tools and measurement devices for the conditions.

- Never work on an energized electrical system. Verify that power has been shut off completely before beginning work.

- Open the circuit before connecting a battery. This is usually done with a disconnect switch of circuit breaker.

- Never make contact with both terminals of a battery at the same time to avoid serious injury or death.

Solar batteries expose workers to burn hazards due to acids. The following precautions should be taken to avoid this type of injury:

- Wear gloves that protect against chemical burns and electrical shock. Battery acid can cause severe burns.

- Always keep batteries upright to avoid leaks and spills of acid.

- Wear a fact shield and acid resistant apron when adding electrolyte to a battery.

- Do not overfill battery cells with electrolyte. Overfilling can result in excessive gassing which increases the possibility of explosion.

Contact between battery acid and some kinds of plastics, polyester fiberglass, and exotic paints can result in toxic fumes. The following precautions should be taken to avoid injury due to toxic fumes:

- Locate solar batteries in a well-ventilated location when possible.

- Wear a respirator where batteries are installed in poorly ventilated locations.

- Replace leaking batteries.

One indicator often used to determine the remaining charge in a battery is the open-circuit voltage (Figure 40). This is battery voltage measured at the battery's terminals with no circuit connected. The voltage of a battery changes when active, and varies with rate of discharge. The open-circuit voltage of a battery represents the charge of a battery in the inactive or steady-state condition. A fully charged 12-volt battery has a nominal potential of 12.6 to 13.0 volts, while a battery nearing maximum discharge has a nominal potential between 10.8 and 11 volts. The battery must be disconnected from a circuit before measuring the open-circuit voltage because the voltage at the terminals of a battery changes during discharge. Voltage measurements made while discharging a battery cannot be used to accurately estimate the level of battery charge. The circuit should be opened somewhere other than the battery terminals to avoid arcing near the battery vents.

Fig. 40. Open-circuit voltage measurement

Prior to making the measuring, identify the positive and negative battery terminals. The positive terminal may be red, or may marked with a plus sign (+). The negative terminal may be black, or may be marked with a negative sign (-). Match the red test probe to the positive terminal. Take the measurement using a voltmeter with the test probes contacting the terminals. Use the measurement to estimate battery charge.

A battery's open-circuit voltage measurement should be between 10 and 13 volts, unless the battery has malfunctioned. The battery's remaining charge can be estimated from the measured voltage using a straight-line scale with 13 volts representing 100% charge and 10.8 volts representing 25% charge. For example, 12 volts would represent roughly 50% charge remaining. If the measured open-circuit voltage is below 10 volts, the battery should be recharged or replaced (Figure 41).

Fig. 41. Voltage vs.% charge

Pick the right words and put them in the missing places in the sentence. capacity; cutoff voltage; gasses; polarity; SOC. captive electrolyte; disconnect; gauge; power; specifications. charge; DOD; lead dioxide; primary; stationary. chemicals bonds; effective power; lead-acid; secondary; terminals. circuit; electrical energy; open; self-discharge; toxic fumes. current; electrolyte; parallel; series; traction. - ..(Terminals).. provide the physical outputs of a battery. - A battery stores electrical energy in the form of ..( chemicals bonds).. . - Terminals on the battery are marked positive or negative to indicate the ..(polarity).. . - Do not overfill battery cells with ..( electrolyte).. .

Battery capacity is expressed several ways, the most common being the combination of the level of current in amperes it sustains at the operating voltage and the length of time in hours it sustains the current. The milliamp-hour (mAh) is a common unit of capacity for smaller batteries. Large batteries are rated in ampere-hours (Ah).

CB=IB*TD,

where CB – battery capacity (Ah), TD - complete discharge time (h), IB – current discharged (A). As an example, a 12-volt solar battery supplies 60 amps for 5 hours. The battery, therefore, has a capacity of 300 Ah. This size and rate of discharge is roughly the equivalent to the demand on a typical PV system supplying power to a greenhouse.

PB=VB*IB,

where PB – power (W), VB - voltage (V), IB – current discharged (A). Battery capacity is also expressed as units of power. Since the voltage of a discharging battery is relatively constant, the power rating is similar to the energy rating, the only difference being the voltage is factored into the rating. The watt is a common unit of power, and the watt-hour (Wh) is a common unit of energy.

CB=PB*TB,

where PB – power (W), TB - time (h), CB – battery capacity (Wh). For example, a 12-volt solar battery supplying 25 amps to a load delivers 300 watts of power. If the battery sustains the power for seven hours, the capacity required would be 2100 Wh.

Battery capacity is calculated directly as the product of the average current and the time for complete discharge of a fully charged battery. As an example, if a fully charged battery is fully discharged after it delivers 3 amps of current for 2 hours, the capacity of the battery is said to be 6 Ah.

The capacity of a battery is also expressed in percentage. The percentage is the portion of remaining charge to the battery's maximum possible charge. The percent of charge removed from a fully charged battery is calculated as shown.

CD=IB*TBCB,

where CD - percent of discharged capacity (%). As an example, if a fully charged battery with a 100 Ah capacity is discharged at 3 amps for 5 hours, the percentage of charge released would be calculated as shown. That would mean the percentage of charge remaining would be 85%.

The amount of energy a battery holds and discharges varies by how it is used. Factors that impact the available energy include the discharge rate, level of remaining charge, and physical changes within the battery resulting from the discharging process. In PV systems, the energy demand is usually low for prolonged periods, meaning a slow discharge. The low discharge rate improves the efficiency of the battery resulting in more total energy released (Figure 42).

Fig. 42. Variables in charging and discharging a Battery

Several terms are used to describe the amount of energy remaining in a battery. One term is the state of charge (SOC), which is the percentage of energy remaining in a battery compared to the energy in a fully charged battery. Therefore, the SOC of a completely discharged battery is 0%, and the SOC of a half-charged battery is 50% (Figure 43).

Fig. 43. State of charge

SOC=CB-(ID*TD)CB,	DOD=CDCB,

where SOC- state of charge (%), DOD – depth of discharge (%). Depth of discharge (DOD) is the percentage of withdrawn energy. A fully charged battery has 0% DOD, while a completely discharged battery has a DOD of 100%. The sum of the SOC and DOD is always 100%. The DOD is calculated as shown. The charge controller uses the DOD on a PV system to determine the amount of time required ID fully recharge a battery.

The discharge rate is the portion of a battery's energy capacity released per unit of time, usually expressed as a ratio of nominal battery capacity to discharge time in hours, or C/T.

| a) | b) |
| --- | --- |

Fig. 44. Discharge rate and duration

For example, a 10-amp discharge for a nominal 200 Ah battery would have a discharge rate of C/20 (Figure 44a). This indicates that the battery discharges 1/20 of the rated capacity per hour. At that rate, the battery discharges completely in 20 hours. The same battery with a 2-amp discharge would have a discharge rate of C/100 (Figure 44b).

# PHOTOVOLTAIC–THERMAL TECHNOLOGY (PV/T)

The PVT technology combines Solar PV and Solar Thermal in the same component (Figure 45). The output is both heat and electricity, similar to a cogeneration steam plant. Conventional solar panels harvest only the short wavelength radiation from sunlight to produce current, achieving an efficiency from 6% to 18%. However, the long-wavelength radiation from the sun converts into thermal energy and thus heat up the solar panels. At the same time, the waste heat on photovoltaic panels will result in hot spots. Hot spots are especially detrimental to the PV panels since they will reduce their lifespan significantly.

Fig. 45. Concept of PVT solar collector [7]

Some typical PVT collector designs are given in figure 46.

Fig. 46. Some examples of different PVT collector designs for combined heat and electricity production.

To maintain the solar panels at optimum efficiency and fully utilize the long wavelength radiation of the sun, the heat on solar panels is desired to be removed from the photovoltaic layer. The photovoltaic thermal collectors are thus designed by combining photovoltaic cells with heat-removing components (Figure 47). This allowed the solar panels to reach their maximum efficiency by reducing the temperature and, in the meantime, harvested the extra thermal energy. The PV/T technology works extraordinarily with households since the thermal energy can be directly used for heating. During these years, PVT panels have incorporated flat plate photovoltaic solar systems, heat pipes with various heat transporters like water, air and refrigerants.

There are many system types really suitable for PVT to start with, already now. They are here classified after the heating/cooling demand, as the electricity always can be utilized locally and even can be exported, if too much power is produced.

1.	Hot water preheating systems for hotels and other large Hot water users.

2.	Swimming pool heating.

3.	PVT systems recharging Borehole/Ground Source heat pump systems to increase the Heat Pump COP and avoid undercooling of the borehole/ground. PVT can also be applied when changing to a larger heat pump in an existing ground source system.

4.	Air heating systems. For example, preheating of ventilation air or preheating of summer houses. Also drying of crops can be achieved. Many industry applications with large ventilation air use, like painting, can be interesting.

5.	Cooling by radiation to clear night sky conditions, can also be used as an extra bonus with the same hybrid components.

Fig. 47. Schematic cross section of WISC (wind and infrared sensitive collector) PVT collector: 1-transparent cover (optional), 2a- front cover of PV module, 2b-encapsulant, 3-solar PV cells connected, 4-encapsulant (optional), 5a-backsheet / rear cover of PV module (optional), 5b-glue / encapsulant (optional), 6a-absorber, 6b-heat transfer medium, 7-insulation (optional), 8-casing (optional), 9-air vent (optional), 10-fluid outlets, 11-sealing, 10-gap (optional only if 1 is present), 13-junction box [8].

Current research focuses on the integration of PV systems with the building. It is important that PV/T installations are in harmony with the building architectural design. The main target in PV/T systems is to achieve low costs for PV/T systems that produce electricity and thermal energy. Reducing system costs is the basic requirement for the widespread use of PV/T systems.

The main benefits of PV/T systems can be listed as follows:

- The cost in PV/T systems is lower than two separate system installations.

- The total area required for the PV/T system installation is less than the area required for the PV system and the thermal system.

- PV and solar collectors use different part of the solar spectrum.

- Collectors use infrared waves, while solar cells use visible light waves. By using both systems together, solar energy is used more effectively.

- Thanks to PV/T systems, the thermal load of the building decreases due to the increase in insulation and surface shading in summer.

- With PV/T systems, a more aesthetic installation will be possible in terms of appearance compared to the installation of PV and Thermal systems separately on the exterior of the building [9].

## 3.1. PVT collector classification

Typically, PVT solar collectors are either classified as air or liquid PVT’s, characterized by its HTF (Heat Transfer Fluid). The latter being either water or water/glycol mixture. PVT air collectors are known by its high heat losses and therefore less sensitive to overheating, which leads to higher electrical efficiencies. On the other hand, PVT liquid collectors have a higher installation share, yet it has overheating issues, despite water having a higher heat capacity and thermal conductivity. Moreover, concentrating PVT collectors can be labelled by its concentration ratio in three different categories, such as low, medium and high concentration factors. Typically, low concentration PVT collectors are used as stationary (fixed collector tilt angle) solar energy systems, however high concentration PVT collectors require a tracking system, either one-axis or two-axis system.

As the specific suitability depends on electrical conversion efficiency, temperature and also its absorption coefficient [3], therefore a PVT system location is of most importance. Monocrystalline PV cells are commonly known to have the highest share at modular electricity production devices (e.g. both PVT and PV panels) due to their enhanced electrical efficiency and higher solar absorption compared to polycrystalline PV cells. Thin-film solar cell technologies (e.g. CIGS and CdTe), are typically characterized by their lower temperature coefficient, which makes them very attractive for higher HTF temperatures and module temperatures. In PVT applications, multi-junction PV solar cells are typically employed in high concentration solar energy systems, thus a contender for high HTF temperature PVT solar collectors.

Furthermore, the developments in heat pump technology, and the increasing interest in Building Integrated PV (BIPV) and Façade Integrated PV (FIPV) are generating more opportunities for PVT applications to enter the super competitive PV module market. Therefore, in 2018, under the management of the International Energy Agency (IEA) Solar Heating and Cooling (SHC) programme, a task force composed by several experts (either from PVT companies or research institutes with PVT research programs) in PVT technology, has been initiated under the IEA-SHC Task 60: ‘Application of PVT collectors’. To help different stakeholders to have a better understanding of what kind of PVT technologies exists and its system characteristics, Lämmle et al. (2020) [10] presented and allocated, Figure 48, each PVT collector technology according to their:

Specific operating temperature ranges;

System layout;

Design (glazed, unglazed, and concentrating);

Heat Transfer Fluid, HTF (air and water/glycol, for commercial systems).

Fig. 48. Map of PVT technologies and applications per operating temperature [10]

Additionally, the generality of the PVT water collectors and solar flat-plate thermal collectors can be divided into their range of applications such as:

Low-temperature applications (~27-35°C) including swimming pool heating or spa heating.

HTF temperatures (~27-50 °C) are a prerequisite for space heating or integration with low- temperature heat pumps;

Medium temperature applications for temperatures up to 80°C (e.g. unglazed collectors in high irradiance climates, or with glass cover flat-plate collectors);

High-temperature applications for temperatures larger than 80°C, such as applications comprising high-efficiency flat-plate thermal collectors (with reduced thermal losses) or evacuated flat-plate collectors.

## 3.2. Performance of PVT Collectors

Solar radiation reaches the module at a solar irradiance of G where a fraction is lost to the ambient as Qloss and the remaining portion empowers the PV module (Qel) with a given electric efficiency (ηel). The accumulation of solar energy increases the temperature of the PV module and generates the thermal power of Qth, depending on the fluid medium and module design which is transferred to the thermal module through a heat transfer mechanism with a thermal efficiency of ηth. Finally, thermal insulation obtained by reducing and eliminating the back and sides heat losses and makes the entire system more efficient. The general energy equation in a simple PVT module and overall efficiency (ηPVT) can be defined by equations [11,12]:

el=QelGA,	(6)

th=QthGA, 	(7)

PVT=el+th, 	(8)

where G (W/m2) is the solar radiation and A (m2) is the aperture area of the module.

PVT systems are two separate systems consisting of one solar collector and a PV module. They are connected together and produce electricity and heat at the same time. We talked about ηel in section 2.2 (equations 4, 5), while thermal efficiency, based on ISO 9806: 2017 at steady-state condition for glazed liquid heating collectors, shall be calculated by statistical curve fitting, using the least squares method, to obtain an instantaneous efficiency curve of the form presented in next equation

th=o,th-1Tm-TaG-2(Tm-Ta)2G, 	(9)

where Tm is mean temperature of heat transfer fluid (°C), Ta is ambient air temperature (°C), η0,th is peak collector efficiency (ηth at Tm-Ta = 0), G is hemispherical irradiance, a1 is heat loss coefficient (W/(m2·K)) and the temperature dependence of the heat loss coefficient comes as a2 (W/(m2·K2)) [13]

The performances of PV/T systems increase with the increase in temperature, but decrease when they start to operate at higher temperatures. For this reason, it is necessary to operate the PV modules at low temperatures in order to have the electrical efficiency of the PV cells at a certain level. Due to this necessity, the working areas of PV/T systems are limited. Therefore, the heat obtained can be used for preheating, water heating, space heating, etc. in buildings.

PV/T systems can be examined in 4 groups.

1.	PV/T air collectors

2.	PV/T liquid collectors

3.	PV/T collectors with heat pipes

4.	PV/T collectors with Phase Change Material [9].

PV/T systems are used in building applications, Solar distillation applications, Solar Energy drying applications, Greenhouse applications, Thermoelectric Generators and heat pumps.

When PV/T systems are examined, it is seen that these systems have the following advantages.

- By lowering the operating temperatures of PV cells, they increase the electrical efficiency of PV cells, which decreases with temperature.

- They increase the electrical and thermal efficiency of the system.

- More heat and electrical energy is obtained from the area where the PV/T system is installed. This is important as roof surface areas are limited.

- Hybrid PV/T systems create a more aesthetic appearance as they provide architectural integrity on the roof.

### 3.2.1. Air PV/T systems

Air PV/T systems are systems that operate at efficiencies between 20% and 40% [9]. The sum of the PV module efficiency and the system thermal efficiency represents the overall efficiency in PV/T systems. Therefore, it may be possible to achieve high efficiencies by performing different designs. In air PV/T systems, the air flow rate plays an important role in reducing the temperature of the PV cells, thus increasing the system efficiency by increasing the electrical efficiency. Air is used as the heat transfer fluid in air PV/T systems. The structures of these systems are simple and their operating costs are low. In addition, they have a common usage area because they can be integrated into buildings and so on (Figure 49).

Efficiency in PV/T systems is examined in two ways as electrical and thermal efficiency. With the increase in temperature, the electrical efficiency of PV cells decreases. Thermal efficiency is as important as electrical efficiency in PV/T systems. These systems are mostly the systems installed as building integrated PV systems (BEPVT). In BEPVT applications, the cooling of the PV panels is carried out with the air circulated in the air gap between the panels and the building material. In this way, the heated air can be used to heat the building. BEPVT systems have a more aesthetic appearance by adapting better to the outer surface of the building compared to other solar energy systems in their installations.

Fig. 49. PV/T air system section [14]

Because of these advantages, BEPVT systems are one of the fastest growing areas of the photovoltaic industry. In BEPVT systems, the air fluid velocity is generally low, but the wind speed also plays an important role. The velocity of the air circulated in the system and the duct design affect module efficiencies. Electrical efficiency in BEPVT systems is approximately 10% better than systems without cooling [14].

### 3.2.2. Liquid PV/T systems

Apart from Air PV/T systems, the most popular systems are Liquid PV/T systems. Because liquid PV/T systems are higher efficiency systems than air systems. Water is widely used to cool PV/T systems due to its low price, easy accessibility and cooling properties. PV cells can be cooled more evenly when water is used as the heat transfer fluid. Due to the high thermal conductivity of liquids, these systems have an important place compared to air systems.

Fig. 50. Sectional view of water-based photovoltaic-thermal (PV/T) collector [15]

In liquid PV/T systems, the type of fluid used affects the amount of heat transfer. The fluid used in these systems is usually water. The fact that water is easily accessible, has good heat transfer properties and is cheap increases the usability of this fluid.

### 3.2.3. Heat Pipe PV/T systems

PV/T collector systems using water as the heat transfer fluid are not recommended in places where the climatic conditions are cold. If the water freezes at a low temperature and increases in volume, it can cause damage to the system. The heat pipe is a system with high thermal conductivity that allows heat to be transported quickly without reducing the temperature. Freezing can be prevented with the right fluid. A heat pipe PV/T system can be created by combining the heat pipe and the solar collector. Figure 13 shows the general structure of a heat pipe PV/T system.

Fig. 51. PV/T system section with heat pipe [16].

### 3.2.4. PV/T systems with PCM

These collectors are in the early development stage and are similar to water-based collectors where water flows within the tubes. Additionally, it utilizes phase change material (PCM) within the PCM unit which is placed at the back of the PV module. A PCM material takes in or discharges an ample amount of energy during phase transition to provide heating or cooling. Water tubes are integrated with the PCM unit as presented in Figure 52, which absorbs and stores the heat within the material from the PV module. PCM materials have high energy storage density, high thermal conductivity, and chemical stability. During day time, these collectors operate normally when the solar radiation is available but during night time, the stored heat within the PCM material is used for heating purpose. Quantity and selection of these materials are very crucial because materials with low thermal conductivity will have a slow heat transfer and will not provide the required thermal energy. PCM materials used in PV/T collectors are divided into two categories, organic and inorganic. Organic PCM materials are derived from plants, animals, or petroleum products. These materials are safe, can be recycled but have low thermal conductivity. Inorganic PCM materials are cheaper, easily available, and have high thermal conductivity [17].

Fig. 52. Sectional view of PCM- based PV/T collector [15]

### 3.2.5. Heat Pump Integrated with a PV/T Collector

The priority is to save energy and lower the cost for the purpose of heating and cooling. The heat pump integrated with a PV/T system is more efficient than a standard PV/T heating/cooling system. These devices take heat from a low-temperature medium and transfer heat to a high-temperature medium. They can also work in places where the temperature gets extra chilly. The heat pump integrated with the PV/T system becomes less efficient when the ambient temperature drops because there is not enough heat produced by the PV/T system [15]. The major advantage of using a PV/T system is the combined production of both electricity and heat. The electricity generated by the collector can be used to raise the temperature in order to get the desired temperature. A PV/T collector assisted with a heat pump can be used for cooling the PV module.

Fig. 53. Schematic diagram of the proposed PV/T heat pump system on refrigeration mode [18].

Noro and Lazzarin [18] evaluated the economic performance of the hybrid PV/T heat pump system using eight PV/T collectors for a two-stage Italian house with a volume of 364 m3. In order to obtain domestic hot water, the inlet water temperature is set around 12 C and the water delivered to the user is 45 C. A control system is proposed to drive the system:

- For space heating, a three-way valve is supposed to bypass the storage if the temperature of the storage tank is lower than the water temperature from the radiant floor plant.

- Pump turns on if the solar radiation is >300 W/m2 and the temperature from PV/T collector is >7 C than storage temperature.

- Pump turns off if the temperature from PV/T collector is <3 C and not taking solar radiation into account.

Tick the correct option for the following statements. - Evaluate the space requirement required for the installation of PV/T systems, according to the separate PV system and Solar system installations. - The need for space is greater b) The need for space is less c) The need for space is the same - Evaluate PV/T system installations in terms of aesthetics according to separate PV system and Solar system installations. - Aesthetically better b) Aesthetically worse c) Aesthetically the same - Evaluate the efficiency of PV/T system installations according to the efficiency of PV system and Solar system installations separately. - Their yields are higher b) Their yields are lower c) Their yields are the same - Evaluate PV/T system installation costs according to the costs of PV system and Solar system installations separately. - Cost is higher b) Cost is lower c) Cost is the same Write the answers to the following questions. - What are the PV/T system types? Write - What are the advantages of PV/T systems? Write - What are the disadvantages of PV/T systems? Write

# EXPERIMENT

## 4.1. Research of photovoltaic cells

Aim of the work: To find the most effective energy point of photovoltaic cells by changing the angle of the photovoltaic elements.

Job Task:

1. Connect a short circuit diagram using a load resistor. The position of the resistor must be at 100.

a. The photovoltaic cells are supplied with power cords to COMBINER BOX.

b. The COMBINER BOX box connects the negative cable to the DISCONNECTED switch.

c. The negative cable from the circuit breaker is connected to the load resistor - contact (VARIABLE LOAD), and the positive wire from the COMBINER BOX is connected to the load resistor + contact.

Fig. Photovoltaic module on the 850-AE Solar PV Sun Simulator

2. Measure the resistance of the resistor positions and fill the table..

| Resistor position | Resistance, Ω | Resistor position | Resistance, Ω |
| --- | --- | --- | --- |
| 0 |  | 60 |  |
| 10 |  | 70 |  |
| 20 |  | 80 |  |
| 30 |  | 90 |  |
| 40 |  | 100 |  |
| 50 |  |  |  |

3. Measure and calculate the working points (power, W) of the photovoltaic cells, depending on the angle of inclination of the photovoltaic cells and the value of the load resistor, using the measuring devices assigned by the teacher. Fill in the data in the table. Power is calculated

| Res. pos. Angle | 0 | 10 | 20 | 30 | 40 | 50 | 70 | 100 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 00 |  |  |  |  |  |  |  |  |
| 150 |  |  |  |  |  |  |  |  |
| 300 |  |  |  |  |  |  |  |  |
| 450 |  |  |  |  |  |  |  |  |
| 900 |  |  |  |  |  |  |  |  |

4. Draw a graph of resistance and power dependency. All data must fit in one chart.

5. Write the conclusions.

## 4.2. Principal operation of the stand 950-STCL1 (Solar thermal collector)

Aim of the work:

To find out the principles of operation of the stand 950-STCL1. Examine electrical and mechanical bench diagrams.

Stand description:

The stand 950-STCL1 consists of two flat solar collectors with two storage  closed circuits. The first storage circuit includes solar collectors, a pump, a heat exchanger and a water storage tank (boiler). The system is filled with distilled water. The second storage circuit includes the following elements: a heat exchanger, a pump and a hot water storage tank. The systems are separated. The stand has mechanical and electrical imitation faults. The stand is controlled by a programmable controller that controls the switching on and off of the pumps. The controller measures the system and collector temperatures, which determines when the pumps are to be controlled.

Solar thermal troubleshooting- closed loop learning system 950-STCL1

Job Task:

- Draw the block diagram of the stand 950-STCL1. Mark the temperature sensors and actuators in the diagram

- Draw the electricity diagram of the stand.

- Describe the interaction of the mechanical and electrical components of the stand in the control of the solar collector.

- Fault modeling. Fill in the table and describe the mechanical and electrical faults.

| Nr. | Name | Fault description |
| --- | --- | --- |
| 1. |  |  |
| 2. |  |  |
| 3. |  |  |
| 4. |  |  |
| 5. |  |  |
| 6. |  |  |
| 7. |  |  |
| 8. |  |  |

Write the conclusions

# References

            - European Commision. Photovoltaic Geographical Information System. Available online: https://re.jrc.ec.europa.eu/pvg_download/map_index_c.html# (accessed on 18 February 2022).

            - Kaltschmitt, M.; Streicher, W.; Wiese, A. 2007. Renewable energy: technology, economics and environment. Springer, Verlag Berlin Heidelberg.

            - Smets A., Jager K., Isabella O., Swaaij R., Zeman M. 2016. Solar energy: The physics and engineering of photovoltaic conversion, technologies and system. Cambridge.

            - Best research cell efficiencies. https://upload.wikimedia.org/wikipedia/commons/2/25/Best-research-cell-efficiencies-rev220126_pages-to-jpg-0001.jpg (accessed on 10 March 2022).

            - Amatrol PV module operation (2014). Hands on skill for learning activity. USA, Amatrol.com

            - Yahyaoui I., (2018). Advances in Reneable Energies and Power Technologies. Solar and Wind Energies. Vol. 1. Elsevier

            - Herez, A.; el Hage, H.; Lemenand, T.; Ramadan, M.; Khaled, M. Review on photovoltaic/thermal hybrid solar collectors: Classifications, applications and new systems. Sol. Energy 2020, 207, 1321–1347. https://doi.org/10.1016/j.solener.2020.07.062

            - IEA SHC Task 60 report, Design Guidelines for PVT Collector. https://task60.iea-shc.org/Data/Sites/1/publications/IEA-SHC-Task60-B2-Design-Guidelines-for-PVT-Collectors.pdf

            - Oksuz M., Kose F. Hybrid Photovoltaic Thermal PVT-water and PVT-air Solar Collectors Analysis. National Environmental Sciences Research Journal, Issue 2(3): 95-102, 2019.

            - Lämmle, M.; Herrando, M.; Ryan, G. 2020. IEA SHC Task 60 - Basic concepts of PVT collector technologies, applications and markets.

            - Ramos, C.A.F.; Alcaso, A.N.; Cardoso, A.J.M. Photovoltaic-thermal (PVT) technology: Review and case study. In Proceedings of the IOP Conference Series: Earth and Environmental Science; IOP Publishing, 2019; Vol. 354, p. 12048.

            - Shakouri, M.; Ebadi, H.; Gorjian, S. Solar photovoltaic thermal (PVT) module technologies. In Photovoltaic Solar Energy Conversion; Elsevier, 2020; pp. 79–116.

            - ISO9806:2017 ISO 9806:2017. Solar Energy-Solar Thermal Collectors-Test Methods; ISO, 2017

            - Zhenjun M., Haoshan R., Wenye L. and Shugang W. Solar-Assisted HVAC Systems with Integrated Phase Change. December 20th 2017. http://dx.doi.org/10.5772/intechopen.72187

            - Ul Abdin, Z., Rachid, A. A survey on applications of hybrid PV/T panels. Energies, 2021, 14(4), 1205. https://doi.org/10.3390/en14041205

            - Diallo T.M.O.,. Zhou M. Yu, J, Zhao X., Shittu S., Li G., Ji J., Hardy D. Energy performance analysis of a novel solar PVT loop heat pipe employing a microchannel pipe evaporator and a heat PCM triple heat exchange. 13 November 2018, https://doi.org/10.1016/j.energy.2018.10.192

            - Mofijur, M.; Mahlia, T.M.I.; Silitonga, A.S.; Ong, H.C.; Silakhori, M.; Hasan, M.H.; Putra, N.; Rahman, S. Phase change materials (PCM) for solar energy usages and storage: An overview. Energies 2019, 12, 3167, https://doi.org/10.3390/en12163167

            - Liang, R.; Zhou, C.; Zhang, J.; Chen, J.; Riaz, A. Characteristics analysis of the photovoltaic thermal heat pump system on refrigeration mode: An experimental investigation. Renew. Energy 2020, 146, 2450–2461. https://doi.org/10.1016/j.renene.2019.08.045

            - Noro, M.; Lazzarin, R.M. Hybrid PhotoVoltaic–Thermal heat pump systems: Energy and economic performance evaluations in different climates. Int. J. Low Carbon Technol. 2018, 13, 76–83. https://doi.org/10.1093/ijlct/ctx022

PROGRAMA ERASMUS+, PROJETO DE PARCERIA ESTRATEGICA KA2

POWER UP MY HOUSE: Desenvolvimento de modulos inovadores de aprendizagem pratica para aumentar o uso de energias renovaveis em edifîcios sustentaveis

Financing: Erasmus + KA2 Strategic Partnerships in The Field of Vocational Education and Training - Project number 2020-1-TR01-KA202-093467

INSTITUTO POLITECNICO DE TOMAR

OUTPUT 4. CONTEÜDOS DE FORMAÇÂO PILOTO

MODULO DE FORMAÇÂO FV/T

Flavio Chaves, Carlos Coelho, Paulo Coelho; Mârio Gomes

(Baseado no documento produzido pelos colegas KURTTEPEMTAL-Turquia)

27 de maio a 15 de junho de 2022

TABELA DE CONTEUDOS

Prefácio                                                                                                                                            1

1. Introdução                                                                                                                                    2

2. Conceitos básicos                                                                                                                        2

3. Princípios Teóricos                                                                                                                      3

3.1.Energia Solar                                                                                                                             3

3.2. Tecnologia Solar Fotovoltaica                                                                                                  4

3.3.Sistemas Térmicos Fotovoltaicos                                                                                            10

3.3.1. Sistemas FV/T com Ar                                                                                                        12

3.3.2.Sistemas FV/T com Líquido                                                                                                 13

3.3.3. Sistemas FV/T com Tubo de Calor                                                                                     14

3.3.4. Sistema FV/T com FMF                                                                                                      15

4. Software de Cálculo de Sistemas FV/T                                                                                     15

5. Complemento à Formação                                                                                                         15

5.1 – Vídeos                                                                                                                                   15

5.2 Visita à Instalação FV do Campus do IPT                                                                              15

Referências                                                                                                                                    16

PREFÂCIO

O Modulo de Formaçâo FV/T que se preparou foi criado no âmbito do projeto "Power Up My House" (Projeto n.° 2020-1-TR01-KA202-093467), financiado pela Comissâo Europeia e apoiado pela Agencia Nacional Turca. Com o Modulo de Formaçâo FV/T, os alunos que estudam na ârea das tecnologias (e.g., Energias Renovâveis) ou aqueles que desejam ter conhecimentos e competencias sobre esses assuntos recebem informaçâo bâsica sobre tecnologias FV (fotovoltaico) e FV/T (fotovoltaico e termico), sendo introduzidos a sistemas relacionados com a produçâo de energia termica e energia eletrica. No modulo de formaçâo pretende-se reforçar o conhecimento teorico com recurso a exemplos prâticos, utilizando por exemplo ferramentas de simulaçâo computacional.

O uso dos sistemas FV/T estâ a aumentar paulatinamente dia apos dia um pouco por todo o mundo. Em Portugal, esta tecnologia estâ pouco difundida pelo que a sua utlizizaçâo e marginal (conhecem-se apenas 2 instalaçöes PV/T em funcionamento). E neste sentido, que os conteudos bâsicos desta tecnologia sâo descritos neste documento, para servir de suporte ao curso letivo de 12 horas (3 horas de contacto e 9 horas de aprendizagem autonoma e visita a instalaçâo FV do IPT) a ministrar nos cursos de eletrotecnia e de mecânica, do Instituto Politecnico de Tomar, entre 27 de maio a 15 de junho de 2022.

"O apoio da Comissâo Europeia a produçâo desta publicaçâo nâo constitui um aval ao seu conteüdo, que reflete apenas as opinioes dos autores, e a Comissâo nâo pode ser responsabilizada por qualquer utilizaçâo que possa ser feita das informaçoes aqui contidas."

- INTRODUÇÂO

O Modulo de Formaçâo FV/T constitui um conteüdo educativo, no qual os conhecimentos teoricos aqui apresentados serâo reforçados de forma presencial em instalaçöes solares, permitindo aos alunos adequirirem conhecimentos (e competencias) sobre esta materia. Os alunos recebem informaçöes basicas sobre tecnologias FV e FV/T, em que os sistemas relacionados com a produçâo de Energia Termica e Energia Eletrica serâo introduzidos atraves deste documento e de vıdeos contendo coletores hıbridos de energia solar. Como referido, este modulo de formaçâo pretende aumentar os conhecimentos (e competencias) dos alunos em FV e FV/T e, assim, fomentar o interesse dos alunos por diversos assuntos associados, como por exemplo, o calculo da eficiencia na produçâo de energia.

Este modulo nâo contempla experiencias laboratoriais fîsicas, no entanto as informaçöes basicas sobre os paineis FV/T, a produçâo de energia e as equaçöes teoricas a utilizar na analise destes sistemas, juntamente com a visualizaçâo de vıdeos sobre a tematica, permitira atingir os objetivos desta formaçâo basica.

- CONCEITOS BÂSICOS

Energia Solar: A energia solar e a energia radiante libertada pelo processo de fusâo (conversâo do gas hidrogenio em helio) no nücleo do sol.

Painel FV (Fotovoltaico): E um dispositivo que converte a energia solar em energia eletrica.

Painel FV/T (Fotovoltaico - Termico): E um painel que produz calor e eletricidade ao mesmo tempo, a partir da energia solar.

Sistemas FV/T-IE: Sistemas FV e termicos integrados em edifîcios.

Celula Solar: E o elemento (fotovoltaico) que converte a luz solar diretamente em corrente eletrica. A celula solar funciona como um dıodo semicondutor e converte a energia transportada pela luz solar em energia eletrica atraves de uma reaçâo fotoeletrica interna.

Eficiencia Termica: A efıciencia e definida como a relaçâo entre a salda e a entrada num sistema (definiçâo abreviada). Nos paineis FV/T e definida como a divisâo do calor total e energia eletrica obtida pelo painel e a energia solar que chega a superfîcie do painel.

- PRINCIPIOS TEORICOS

  - ENERGIA SOLAR

O Sol, a fonte de vida do planteta Terra (Figura 1), e uma estrela da Via Lâctea com um diâmetro de 1,4 milhöes de km. O Sol estâ a cerca de 150 milhöes de km da Terra. Nele, estâo constantemente a ocorrer reaçöes de fusâo, nas quais o gâs hidrogenio e transformado em gâs helio. Durante a transformaçâo dos gases, a energia termica resultante e emitida para o espaço. Uma pequena parte dessa energia chega a Terra atraves da radiaçâo. A quantidade de energia que atinge a atmosfera terrestre e de 174 petaWatts (PW=1015 W - lembrar que [W]=[J/s]) e aproximadamente 30% desta energia e refletida (de volta) para o espaço. Embora a quantidade de radiaçâo solar que atinge a Terra varie com as propriedades das camadas da atmosfera, e aceitâvel considerar um valor medio de 1342 W/m2. No entanto, este valor varia efetivamente entre 0 e 1100 W/m2 [1].

Quando o potencial total e avaliado, o potencial de energia solar e consideravelmente superior a procura mundial, mas considerando o seu efeito sustentâvel, a taxa de utilizaçâo tem sido bastante limitada. No entanto, o aquecimento global, o facto de os combustıveis fosseis estarem a esgotar-se, esta energia ser renovâvel e os desenvolvimentos tecnologicos mais recentes, aumentam a sua importância como fonte de energia limpa.

Figura 1. Imagens da nossa fonte de vida, o Sol

As tecnologias de energia solar podem ser agrupadas de vârias formas em termos de diversidade de uso de energia, metodos, materiais utilizados e nıvel tecnologico. No entanto, tendo em conta as caracteristicas gerais de utilizaçâo, podem ser agrupados em dois grupos principais, como as tecnologias FV e solar termica:

- A Tecnologia Solar FV e a tecnologia que converte a luz solar diretamente em energia eletrica com celulas FV feitas de materiais semicondutores;

- As Tecnologias Solares Termicas, por outro lado, sâo as tecnologias que produzem principalmente energia termica atraves da recolha dos raios solares numa superfîcie. A energia termica produzida pode ser definida como tecnologias que podem usar o calor diretamente com a ajuda de um fluido, ou podem produzir eletricidade devido a esta fonte.

  - TECNOLOGİA SOLAR FOTOVOLTAICA (FV)

As celulas solares sâo o elemento mais importante nas tecnologias solares FV. Estas celulas sâo compostas por materiais semicondutores (Figura 2) e convertem a luz solar diretamente nas suas superficies em energia eletrica. Embora as geometrias da superfîcie variem, as mais usuais sâo quadradas, retangulares e circulares. A ârea das celulas solares e de cerca de 100 cm2 (e.g., 10 cm x 10 cm). Alem disso, a sua espessura varia entre 0,1 e 0,4 mm. As celulas FV dependem de um fenomeno. Esse fenomeno, que e definido como o princıpio FV, consiste na criaçâo de uma tensâo eletrica na fronteira da celula causada pela incidencia na celula. Assim, a energia eletrica produzida na celula pode ser definida como um efeito da luz que incide na celula solar.

- Bloco

- Fusâo e extrusâo

- Corte de borda

- Corte em fatias

- Difusâo de dopante

- Aplicaçâo de acabamento superficial (refletivo)

- Contactos eletricos (costas e frente)

Figura 2. Fases de Produçâo de Celulas Solares [2].

O silıcio puro ou de qualidade elevada e necessârio na produçâo de celulas FV. Uma vez que os âtomos de silıcio formam uma estrutura de cristal solido, cada âtomo de silıcio tem quatro eletröes de valencia na sua camada de eletröes exteriores. Para a formaçâo de uma configuraçâo estâvel de eletröes, os âtomos adjacentes uns aos outros na estrutura cristalina partilham um eletrâo e formam uma ligaçâo simples (par de eletröes) entre eles. Assim, um âtomo de silıcio forma quatro ligaçöes simples com quatro âtomos vizinhos e adquire uma estrutura de gâs perfeito estâvel com oito eletröes exteriores. Com o efeito do calor ou da luz, a ligaçâo simples pode ser quebrada. Os eletröes que saem da ligaçâo podem mover-se livremente, deixando lacunas na estrutura eletronica. A este efeito chama-se auto-conduçâo. No entanto, a auto-conduçâo nâo e suficiente para gerar corrente. Para que o silıcio produza energia, este e dopado deliberadamente com âtomos que sâo colocados na estrutura cristalina, substituindo os âtomos de silıcio, o que interrompe a estrutura pura. Estes elementos dopantes sâo âtomos com excesso de um eletrâo (por exemplo, fosforo) ou com um eletrâo em falta (por exemplo, boro) no nıvel exterior de eletröes relativamente ao silıcio. Desta forma, os âtomos dopantes causam defeitos na rede da estrutura eletronica [3], como ilustrado na Figura 3.

- b)

Figura 3. a) Estrutura cristalina do silıcio, b) Defeitos da rede em silıcio dopado do tipo n e p.

No caso do elemento fosforo ser utilizado para dopagem (tipo n), existe um eletrâo extra por cada âtomo de fosforo colocado na estrutura cristalina. Estes eletröes em excesso tem a capacidade de se mover mais facilmente pela estrutura cristalina e carregar cargas eletricas desta forma.

No caso de ser utilizado elemento boro para dopagem (tipo p), forma-se uma lacuna (eletrâo em falta) por cada âtomo de boro colocado. Os eletröes pertencentes aos âtomos de silıcio vizinhos podem preencher esta lacuna e, desta forma, levar a formaçâo de uma nova lacuna deixada no local de onde vieram. A dopagem leva a formaçâo de semicondutores extrınsecos de tipo p oun. No entanto, ao examinar-se os materiais do tipo n ou p separadamente, ve-se que estas cargas mais livres nâo tem uma direçâo de movimento especıfica. Se camadas de semicondutores dopados do tipo n e p forem empilhadas em cima umas das outras, ocorre uma junçâo p-n entre elas. Neste caso, o excesso de eletröes no semicondutor tipo n, na regiâo onde as camadas se encontram, difundem-se no semicondutor do tipo p e as lacunas movimentam-se para a regiâo do tipo n. Assim, forma-se uma regiâo onde os eletröes livres e lacunas sâo escassos. Esta regiâo e chamada de regiâo de difusâo (Figura 4). Os âtomos dopados do lado n da regiâo de difusâo ficam positivamente carregados e os âtomos do lado p ficam carregados negativamente. Desta forma, forma-se um campo eletrico na direçâo oposta ao movimento dos eletröes e a propagaçâo e impedida de continuar indefinidamente.

Figura 4. A formaçâo da regiâo de difusâo na regiâo de transiçâo p-n como resultado da

propagaçâo dos eletröes [3].

Quando o semicondutor p-n (celula FV) e exposto a luz, os fotöes da luz sâo absorvidos pelos eletröes. Com este fornecimento de energia, as ligaçöes simples sâo quebradas. Os eletröes libertados sâo atraidos para a regiâo n pelo campo eletrico. As lacunas formadas desta forma movem-se na direçâo oposta, para a regiâo p. Este processo e chamado de efeito fotovoltaico [4]. A difusâo de partıculas carregadas ate ao condutor eletrico provoca a ocorrencia de uma tensâo na celula fotovoltaica. No estado de nâo carga (circuito aberto), existe uma tensâo de circuito aberto na celula fotovoltaica. Se o circuito estiver fechado, gera-se corrente - Figura 5.

Material semicondutor	Corrente

Figura 5. Princıpio de funcionamento da celula FV.

As celulas fotovoltaicas de silıcio cristalino consistem em duas camadas diferentes de silıcio dopado. A parte voltada para a luz solar e uma camada dopada n com o elemento fosforo e a parte inferior e a camada dopada p com o elemento boro. Um campo eletrico e formado na zona de transiçâo, o que causa a separaçâo das cargas (eletröes e lacunas) que sâo libertadas pelo efeito da luz solar. Para obter corrente eletrica da celula fotovoltaica, devem ser colocados contactos de metal na parte frontal e traseira da celula. E possıvel aplicar uma camada de contacto cobrindo toda a ârea usando pasta de alumınio ou prata na superfîcie traseira da celula fotovoltaica. A frente da celula fotovoltaica deve ser capaz de passar o mâximo de luz possıvel. Por esta razâo, as camadas de contacto aplicadas neste lado devem ser tâo finas quanto possıvel. Se uma fina camada de nitreto de silıcio ou oxido de titânio (camada anti-reflexo) for aplicada na face frontal da celula fotovoltaica, pode ser possıvel reduzir a reflexâo da luz (sem que ela seja absorvida) [5].

Figura 6. Operaçâo de Celula Solar.

Embora as celulas solares tenham diferentes capacidades de conversâo, a sua eficiencia fica entre 5% e 20%, dependendo das caracterısticas da celula solar. A este respeito, a energia que pode ser produzida a partir da superfîcie de uma celula e limitada. Por esta razâo, em condiçöes onde a energia e necessâria, vârias celulas solares sâo conectadas umas as outras em sene ou em paralelo para formar uma estrutura chamada modulo (Figura 7). As celulas fotovoltaicas conectadas em serie aumentam a tensâo gerada pelo modulo solar (Figura 7-a)). As celulas fotovoltaicas conectadas em paralelo aumentam a corrente que pode ser extraıda do modulo (Figura 7-b)). Na prâtica, essa estrutura combinada e chamada de modulo solar ou modulo fotovoltaico.

b)

Figura 7. a) Celulas em serie e tensâo b) Celulas em paralelo e corrente gerada [3].

Dependendo da necessidade de energia, e tal como descrito para as celulas, os modulos sâo conectados uns aos outros em serie ou em paralelo para formar estruturas chamadas paineis fotovoltaicos. Para gerar uma quantidade maior de eletricidade, os paineis sâo conectados em serie-paralelo para formar um painel solar fotovoltaico. A figura a seguir mostra as estruturas Celula, Modulo, Painel e Array.

Celula

Mödulo

Painel

Sistema/Instalaçao

c>

Figura 8. Celula, Mödulo, Painel e Sistema/Instalaçao FV [6].

Um aumento de temperatura causa um aumento na corrente de curto-circuito das celulas fotovoltaicas, enquanto diminui a tensao em circuito aberto. Portanto, a temperatura afeta negativamente a potencia do painel e, assim, tambem a eficiencia do painel em sistemas fotovoltaicos. A eficiencia da celula diminui com o aumento da temperatura. Esta diminuiçao na eficiencia e maior em celulas de silıcio monocristalino e policristalino do que em celulas de filme fino. Portanto, os mödulos com celulas de silıcio cristalino devem ser mantidos frios e as celulas de silıcio amorfo de camada fina devem ser preferidas em condiçöes de funcionamento a quente. A Figura 9 mostra o efeito da temperatura na curva Corrente-Tensao (I-V) de mödulos fotovoltaicos com celulas de silıcio cristalino. Cada aumento de 1°C na temperatura reduz a potencia obtida dos paineis fotovoltaicos em 0,5%. Em celulas de silıcio amorfo, por outro lado, um aumento de temperatura de 1°C reduz a potencia em 0,2%. No entanto, a corrente produzida nos paineis fotovoltaicos aumenta dependendo da intensidade da luz solar e da radiaçao solar. A tensao permanece quase constante, embora uma mudança significativa na irradiância altere significativamente a corrente.

Figura 9. Efeito da radiaçao solar incidente e da temperatura na curva Corrente-Tensao dos mödulos fotovoltaicos de celulas de silıcio cristalino [3].

Como pode ser observado, considerando a eficiencia dos paineis fotovoltaicos, a temperatura tem um papel importante. Com o aquecimento dos paineis, a potencia gerada diminui.

  - SISTEMAS FOTOVOLTAICOS-TERMICOS (FV/T)

Os sistemas FV/T sâo sistemas obtidos como resultado do desenvolvimento de sistemas de energia solar. Nesses sistemas, coletores termicos e celulas fotovoltaicas sâo combinados para aumentar a eficiencia energetica. Desta forma e possıvel obter calor a baixa temperatura e produzir energia eletrica de forma mais eficiente. Nos sistemas fotovoltaicos-termicos, o calor necessârio para o sistema termico e fornecido pelo aquecimento das celulas fotovoltaicas. Neste sistema, o fluido de transferencia de calor remove esse calor das celulas fotovoltaicas durante a operaçâo. Desta forma, ao arrefecer as celulas fotovoltaicas, aumenta-se a eficiencia da celula e obtem-se energia termica [6]. As partes do painel FV/T sâo mostradas na Figura 10.

Figura 10. Elementos principais que constituem um sistema FV/T [7].

A temperatura elevada reduz a tensâo de circuito aberto em sistemas fotovoltaicos, causando uma diminuiçâo na eficiencia. Ao adicionar um refrigerador ao painel fotovoltaico, a temperatura do sistema fotovoltaico pode ser reduzida, aumentando assim a eficiencia geral. No entanto, e possıvel recuperar a energia perdida como calor neste sistema. Em sistemas fotovoltaicos, âgua, ar ou ambos podem ser usados para arrefecer o painel fotovoltaico. A recuperaçâo, pela componente termica, do calor residual gerado na componente fotovoltaica faz com que a eficiencia global do sistema hıbrido seja maior do que a eficiencia do sistema fotovoltaico. A eficiencia global em sistemas FV/T e obtida usando a seguinte equaçâo [8].

ntotal = ntermico + neletrico

A pesquisa atual concentra-se na integraçâo de sistemas fotovoltaicos em edificios. E importante que as instalaçöes FV/T estejam em harmonia com o projeto arquitetonico do edifîcio. O principal objetivo em sistemas FV/T e alcançar baixos custos para sistemas FV/T que produzem eletricidade e energia termica. Reduzir os custos do sistema e o requisito bâsico para o uso generalizado de sistemas FV/T.

Os principais benefîcios dos sistemas FV/T podem ser listados a seguir [8]:

- O custo de sistemas FV/T e menor do que duas instalaçöes de sistemas separados.

- A ârea total necessâria para a instalaçâo do sistema FV/T e menor do que a ârea necessâria para o sistema FV e o sistema termico.

- Os coletores fotovoltaicos e solares usam partes diferentes do espectro solar: os coletores usam ondas infravermelhas, enquanto as celulas solares usam ondas de luz visıvel. Ao usar os dois sistemas juntos, a energia solar e usada de forma mais eficaz.

- Graças aos sistemas FV/T, a carga termica do edifîcio diminui devido ao aumento do isolamento e sombreamento da superfîcie no verâo.

- Com os sistemas FV/T, serâ possıvel uma instalaçâo mais estetica em termos de aparencia em comparaçâo com a instalaçâo de sistemas fotovoltaicos e termicos separadamente no exterior do edifîcio.

O desempenho dos sistemas FV/T aumenta progressivamente com o aumento da temperatura, contudo para temperaturas de operaçâo demasiado altas, o seu desempenho vai diminuir. Por esta razâo, e necessârio operar os modulos fotovoltaicos a baixas temperaturas para ter a eficiencia eletrica das celulas fotovoltaicas em determinado nıvel. Devido a esta necessidade, as âreas de trabalho dos sistemas FV/T sâo limitadas. O calor obtido pode ser usado para pre-aquecimento, aquecimento de âgua, aquecimento de ambientes, etc. em edificios.

Os sistemas FV/T podem ser classificados em 4 grupos [8]:

- Coletores de ar FV/T

- Coletores de lıquido FV/T

- Coletores FV/T com tubulaçâo de calor (heat pipes)

- Coletores FV/T com mudança de fase do fluido.

Os sistemas FV/T tem multiplas aplicaçöes, tais como em edificios residenciais/comerciais/serviços, sistemas de tratamento de âguas, destilarias, estufas, em sistemas geradores termoeletricos, sistemas com bombas de calor, etc.

A anâlise dos sistemas FV/T mostra as seguintes vantagens:

- Ao diminuir as temperaturas de operaçâo das celulas fotovoltaicas, aumenta-se a sua eficiencia eletrica. Contrariamente, a eficiencia FV diminui com o aumento da temperatura;

- Aumenta a eficiencia eletrica e termica do sistema;

- Para a mesma ârea ocupada, os sistemas FV/T produzem mais calor e energia eletrica do que os sistemas termico e fotovoltaico instalados separadamente. Este aspeto e importante, pois as âreas de superfîcie do telhado sâo limitadas;

- Os sistemas hibridos FV/T criam uma aparencia mais estetica, pois fornecem integridade arquitetonica no telhado.

- Sistemas FV/T com ar

Os sistemas FV/T de ar sâo sistemas que operam com eficiencias entre 20% e 40% [8]. A soma da eficiencia do modulo fotovoltaico e a eficiencia do modulo termico do sistema representa a eficiencia geral em sistemas fotovoltaicos. Portanto, pode ser possıvel alcançar eficiencias elevadas realizando projetos diferentes. Em sistemas FV/T de ar, a taxa de fluxo de ar desempenha um papel importante na reduçâo da temperatura das celulas FV, melhorando assim a eficiencia do sistema, aumentando a eficiencia eletrica, como ilustrado na Figura 11. O ar e usado como fluido de transferencia de calor em sistemas FV/T de ar. As estruturas desses sistemas sâo simples e os seus custos operacionais sâo baixos. Alem disso, estes sistemasapresentam uma ârea de uso comum, pois podem ser integrados em qualquer tipo de edificio.

Figura 11. Secçâo de um Sistema FV/T de ar [9-10].

A eficiencia em sistemas FV/T e examinada de duas maneiras: eficiencia eletrica e eficiencia termica. Com o aumento da temperatura, a eficiencia eletrica das celulas fotovoltaicas diminui. A eficiencia termica e tâo importante quanto a eficiencia eletrica em sistemas FV/T. Estes equipamentos sâo instalados principalmente em edifîcios em que se pretende integrar sistemas FV (FV/T-IE = FV/T integrado em edifîcios). Nas aplicaçöes FV/T-IE, o arrefecimento dos paineis fotovoltaicos e realizado com o ar que circula pelos paineis e o material de construçâo dos edıficios. Desta forma, o ar aquecido pode ser usado para aquecer o edifîcio. Os sistemas FV/T-IE tem uma aparencia mais estetica, adaptando-se melhor a superficie externa do edifîcio em comparaçâo com outros sistemas de energia solar.

Devido a essas vantagens, os sistemas FV/T-IE sâo atualmente uma das âreas de mais râpido crescimento da industria fotovoltaica. Nos sistemas FV/T-IE, a velocidade do fluido do ar e geralmente baixa, mas a velocidade do vento que percorre o painel tambem desempenha um papel importante. A velocidade do ar circulante no sistema e o projeto das condutas afetam a eficiencia do modulo. A eficiencia eletrica em sistemas FV/T-IE e aproximadamente 10% melhor do que sistemas sem refrigeraçâo [11].

- Sistemas de FV/T com lıquido

Superficie

Absorvente Superior

Superficie

Cobertura de Almumınio

Cobertura

Tubo

Figura 12. Secçâo de um Sistema FV/T com âgua [12].

Alem dos sistemas FV/T com ar, os sistemas mais populares sâo os sistemas FV/T com lıquido (Figura 12). Porque os sistemas FV/T com lıquido apresentam uma maior eficiencia do que os sistemas de ar.

A âgua e amplamente utilizada para arrefecer sistemas FV/T devido ao seu baixo preço, fâcil acessibilidade e propriedades de refrigeraçâo. As celulas fotovoltaicas podem ser arrefecidas de maneira mais uniforme quando a âgua e usada como fluido de transferencia de calor. Devido â alta condutividade termica dos lıquidos, esses sistemas ocupam um lugar importante em relaçâo aos sistemas de ar.

Em sistemas FV/T com lıquido, o tipo de fluido utilizado afeta a quantidade de calor transferida. O fluido utilizado nestes sistemas e geralmente âgua. O facto de a âgua ser facilmente acessıvel, ter boas propriedades de transferencia de calor e ser barata aumenta a sua utilizaçâo.

- Sistemas FV/T com tubulaçâo de calor (heat pipes)

Os sistemas com coletores FV/T que utilizam âgua como fluido de transferencia de calor nâo sâo recomendados em locais onde as condiçöes climâticas sâo frias. Se a âgua congelar a baixa temperatura e aumentar de volume, pode causar danos ao sistema. O tubo de calor e um sistema com alta condutividade termica que permite que o calor seja transportado rapidamente sem reduzir a temperatura. O congelamento pode ser evitado com o fluido certo.

Figura 13. Secçâo de um Sistema FV/T com tubulaçâo de calor [13].

Um sistema FV/T de tubulaçâo de calor pode ser criado combinando o tubo de calor e o coletor solar. A Figura 13 mostra a estrutura geral de um sistema FV/T de tubulaçâo de calor.

Sistema FV/T com mudança de fase do fluido (MFF)

Nestes sistemas, quando o material/fluido de mudança de fase recebe calor e atinge seu ponto de fusâo, ele aquece um pouco. O MFF faz a transiçâo da fase solida para a fase lıquida usando o calor latente de fusâo. Quando nâo hâ aquecimento, o MFF lıquido transmite a energia armazenada e retorna a sua fase anterior. O tempo e a temperatura necessârios para a fusâo variam muito dependendo do calor latente de fusâo e da condutividade termica do MFF [11].

- SOFTWARE DE CÂLCULO DE SISTEMAS FV/T

Esta secçâo tem como objetivo permitir aos formandos a aquisiçâo de conhecimentos sobre câlculo e seleçâo de equipamentos FV/T. Para este efeito serâo apresentadas as ferramentas:

- ScenoCalc (ferramenta baseada em Excel, o unico requisito e ter o Excel instalado no PC);

- POLYSUN (Download em https://www.velasolaris.com/downloads/?lang=en).

- COMPLEMENTO Â FORMAÇÂO

  - VIDEOS

Como complemento dos conteudos existentes neste documento, os alunos devem ver com atençâo alguns vıdeos online, tais como:

- Hybrid PVT solar panel & Normal PV panel - Advantages & Efficiency. - Bing video

- SolarMaster Hybrid PVT Solar Panel - Bing video

- Hybrid PVT Solar PV & Thermal - New Hotel Project in 2022 - Bing video

  - VISITA Â INSTALAÇÂO FV DO CAMPUS DO IPT

Esclarecimentos in loco das materias ministradas no curso, nomeadamente a eficiencia da instalaçâo.

REFERENCİAS

- Karamanav, M., 2007. “Solar Energy and Solar Cells”, P:1-2

- http://www.solar-academy.com/menu_detay.asp?id=494

- Hartmann, U., Haselhuhn, R., “Photovoltaic Systems”, P:3-28, DGS.

- https://www.physics-and-radio-electronics.com/electronic-devices-and- circuits/semi conductor-di odes/zero-bias-pn-junction.html

- http://www.konyagunesenerji.com/bilgi-gunes-pili-nedir.asp

- “Assembly of Panels on Coffee Table”, P: 8, Ankara, 2013. http://www.megep.meb.gov.tr/mte_program_modul/moduller_pdf/Sehpa%20%C3%9Czerine %20Panels%20Montaj%C4%B 1.pdf

- Bandaru, S.H.; Becerra, V.; Khanna, S.; Radulovic, J.; Hutchinson, D.; Khusainov, R. A Review of Photovoltaic Thermal (PVT) Technology for Residential Applications: Performance Indicators, Progress, and Opportunities. Energies 2021, 14, 3853. https://doi.org/10.3390/en14133853

- M Oksuz, F. Kose. “Hybrid Photovoltaic Thermal PVT-water and PVT-air Solar Collectors Analysis”, National Environmental Sciences Research Journal, Issue 2(3): 95-102, 2019.

- “Reduzierter Flachenbedarf und höhere Energieertrage - Eine kleine Marktübersicht zu PVT- Hybridkollektoren” (03.09.2014).

https://www.ikz.de/detail/news/detail/reduzierter-flaechenbedarf-und-hoehere- energieertraege-eine-kleine-marktuebersicht-zu-pvt-hybridkollek/, (Access Date: 29.11.2021).

- M. Zhenjun, R. Haoshan, L. Wenye and W. Shugang “Solar-Assisted HVAC Systems with Integrated Phase Change”, December 20th 2017.

https://www.intechopen.com/chapters/57859, (Access Date: 29.11.2021).

- G.Yildiz, A.E. Gürel, “PV/T Systems: Types, Advantages and Applications”, TTMD Magazine, July-August 2019:30-38, 2019.

- http://www.seitzingerenergien.ch/?Solar_%28Volther_Hybridkollektoren_von_Solimpeks%29 , (Access Date: 29.11.2021).

- T.M.O. Diallo, M. Yu, J. Zhou, X. Zhao, S. Shittu, G. Li, J. Ji , D. Hardy “Energy performance analysis of a novel solar PVT loop heat pipe employing a microchannel pipe evaporator and a heat PCM triple heat exchanger” 13 November 2018, https://www.sciencedirect.com/science/article/abs/pii/S0360544218321893?via%3Dihub, (Accessed 29.11.2021).